## User's Guide
El Salvador: Rural Electrification
ERR version | Original ERR | Revised ERR | Closeout ERR
Date of ERR | 2006-08-31 | 2010-08-19 | 2012-07-01
Amount of MCC funds | $36.2 million | $37 million | $30.9 million
Project Description | The Rural Electrification Sub-Activity will extend electricity to at least 97 percent of the estimated 47,000 households in the Northern Zone that currently are not connected to local power distribution networks. Service will be provided to these households through, as appropriate for the household, investments in the extension of distribution networks, in individual household connections to the network, and in the supply of off-grid solar photovoltaic systems. MCC funding will cover up to 85 percent of the projected investment in the electrification efforts, with contributions from the Government and the executing entities comprising the balance of at least 15 percent. | The Rural Electrification Sub-Activity will extend electricity to at least 97 percent of the estimated 47,000 households in the Northern Zone that currently are not connected to local power distribution networks. Service will be provided to these households through, as appropriate for the household, investments in the extension of distribution networks, in individual household connections to the network, and in the supply of off-grid solar photovoltaic systems. MCC funding will cover up to 85 percent of the projected investment in the electrification efforts, with contributions from the Government and the executing entities comprising the balance of at least 15 percent. | The Rural Electrification Sub-Activity will extend electricity to at least 97 percent of the estimated 47,000 households in the Northern Zone that currently are not connected to local power distribution networks. Service will be provided to these households through, as appropriate for the household, investments in the extension of distribution networks, in individual household connections to the network, and in the supply of off-grid solar photovoltaic systems. MCC funding will cover up to 85 percent of the projected investment in the electrification efforts, with contributions from the Government and the executing entities comprising the balance of at least 15 percent.
Benefit streams included in ERR | a. Cost savings over using less efficient sources of energy | a. Cost savings over using less efficient sources of energy | a. Cost savings over using less efficient sources of energy
| b. Consumer surplus | b. Consumer surplus | b. Consumer surplus
Costs included in ERR (not borne by MCC) | Government of El Salvador and distribution company counterpart contributions | Government of El Salvador and distribution company counterpart contributions | Government of El Salvador and distribution company counterpart contributions
ERR estimations and time horizon | 24% over 25 years | 16.2% over 20 years | 19.5% over 20 years
Table of Contents
Activity Description
One should read this sheet first, as it offers a summary of the activity, a list of components, and states the economic rationale for the activity.
ERR & Sensitivity Analysis
A brief summary of the activity's key parameters and ERR calculations.
Cost- Benefit Summary
This worksheet presents the aggregated costs and benefits from the project activities year-by-year, calculating a combined ERR
ERR Electrification
Details the cost savings benefits resulting from no longer needing to buy candles, kerosene and car batteries recharge, as well as the gains in consumer surplus, and compares them with the construction and maintenance costs over a 20-year time frame.
Solar Calculations
Provides the Consumer surplus and cost saving benefits for solar power.
Consumer Surplus
Provides the Consumer surplus and cost saving benefits for grid power.
Assumptions
Tables of the assumptions used in calculating the ERRs, including the costs of electricity, candles, kerosene, and car batteries recharge, and the elasticity of demand for them.
Poverty Scorecard
This worksheet shows the cost effectiveness of the project broken out into different poverty categories.
912

## Activity Description
El Salvador: Rural Electrification
Activity Description
Summary
The Rural Electrification Sub-Activity will extend electricity to households in the Northern Zone that currently are not connected to local power distribution networks. Service will be provided to these households through, as appropriate for the household, investments in the extension of distribution networks, in individual household connections to the network, and in the supply of off-grid solar photovoltaic systems. MCC funding will cover up to 85 percent of the projected investment in the electrification efforts, with contributions from the executing entities comprising the balance of at least 15 percent.
Components
Specifically, MCC Funding will support the following:
1. Feasibility, design, and environmental and social assessments for new distribution lines.
2. Construction of approximately 1,415 km of new distribution lines and the corresponding connection of approximately 22,970 households to the expanded network;
3. Connection of over 10,030 households to existing networks via the construction of necessary low voltage extensions;
4. Investment in upgrading distribution networks as necessary to support the anticipated additional load on the system;
5. Installation of approximately 1,950 solar power systems and the complementary provision of technical assistance for the creation of community associations that will undertake the management of system operations and maintenance;
6. Contracting a financial analyst to advise the implementing entity on the financial aspects and implications of the unique procurement process associated with this project.
Economic Rationale
Access to electricity results in immediate and significant financial savings and increased household productivity. Key benefits of electrification include less time and money spent searching for inferior alternatives (e.g., fuel wood, kerosene, and batteries) and reduced negative environmental, health and safety impacts of using these inferior alternatives in the home. The households served by the project will realize an estimated savings of almost USD 119 per year when served by connection to the distribution network (based on a reduction in cost from over USD 4.84/kWh to USD 0.16/kWh), and roughly USD 111 per year when served by a solar photovoltaic system (based on a reduction in cost from over USD 4.84/kWh to USD 0.17/kWh). These savings are equal to more than 11% of the average annual household income in the Northern Zone.
Last updated: | 2012-07-01

## ERR & Sensitivity Analysis
El Salvador: Rural Electrification |  |  |  | Last updated: 7/1/2012
ERR and sensitivity analysis
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80 - 120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80 - 120% | 100%
All specific parameters set to initial values?
Specific | Electric consumption with connection Kilowatts/hour | 84 | 84 | 60-100 | 84 | Y
Specific | Price of electricity in network with project (US$/kWh) | 0.1 | 0.1 | .05-.15 | 0.1
Specific | Price of electricity, solar system (US$/kWh)` | 0.44 | 0.44 | .2-.68 | 0.44 | More Info
Specific | % of Consumer Surplus Included | 50% | 50% | 0-100% | 50% | Activity Description
User's Guide
0
| Economic rate of return (ERR): | 19.55% | 20 Years
| MCC Estimated ERRs: |  | Original | Revised | Closeout
|  | ERR | 24% | 16.2% | 19.55%
|  | Date | 2006-08-31 | 2010-08-19 | 2012-07-01
| Present Value (PV) of Benefits: | 42194989.0575 | 2008 USD, 10% discount rate
| Present Value (PV) of MCC Costs: | 26474289.4813 | 2008 USD, 10% discount rate
Although above distributional figure was not part of the Investment Memorandum (IM) ERR calculation, it reflects the best information available on parameters as of the IM (1/31/2010)
Reset Parameters

## Cost-Benefit Summary
El Salvador: Rural Electrification | [7 empty] | Last updated: 07/01/2012
Cost/Benefit Summary | 0
| Total | Compact Year
Rural Electrification Activity |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Total Costs (2008 USD'000) | 37188.4325 | 527.7375 | 3773.812 | 15266.3386 | 7486.8964 | 10133.6479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits (2008 USD'000) | 120089.416 | 0 | 397.4807 | 1385.4165 | 3763.1542 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603
Net Incremental Benefits | 82900.9836 | -527.7375 | -3376.3313 | -13880.9221 | -3723.7422 | -2974.6876 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603
Estimated MCC Investment (2008 USD'000) | 30863.7062 | 350.47 | 3034.777 | 12594.2361 | 6270.9282 | 8613.2949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ERR | 19.55%
PV of Benefits (2008 USD) | 42194989.0575 | Compact Year 1: 10% discount rate
PV of Costs (2008 USD) | 26474289.4813 | Compact Year 1: 10% discount rate
PV of Net Benefits (2008 USD) | 15720699.5761 | Compact Year 1: 10% discount rate

## ERR Electrification
El Salvador: Rural Electrification | [5 empty] | Last updated: 07/01/2012
ERR Analysis | 0
| Total | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
BENEFICIARIES
Customers connecting to new networks | 22969.6802 | Year 1: 0; Year 2: 1391.8585; Year 3: 2553.8688; Year 4: 5959.0273; Year 5: 13064.9256
Customers connecting to existing networks | 10030.3198 | Year 1: 0; Year 2: 0; Year 3: 1702.5792; Year 4: 5320.5601; Year 5: 3007.1805
Installation of solar panels | 1950 | Year 1: 0; Year 2: 450; Year 3: 500; Year 4: 400; Year 5: 600
| 34950 | Year 1: 0; Year 2: 1841.8585; Year 3: 4756.448; Year 4: 11679.5873; Year 5: 16672.1061
COST SCENARIO: Actual costs as a percentage of estimated costs |  | Year 1: 100%
BENEFIT SCENARIO: Actual benefits as a percentage of estimated benefits |  | Year 1: 100%
INVESTMENT
Installation of solar isolated systems | 1744.6437 | Year 1: 0; Year 2: 563.5773; Year 3: 553.1232; Year 4: 191.2804; Year 5: 436.6628
Construction of new distribution lines | 20282.6926 | Year 1: 0; Year 2: 2070.1287; Year 3: 9607.3794; Year 4: 3880.6115; Year 5: 4724.5729
Provision of service drops to customers connected to new lines | 496.9342 | Year 1: 0; Year 2: 47.9859; Year 3: 153.3602; Year 4: 117.8718; Year 5: 177.7164
Connections to existing networks | 5530.8088 | Year 1: 0; Year 2: 0; Year 3: 1835.8663; Year 4: 1928.3603; Year 5: 1766.5822
Strengthening of existing networks | 547.4372 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 547.4372
Indoor electric Installation | 727.7714 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 727.7714
Administration & Predesign | 1533.4183 | Year 1: 350.47; Year 2: 353.0851; Year 3: 444.507; Year 4: 152.8043; Year 5: 232.5519
Subtotal | 30863.7062 | Year 1: 350.47; Year 2: 3034.777; Year 3: 12594.2361; Year 4: 6270.9282; Year 5: 8613.2949
Contribution DisCos (15%) | 4643.018 | Year 1: 0; Year 2: 373.7849; Year 3: 2046.4599; Year 4: 1045.9136; Year 5: 1176.8597
Compact Admin | 2018.4224 | Year 1: 157.9552; Year 2: 365.25; Year 3: 565.9165; Year 4: 269.1283; Year 5: 660.1724
Total | 37525.1467 | Year 1: 508.4252; Year 2: 3773.812; Year 3: 15206.6124; Year 4: 7585.9701; Year 5: 10450.327
Inflation multiplier to adjust to 2008 dollars |  | Year 1: 1.038; Year 2: 1; Year 3: 1.0039; Year 4: 0.98694; Year 5: 0.9697
Total in 2008 dollars | 37188.4325 | Year 1: 527.7375; Year 2: 3773.812; Year 3: 15266.3386; Year 4: 7486.8964; Year 5: 10133.6479
Subsidy (cost) |  | 0 | 42.0898 | 170.8048 | 511.8995 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92 | 997.92
BENEFITS (expressed in 2008 dollars)
Benefits from network connections |  | 0 | 342.4306 | 1389.6191 | 4164.6686 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929 | 8118.7929
Benefits from solar isolated systems |  | 0 | 125.1312 | 264.1659 | 375.3937 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353 | 542.2353
Total Benefits | 46228.8935 | 0 | 397.4807 | 1385.4165 | 3763.1542 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603
Net benefit stream (Thousands USD) |  | -527.7375 | -3376.3313 | -13880.9221 | -3723.7422 | -2974.6876 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603 | 7158.9603
20 year ERR |  | Year 1: 19.55%
25-year ERR |  | Year 1: 20.24%
NPV over 20 years using 10% discount rate |  | Year 1: 42194.9891
Inflation |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
CPI 2007=100 |  | 100 | 103.7985 | 103.3924 | 105.172 | 107.0422 | 109.3899 | 111.8521 | 114.3418 | 116.884 | 119.4828 | 122.1393 | 124.8548 | 127.6308 | 130.4684 | 133.3692 | 136.3344 | 139.3656 | 142.4642 | 145.6316 | 148.8695 | 152.1794 | 155.5629 | 159.0215 | 162.5571 | 166.1713
Inflation Rate 2014 |  | 42194.9891 2007: 2.223%; 42194.9891 2012: 2.193%; 42194.9891 2013: 2.251%; 42194.9891 2014: 2.226%
Inflation Adjustment:
Annual Compact Admistration Costs, Annual Administration and Predesign, Annual Investment Cost and Disco Contribution are in Nominal Basis,
were deflated with correspondent CPI in order to reflect Prices of 2008. Benefits were based on 2011 household survey and are expressed in 2008 terms.

## Solar Calculations
El Salvador: Rural Electrification | [5 empty] | Last updated: 07/01/2012
Solar Calculations | 0
Rural Electrification Projects
Network extension
Consumption and household expenditure with Isolated Systems with project
Price (US$/kWh) | 0.44
Quantity (kWh) | 24.47
Note: Estimates
Monthly
| Consumption | Price
Without project | 8.3728 | 2.5411
With project | 24.47 | 0.44
2011 HH Survey/MCC Solar Price Estimates
The demand curve for electricity is represented by the following function: |  | q = a Pn
MCC Estimate
| Elasticity (h) | -0.61159
| a | 14.8107
| p | q | antiderivative
with project | 0.44 | 24.47 | 27.7198
without project | 2.5411 | 8.3728 | 54.7767
|  | area under curve | 27.0569
|  | subtract rectagle | 17.5921
|  | Consumer Surplus | 9.4648
Consumer surplus | 9.4648 | US$ per hh per month |  | 113.5775 | Annually
Freed resources | 17.5921 | US$ per hh per month |  | 211.1048 | Annually
Consumer surplus | 17.647 | US$ per hh per month |  | 211.7646 | Annually
Freed resources | 9.2869 | US$ per hh per month |  | 111.4432 | Annually

## Consumer Surplus
El Salvador: Rural Electrification | [10 empty] | Last updated: 07/01/2012
Consumer Surplus Calculations
Q0, P0, Q1, P1 taken from 2011 Electrical Survey
Variable Descriptions
Q0: kWh consumed without electricity
P0: Price per kWh without electricity (includes cost and quantity of candles, kerosene, car batteries, etc. consumed)
Q1: kWh consumed with an electric connection
P1: Price per kWh with electrical connection
CS: Consumer surplus
a,n : Consumer surplus model demand variables
Demand Function: Q=aP^n
Q0 | P0 | P0_v1 | a | n | Q1 | P1 | Freed Resources | CS without project | CS with Project | Savings on Q0 due to price drop | Change in CS due to project | 0
19.152 | 0.25063 | 0.25063 | 2.0663 | -1.6091 | 84 | 0.1 | 2.8848 | -7.8808 | -13.7914 | 2.8848 | 3.0258
31.92 | 0.25063 | 0.25063 | 7.4332 | -1.0531 | 84 | 0.1 | 4.808 | -150.6528 | -158.1854 | 4.808 | 2.7246
19.152 | 0.26107 | 0.26107 | 2.4191 | -1.5406 | 84 | 0.1 | 3.0848 | -9.2485 | -15.5375 | 3.0848 | 3.2042
19.152 | 0.26107 | 0.26107 | 2.4191 | -1.5406 | 84 | 0.1 | 3.0848 | -9.2485 | -15.5375 | 3.0848 | 3.2042
7.3416 | 0.27242 | 0.27242 | 0.31068 | -2.432 | 84 | 0.1 | 1.2658 | -1.3967 | -5.866 | 1.2658 | 3.2035
25.536 | 0.27412 | 0.27412 | 5.5396 | -1.1808 | 84 | 0.1 | 4.4464 | -38.7164 | -46.4597 | 4.4464 | 3.2969
3.304 | 0.30266 | 0.30266 | 0.10059 | -2.9217 | 84 | 0.1 | 0.6696 | -0.52036 | -4.371 | 0.6696 | 3.1811
13.216 | 0.30266 | 0.30266 | 1.7961 | -1.67 | 84 | 0.1 | 2.6784 | -5.9706 | -12.5382 | 2.6784 | 3.8893
6.384 | 0.31328 | 0.31328 | 0.46512 | -2.2567 | 84 | 0.1 | 1.3616 | -1.5915 | -6.6841 | 1.3616 | 3.7311
6.384 | 0.31328 | 0.31328 | 0.46512 | -2.2567 | 84 | 0.1 | 1.3616 | -1.5915 | -6.6841 | 1.3616 | 3.7311
9.576 | 0.31328 | 0.31328 | 1.0535 | -1.9016 | 84 | 0.1 | 2.0424 | -3.3273 | -9.3163 | 2.0424 | 3.9467
9.576 | 0.31328 | 0.31328 | 1.0535 | -1.9016 | 84 | 0.1 | 2.0424 | -3.3273 | -9.3163 | 2.0424 | 3.9467
12.768 | 0.31328 | 0.31328 | 1.8817 | -1.6497 | 84 | 0.1 | 2.7232 | -6.1565 | -12.9287 | 2.7232 | 4.049
12.768 | 0.31328 | 0.31328 | 1.8817 | -1.6497 | 84 | 0.1 | 2.7232 | -6.1565 | -12.9287 | 2.7232 | 4.049
19.152 | 0.31328 | 0.31328 | 4.2622 | -1.2947 | 84 | 0.1 | 4.0848 | -20.3631 | -28.5084 | 4.0848 | 4.0604
19.152 | 0.31328 | 0.31328 | 4.2622 | -1.2947 | 84 | 0.1 | 4.0848 | -20.3631 | -28.5084 | 4.0848 | 4.0604
6.048 | 0.33069 | 0.33069 | 0.53013 | -2.1999 | 84 | 0.1 | 1.3952 | -1.6668 | -7.0006 | 1.3952 | 3.9386
14.868 | 0.33629 | 0.33629 | 3.137 | -1.4278 | 84 | 0.1 | 3.5132 | -11.6888 | -19.6371 | 3.5132 | 4.4352
11.62 | 0.34423 | 0.34423 | 2.109 | -1.6002 | 84 | 0.1 | 2.838 | -6.6645 | -13.9954 | 2.838 | 4.4929
6.384 | 0.34461 | 0.34461 | 0.69409 | -2.0829 | 84 | 0.1 | 1.5616 | -2.0316 | -7.7572 | 1.5616 | 4.1639
4.956 | 0.35311 | 0.35311 | 0.47965 | -2.2434 | 84 | 0.1 | 1.2544 | -1.4075 | -6.7559 | 1.2544 | 4.094
19.152 | 0.3655 | 0.3655 | 6.0759 | -1.1407 | 84 | 0.1 | 5.0848 | -49.7616 | -59.714 | 5.0848 | 4.8675
19.152 | 0.3655 | 0.3655 | 6.0759 | -1.1407 | 84 | 0.1 | 5.0848 | -49.7616 | -59.714 | 5.0848 | 4.8675
19.152 | 0.3655 | 0.3655 | 6.0759 | -1.1407 | 84 | 0.1 | 5.0848 | -49.7616 | -59.714 | 5.0848 | 4.8675
19.152 | 0.3655 | 0.3655 | 6.0759 | -1.1407 | 84 | 0.1 | 5.0848 | -49.7616 | -59.714 | 5.0848 | 4.8675
12.768 | 0.3916 | 0.3916 | 3.5013 | -1.38 | 84 | 0.1 | 3.7232 | -13.1563 | -22.1026 | 3.7232 | 5.2231
25.536 | 0.3916 | 0.3916 | 11.2721 | -0.87228 | 84 | 0.1 | 7.4464 | 78.2939 | 65.7669 | 7.4464 | 5.0806
9.576 | 0.41771 | 0.41771 | 2.5428 | -1.519 | 84 | 0.1 | 3.0424 | -7.7075 | -16.1857 | 3.0424 | 5.4358
9.576 | 0.41771 | 0.41771 | 2.5428 | -1.519 | 84 | 0.1 | 3.0424 | -7.7075 | -16.1857 | 3.0424 | 5.4358
9.576 | 0.41771 | 0.41771 | 2.5428 | -1.519 | 84 | 0.1 | 3.0424 | -7.7075 | -16.1857 | 3.0424 | 5.4358
19.152 | 0.41771 | 0.41771 | 7.7652 | -1.0341 | 84 | 0.1 | 6.0848 | -234.4105 | -246.1311 | 6.0848 | 5.6358
19.152 | 0.41771 | 0.41771 | 7.7652 | -1.0341 | 84 | 0.1 | 6.0848 | -234.4105 | -246.1311 | 6.0848 | 5.6358
19.152 | 0.41771 | 0.41771 | 7.7652 | -1.0341 | 84 | 0.1 | 6.0848 | -234.4105 | -246.1311 | 6.0848 | 5.6358
38.304 | 0.41771 | 0.41771 | 23.7137 | -0.54928 | 84 | 0.1 | 12.1696 | 35.4988 | 18.6369 | 12.1696 | 4.6923
3.192 | 0.42293 | 0.42293 | 0.45347 | -2.2677 | 84 | 0.1 | 1.0308 | -1.0649 | -6.626 | 1.0308 | 4.5303
3.192 | 0.42293 | 0.42293 | 0.45347 | -2.2677 | 84 | 0.1 | 1.0308 | -1.0649 | -6.626 | 1.0308 | 4.5303
12.768 | 0.43076 | 0.43076 | 4.3082 | -1.29 | 84 | 0.1 | 4.2232 | -18.9669 | -28.9676 | 4.2232 | 5.7775
6.384 | 0.4386 | 0.4386 | 1.5177 | -1.7431 | 84 | 0.1 | 2.1616 | -3.768 | -11.3039 | 2.1616 | 5.3744
15.96 | 0.4386 | 0.4386 | 6.3235 | -1.1233 | 84 | 0.1 | 5.404 | -56.7616 | -68.114 | 5.404 | 5.9483
12.768 | 0.44251 | 0.44251 | 4.5461 | -1.2666 | 84 | 0.1 | 4.3732 | -21.1895 | -31.5029 | 4.3732 | 5.9403
6.608 | 0.454 | 0.454 | 1.7528 | -1.6806 | 84 | 0.1 | 2.3392 | -4.4082 | -12.3429 | 2.3392 | 5.5955
31.92 | 0.46992 | 0.46992 | 19.906 | -0.6253 | 84 | 0.1 | 11.808 | 40.0316 | 22.4177 | 11.808 | 5.8059
3.192 | 0.46992 | 0.46992 | 0.64707 | -2.1133 | 84 | 0.1 | 1.1808 | -1.3473 | -7.5449 | 1.1808 | 5.0168
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
6.384 | 0.46992 | 0.46992 | 1.8151 | -1.6654 | 84 | 0.1 | 2.3616 | -4.5087 | -12.6243 | 2.3616 | 5.754
12.768 | 0.46992 | 0.46992 | 5.0914 | -1.2174 | 84 | 0.1 | 4.7232 | -27.5934 | -38.6308 | 4.7232 | 6.3142
12.768 | 0.46992 | 0.46992 | 5.0914 | -1.2174 | 84 | 0.1 | 4.7232 | -27.5934 | -38.6308 | 4.7232 | 6.3142
12.768 | 0.46992 | 0.46992 | 5.0914 | -1.2174 | 84 | 0.1 | 4.7232 | -27.5934 | -38.6308 | 4.7232 | 6.3142
12.768 | 0.46992 | 0.46992 | 5.0914 | -1.2174 | 84 | 0.1 | 4.7232 | -27.5934 | -38.6308 | 4.7232 | 6.3142
12.768 | 0.46992 | 0.46992 | 5.0914 | -1.2174 | 84 | 0.1 | 4.7232 | -27.5934 | -38.6308 | 4.7232 | 6.3142
12.768 | 0.48951 | 0.48951 | 5.4718 | -1.1862 | 84 | 0.1 | 4.9732 | -33.5748 | -45.1246 | 4.9732 | 6.5765
9.576 | 0.50125 | 0.50125 | 3.7767 | -1.3472 | 84 | 0.1 | 3.8424 | -13.8261 | -24.1957 | 3.8424 | 6.5272
9.576 | 0.50125 | 0.50125 | 3.7767 | -1.3472 | 84 | 0.1 | 3.8424 | -13.8261 | -24.1957 | 3.8424 | 6.5272
6.384 | 0.50909 | 0.50909 | 2.1918 | -1.5835 | 84 | 0.1 | 2.6116 | -5.5701 | -14.3965 | 2.6116 | 6.2148
8.4 | 0.51429 | 0.51429 | 3.2977 | -1.4061 | 84 | 0.1 | 3.48 | -10.6387 | -20.6863 | 3.48 | 6.5676
9.576 | 0.52214 | 0.52214 | 4.0774 | -1.3139 | 84 | 0.1 | 4.0424 | -15.9289 | -26.7606 | 4.0424 | 6.7893
9.576 | 0.52214 | 0.52214 | 4.0774 | -1.3139 | 84 | 0.1 | 4.0424 | -15.9289 | -26.7606 | 4.0424 | 6.7893
9.576 | 0.52214 | 0.52214 | 4.0774 | -1.3139 | 84 | 0.1 | 4.0424 | -15.9289 | -26.7606 | 4.0424 | 6.7893
9.576 | 0.52214 | 0.52214 | 4.0774 | -1.3139 | 84 | 0.1 | 4.0424 | -15.9289 | -26.7606 | 4.0424 | 6.7893
18.48 | 0.54113 | 0.54113 | 10.6547 | -0.89674 | 84 | 0.1 | 8.152 | 96.8425 | 81.3477 | 8.152 | 7.3428
19.152 | 0.54302 | 0.54302 | 11.2333 | -0.87377 | 84 | 0.1 | 8.4848 | 82.3912 | 66.5468 | 8.4848 | 7.3597
3.192 | 0.54825 | 0.54825 | 1.0056 | -1.9219 | 84 | 0.1 | 1.4308 | -1.8983 | -9.1119 | 1.4308 | 5.7828
6.384 | 0.54825 | 0.54825 | 2.569 | -1.5145 | 84 | 0.1 | 2.8616 | -6.8026 | -16.3262 | 2.8616 | 6.662
12.768 | 0.54825 | 0.54825 | 6.5634 | -1.1072 | 84 | 0.1 | 5.7232 | -65.3289 | -78.3947 | 5.7232 | 7.3426
12.768 | 0.54825 | 0.54825 | 6.5634 | -1.1072 | 84 | 0.1 | 5.7232 | -65.3289 | -78.3947 | 5.7232 | 7.3426
12.768 | 0.54825 | 0.54825 | 6.5634 | -1.1072 | 84 | 0.1 | 5.7232 | -65.3289 | -78.3947 | 5.7232 | 7.3426
12.768 | 0.54825 | 0.54825 | 6.5634 | -1.1072 | 84 | 0.1 | 5.7232 | -65.3289 | -78.3947 | 5.7232 | 7.3426
12.768 | 0.54825 | 0.54825 | 6.5634 | -1.1072 | 84 | 0.1 | 5.7232 | -65.3289 | -78.3947 | 5.7232 | 7.3426
12.768 | 0.56783 | 0.56783 | 6.9104 | -1.0848 | 84 | 0.1 | 5.9732 | -85.517 | -99.0818 | 5.9732 | 7.5916
6.384 | 0.58741 | 0.58741 | 2.943 | -1.4555 | 84 | 0.1 | 3.1116 | -8.2328 | -18.4415 | 3.1116 | 7.0971
12.768 | 0.58741 | 0.58741 | 7.2489 | -1.064 | 84 | 0.1 | 6.2232 | -117.1733 | -131.2341 | 6.2232 | 7.8376
3.36 | 0.59524 | 0.59524 | 1.3175 | -1.8045 | 84 | 0.1 | 1.664 | -2.486 | -10.4411 | 1.664 | 6.2911
6.72 | 0.59524 | 0.59524 | 3.2236 | -1.4159 | 84 | 0.1 | 3.328 | -9.6169 | -20.1956 | 3.328 | 7.2506
10.08 | 0.59524 | 0.59524 | 5.4407 | -1.1886 | 84 | 0.1 | 4.992 | -31.8087 | -44.5322 | 4.992 | 7.7315
8.2992 | 0.60247 | 0.60247 | 4.3191 | -1.2889 | 84 | 0.1 | 4.1701 | -17.3081 | -29.0776 | 4.1701 | 7.5994
24.78 | 0.60533 | 0.60533 | 17.6317 | -0.67799 | 84 | 0.1 | 12.522 | 46.5818 | 26.0858 | 12.522 | 7.974
3.304 | 0.60533 | 0.60533 | 1.3405 | -1.797 | 84 | 0.1 | 1.6696 | -2.5094 | -10.5395 | 1.6696 | 6.3605
3.304 | 0.60533 | 0.60533 | 1.3405 | -1.797 | 84 | 0.1 | 1.6696 | -2.5094 | -10.5395 | 1.6696 | 6.3605
6.608 | 0.60533 | 0.60533 | 3.2526 | -1.4121 | 84 | 0.1 | 3.3392 | -9.7076 | -20.3859 | 3.3392 | 7.3391
29.568 | 0.60877 | 0.60877 | 22.1933 | -0.57806 | 84 | 0.1 | 15.0432 | 42.6598 | 19.9079 | 15.0432 | 7.7087
15.12 | 0.60979 | 0.60979 | 9.458 | -0.94848 | 84 | 0.1 | 7.708 | 178.963 | 163.0466 | 7.708 | 8.2085
7.3416 | 0.61295 | 0.61295 | 3.8022 | -1.3442 | 84 | 0.1 | 3.7658 | -13.072 | -24.4012 | 3.7658 | 7.5633
3.192 | 0.62657 | 0.62657 | 1.3876 | -1.782 | 84 | 0.1 | 1.6808 | -2.5575 | -10.7413 | 1.6808 | 6.5031
3.192 | 0.62657 | 0.62657 | 1.3876 | -1.782 | 84 | 0.1 | 1.6808 | -2.5575 | -10.7413 | 1.6808 | 6.5031
3.192 | 0.62657 | 0.62657 | 1.3876 | -1.782 | 84 | 0.1 | 1.6808 | -2.5575 | -10.7413 | 1.6808 | 6.5031
3.192 | 0.62657 | 0.62657 | 1.3876 | -1.782 | 84 | 0.1 | 1.6808 | -2.5575 | -10.7413 | 1.6808 | 6.5031
6.384 | 0.62657 | 0.62657 | 3.3111 | -1.4043 | 84 | 0.1 | 3.3616 | -9.8935 | -20.7763 | 3.3616 | 7.5212
6.384 | 0.62657 | 0.62657 | 3.3111 | -1.4043 | 84 | 0.1 | 3.3616 | -9.8935 | -20.7763 | 3.3616 | 7.5212
6.384 | 0.62657 | 0.62657 | 3.3111 | -1.4043 | 84 | 0.1 | 3.3616 | -9.8935 | -20.7763 | 3.3616 | 7.5212
6.384 | 0.62657 | 0.62657 | 3.3111 | -1.4043 | 84 | 0.1 | 3.3616 | -9.8935 | -20.7763 | 3.3616 | 7.5212
9.576 | 0.62657 | 0.62657 | 5.5071 | -1.1834 | 84 | 0.1 | 5.0424 | -32.7234 | -45.8127 | 5.0424 | 8.047
9.576 | 0.62657 | 0.62657 | 5.5071 | -1.1834 | 84 | 0.1 | 5.0424 | -32.7234 | -45.8127 | 5.0424 | 8.047
9.576 | 0.62657 | 0.62657 | 5.5071 | -1.1834 | 84 | 0.1 | 5.0424 | -32.7234 | -45.8127 | 5.0424 | 8.047
12.768 | 0.62657 | 0.62657 | 7.9012 | -1.0266 | 84 | 0.1 | 6.7232 | -300.894 | -315.9387 | 6.7232 | 8.3215
12.768 | 0.62657 | 0.62657 | 7.9012 | -1.0266 | 84 | 0.1 | 6.7232 | -300.894 | -315.9387 | 6.7232 | 8.3215
12.768 | 0.62657 | 0.62657 | 7.9012 | -1.0266 | 84 | 0.1 | 6.7232 | -300.894 | -315.9387 | 6.7232 | 8.3215
12.768 | 0.62657 | 0.62657 | 7.9012 | -1.0266 | 84 | 0.1 | 6.7232 | -300.894 | -315.9387 | 6.7232 | 8.3215
12.768 | 0.62657 | 0.62657 | 7.9012 | -1.0266 | 84 | 0.1 | 6.7232 | -300.894 | -315.9387 | 6.7232 | 8.3215
19.152 | 0.62657 | 0.62657 | 13.1415 | -0.80564 | 84 | 0.1 | 10.0848 | 61.7397 | 43.2178 | 10.0848 | 8.4371
19.152 | 0.62657 | 0.62657 | 13.1415 | -0.80564 | 84 | 0.1 | 10.0848 | 61.7397 | 43.2178 | 10.0848 | 8.4371
28.728 | 0.62657 | 0.62657 | 21.8572 | -0.58468 | 84 | 0.1 | 15.1272 | 43.3405 | 20.2256 | 15.1272 | 7.9877
31.92 | 0.65789 | 0.65789 | 25.7434 | -0.51361 | 84 | 0.1 | 17.808 | 43.1756 | 17.2702 | 17.808 | 8.0973
15.12 | 0.66138 | 0.66138 | 10.3889 | -0.90771 | 84 | 0.1 | 8.488 | 108.3519 | 91.0156 | 8.488 | 8.8483
15.12 | 0.66138 | 0.66138 | 10.3889 | -0.90771 | 84 | 0.1 | 8.488 | 108.3519 | 91.0156 | 8.488 | 8.8483
8.96 | 0.66964 | 0.66964 | 5.589 | -1.1769 | 84 | 0.1 | 5.104 | -33.909 | -47.4726 | 5.104 | 8.4596
14.868 | 0.67259 | 0.67259 | 10.3695 | -0.90852 | 84 | 0.1 | 8.5132 | 109.3159 | 91.8253 | 8.5132 | 8.9773
10.08 | 0.67659 | 0.67659 | 6.5357 | -1.109 | 84 | 0.1 | 5.812 | -62.576 | -77.0731 | 5.812 | 8.6851
6.72 | 0.67857 | 0.67857 | 4.0294 | -1.319 | 84 | 0.1 | 3.888 | -14.2928 | -26.3288 | 3.888 | 8.148
6.384 | 0.70489 | 0.70489 | 4.0241 | -1.3196 | 84 | 0.1 | 3.8616 | -14.0797 | -26.2821 | 3.8616 | 8.3408
6.384 | 0.70489 | 0.70489 | 4.0241 | -1.3196 | 84 | 0.1 | 3.8616 | -14.0797 | -26.2821 | 3.8616 | 8.3408
12.768 | 0.70489 | 0.70489 | 9.1119 | -0.96467 | 84 | 0.1 | 7.7232 | 254.7483 | 237.7651 | 7.7232 | 9.26
3.696 | 0.71429 | 0.71429 | 2.1656 | -1.5887 | 84 | 0.1 | 2.2704 | -4.4844 | -14.2687 | 2.2704 | 7.5139
4.2 | 0.71429 | 0.71429 | 2.5153 | -1.5237 | 84 | 0.1 | 2.58 | -5.7287 | -16.0402 | 2.58 | 7.7316
5.6 | 0.71429 | 0.71429 | 3.523 | -1.3774 | 84 | 0.1 | 3.44 | -10.5999 | -22.2598 | 3.44 | 8.2199
5.6 | 0.71429 | 0.71429 | 3.523 | -1.3774 | 84 | 0.1 | 3.44 | -10.5999 | -22.2598 | 3.44 | 8.2199
5.6 | 0.71429 | 0.71429 | 3.523 | -1.3774 | 84 | 0.1 | 3.44 | -10.5999 | -22.2598 | 3.44 | 8.2199
8.4 | 0.71429 | 0.71429 | 5.6643 | -1.1711 | 84 | 0.1 | 5.16 | -35.0599 | -49.0838 | 5.16 | 8.864
9.688 | 0.72254 | 0.72254 | 6.7934 | -1.0922 | 84 | 0.1 | 6.0312 | -75.9277 | -91.1132 | 6.0312 | 9.1543
9.576 | 0.73099 | 0.73099 | 6.8018 | -1.0917 | 84 | 0.1 | 6.0424 | -76.3741 | -91.649 | 6.0424 | 9.2324
3.36 | 0.74405 | 0.74405 | 2.0912 | -1.6039 | 84 | 0.1 | 2.164 | -4.1399 | -13.9101 | 2.164 | 7.6062
6.72 | 0.74405 | 0.74405 | 4.6321 | -1.2585 | 84 | 0.1 | 4.328 | -19.3423 | -32.4951 | 4.328 | 8.8248
6.72 | 0.74405 | 0.74405 | 4.6321 | -1.2585 | 84 | 0.1 | 4.328 | -19.3423 | -32.4951 | 4.328 | 8.8248
3.192 | 0.75188 | 0.75188 | 2.0105 | -1.621 | 84 | 0.1 | 2.0808 | -3.8649 | -13.5271 | 2.0808 | 7.5814
6.384 | 0.75188 | 0.75188 | 4.4349 | -1.2774 | 84 | 0.1 | 4.1616 | -17.3039 | -30.2819 | 4.1616 | 8.8163
10.08 | 0.76389 | 0.76389 | 7.6118 | -1.0428 | 84 | 0.1 | 6.692 | -179.931 | -196.2884 | 6.692 | 9.6654
7.84 | 0.76531 | 0.76531 | 5.7404 | -1.1653 | 84 | 0.1 | 5.216 | -36.2902 | -50.8062 | 5.216 | 9.3001
9.688 | 0.77415 | 0.77415 | 7.3944 | -1.0554 | 84 | 0.1 | 6.5312 | -135.4423 | -151.6954 | 6.5312 | 9.7219
3.192 | 0.78321 | 0.78321 | 2.165 | -1.5888 | 84 | 0.1 | 2.1808 | -4.2457 | -14.2656 | 2.1808 | 7.8391
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
6.384 | 0.78321 | 0.78321 | 4.7013 | -1.2521 | 84 | 0.1 | 4.3616 | -19.8367 | -33.3256 | 4.3616 | 9.1273
9.576 | 0.78321 | 0.78321 | 7.3998 | -1.0551 | 84 | 0.1 | 6.5424 | -136.2118 | -152.5572 | 6.5424 | 9.803
88.48 | 0.79306 | 0.79306 | 88.9963 | 0.025092 | 84 | 0.1 | 61.322 | 68.4524 | 8.1944 | 61.322 | -1.064
9.576 | 0.79365 | 0.79365 | 7.5156 | -1.0483 | 84 | 0.1 | 6.6424 | -157.3005 | -173.8584 | 6.6424 | 9.9156
10.08 | 0.79365 | 0.79365 | 7.9566 | -1.0236 | 84 | 0.1 | 6.992 | -339.6543 | -356.637 | 6.992 | 9.9907
10.08 | 0.79365 | 0.79365 | 7.9566 | -1.0236 | 84 | 0.1 | 6.992 | -339.6543 | -356.637 | 6.992 | 9.9907
16.8 | 0.80357 | 0.80357 | 14.1892 | -0.77232 | 84 | 0.1 | 11.82 | 59.2942 | 36.8941 | 11.82 | 10.58
9.912 | 0.8071 | 0.8071 | 7.96 | -1.0234 | 84 | 0.1 | 7.0088 | -342.4101 | -359.5306 | 7.0088 | 10.1117
6.384 | 0.81454 | 0.81454 | 4.9617 | -1.2286 | 84 | 0.1 | 4.5616 | -22.7426 | -36.738 | 4.5616 | 9.4338
12.768 | 0.82237 | 0.82237 | 10.7197 | -0.8941 | 84 | 0.1 | 9.2232 | 99.1456 | 79.3165 | 9.2232 | 10.6059
4.2 | 0.83333 | 0.83333 | 3.2462 | -1.4129 | 84 | 0.1 | 3.08 | -8.4765 | -20.3436 | 3.08 | 8.7871
4.956 | 0.84746 | 0.84746 | 3.9805 | -1.3243 | 84 | 0.1 | 3.7044 | -12.9492 | -25.8984 | 3.7044 | 9.2448
9.576 | 0.86153 | 0.86153 | 8.2397 | -1.0084 | 84 | 0.1 | 7.2924 | -986.0232 | -1003.951 | 7.2924 | 10.6353
12.768 | 0.86153 | 0.86153 | 11.2072 | -0.87478 | 84 | 0.1 | 9.7232 | 87.8462 | 67.0825 | 9.7232 | 11.0404
5.6 | 0.89286 | 0.89286 | 4.8675 | -1.237 | 84 | 0.1 | 4.44 | -21.0995 | -35.4471 | 4.44 | 9.9076
8.96 | 0.89286 | 0.89286 | 7.9798 | -1.0223 | 84 | 0.1 | 7.104 | -358.9665 | -376.9148 | 7.104 | 10.8443
10.08 | 0.89286 | 0.89286 | 9.0322 | -0.96849 | 84 | 0.1 | 7.992 | 285.5849 | 266.5459 | 7.992 | 11.047
6.72 | 0.89286 | 0.89286 | 5.8964 | -1.1537 | 84 | 0.1 | 5.328 | -39.039 | -54.6546 | 5.328 | 10.2876
33.6 | 0.89286 | 0.89286 | 32.0435 | -0.41854 | 84 | 0.1 | 26.64 | 51.5942 | 14.4464 | 26.64 | 10.5079
4.2 | 0.90476 | 0.90476 | 3.6655 | -1.3601 | 84 | 0.1 | 3.38 | -10.5512 | -23.3236 | 3.38 | 9.3925
1.652 | 0.90799 | 0.90799 | 1.3911 | -1.7809 | 84 | 0.1 | 1.3348 | -1.9208 | -10.7565 | 1.3348 | 7.5009
3.304 | 0.90799 | 0.90799 | 2.8679 | -1.4667 | 84 | 0.1 | 2.6696 | -6.4278 | -17.9978 | 2.6696 | 8.9004
6.608 | 0.90799 | 0.90799 | 5.9123 | -1.1525 | 84 | 0.1 | 5.3392 | -39.3387 | -55.0742 | 5.3392 | 10.3963
2.52 | 0.9127 | 0.9127 | 2.1802 | -1.5858 | 84 | 0.1 | 2.048 | -3.9263 | -14.3396 | 2.048 | 8.3653
9.576 | 0.93985 | 0.93985 | 9.0172 | -0.96921 | 84 | 0.1 | 8.0424 | 292.2759 | 272.7909 | 8.0424 | 11.4427
19.152 | 0.93985 | 0.93985 | 18.3839 | -0.65984 | 84 | 0.1 | 16.0848 | 52.9166 | 24.6944 | 16.0848 | 12.1374
3.192 | 0.93985 | 0.93985 | 2.9157 | -1.4595 | 84 | 0.1 | 2.6808 | -6.5283 | -18.2792 | 2.6808 | 9.0701
3.192 | 0.93985 | 0.93985 | 2.9157 | -1.4595 | 84 | 0.1 | 2.6808 | -6.5283 | -18.2792 | 2.6808 | 9.0701
3.192 | 0.93985 | 0.93985 | 2.9157 | -1.4595 | 84 | 0.1 | 2.6808 | -6.5283 | -18.2792 | 2.6808 | 9.0701
3.192 | 0.93985 | 0.93985 | 2.9157 | -1.4595 | 84 | 0.1 | 2.6808 | -6.5283 | -18.2792 | 2.6808 | 9.0701
3.192 | 0.93985 | 0.93985 | 2.9157 | -1.4595 | 84 | 0.1 | 2.6808 | -6.5283 | -18.2792 | 2.6808 | 9.0701
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
6.384 | 0.93985 | 0.93985 | 5.9444 | -1.1502 | 84 | 0.1 | 5.3616 | -39.9537 | -55.9351 | 5.3616 | 10.6199
12.768 | 0.93985 | 0.93985 | 12.1191 | -0.84081 | 84 | 0.1 | 10.7232 | 75.3812 | 52.7669 | 10.7232 | 11.8912
12.768 | 0.93985 | 0.93985 | 12.1191 | -0.84081 | 84 | 0.1 | 10.7232 | 75.3812 | 52.7669 | 10.7232 | 11.8912
12.768 | 0.93985 | 0.93985 | 12.1191 | -0.84081 | 84 | 0.1 | 10.7232 | 75.3812 | 52.7669 | 10.7232 | 11.8912
12.6 | 0.95238 | 0.95238 | 12.093 | -0.84174 | 84 | 0.1 | 10.74 | 75.8269 | 53.0788 | 10.74 | 12.0081
13.44 | 0.98661 | 0.98661 | 13.2957 | -0.80057 | 84 | 0.1 | 11.916 | 66.4888 | 42.1196 | 11.916 | 12.4532
5.46 | 0.98901 | 0.98901 | 5.3885 | -1.1928 | 84 | 0.1 | 4.854 | -28.0067 | -43.566 | 4.854 | 10.7053
9.912 | 1.0089 | 1.0089 | 9.9933 | -0.92457 | 84 | 0.1 | 9.0088 | 132.5713 | 111.3599 | 9.0088 | 12.2026
4.788 | 1.0443 | 1.0443 | 5.0481 | -1.2211 | 84 | 0.1 | 4.5212 | -22.6092 | -37.9835 | 4.5212 | 10.8531
9.576 | 1.0443 | 1.0443 | 9.9678 | -0.92568 | 84 | 0.1 | 9.0424 | 134.5494 | 113.0215 | 9.0424 | 12.4855
9.576 | 1.0443 | 1.0443 | 9.9678 | -0.92568 | 84 | 0.1 | 9.0424 | 134.5494 | 113.0215 | 9.0424 | 12.4855
3.696 | 1.0823 | 1.0823 | 4.0997 | -1.3115 | 84 | 0.1 | 3.6304 | -12.84 | -26.9641 | 3.6304 | 10.4937
6.384 | 1.1122 | 1.1122 | 7.1529 | -1.0698 | 84 | 0.1 | 6.4616 | -101.7209 | -120.3459 | 6.4616 | 12.1634
19.152 | 1.1226 | 1.1226 | 20.5551 | -0.61136 | 84 | 0.1 | 19.5848 | 55.3211 | 21.6138 | 19.5848 | 14.1225
19.152 | 1.1487 | 1.1487 | 20.8294 | -0.6056 | 84 | 0.1 | 20.0848 | 55.7813 | 21.2983 | 20.0848 | 14.3982
6.72 | 1.1488 | 1.1488 | 7.7571 | -1.0346 | 84 | 0.1 | 7.048 | -223.2576 | -242.9228 | 7.048 | 12.6173
26.88 | 1.1719 | 1.1719 | 28.928 | -0.46296 | 84 | 0.1 | 28.812 | 58.6549 | 15.6413 | 28.812 | 14.2016
19.152 | 1.1748 | 1.1748 | 21.096 | -0.60008 | 84 | 0.1 | 20.5848 | 56.2611 | 21.0041 | 20.5848 | 14.6721
6.384 | 1.1748 | 1.1748 | 7.5558 | -1.046 | 84 | 0.1 | 6.8616 | -163.0452 | -182.6106 | 6.8616 | 12.7038
12.768 | 1.1748 | 1.1748 | 14.4419 | -0.76465 | 84 | 0.1 | 13.7232 | 63.7362 | 35.6922 | 13.7232 | 14.3207
3.36 | 1.1905 | 1.1905 | 4.2145 | -1.2995 | 84 | 0.1 | 3.664 | -13.3539 | -28.0432 | 3.664 | 11.0253
3.36 | 1.1905 | 1.1905 | 4.2145 | -1.2995 | 84 | 0.1 | 3.664 | -13.3539 | -28.0432 | 3.664 | 11.0253
3.36 | 1.1905 | 1.1905 | 4.2145 | -1.2995 | 84 | 0.1 | 3.664 | -13.3539 | -28.0432 | 3.664 | 11.0253
6.72 | 1.1905 | 1.1905 | 8.0275 | -1.0197 | 84 | 0.1 | 7.328 | -406.1359 | -426.4428 | 7.328 | 12.9789
6.72 | 1.1905 | 1.1905 | 8.0275 | -1.0197 | 84 | 0.1 | 7.328 | -406.1359 | -426.4428 | 7.328 | 12.9789
1.652 | 1.2107 | 1.2107 | 2.2326 | -1.5755 | 84 | 0.1 | 1.8348 | -3.4754 | -14.5967 | 1.8348 | 9.2865
1.652 | 1.2107 | 1.2107 | 2.2326 | -1.5755 | 84 | 0.1 | 1.8348 | -3.4754 | -14.5967 | 1.8348 | 9.2865
6.608 | 1.2107 | 1.2107 | 8.03 | -1.0196 | 84 | 0.1 | 7.3392 | -408.895 | -429.3397 | 7.3392 | 13.1055
6.608 | 1.2107 | 1.2107 | 8.03 | -1.0196 | 84 | 0.1 | 7.3392 | -408.895 | -429.3397 | 7.3392 | 13.1055
4.104 | 1.2183 | 1.2183 | 5.2092 | -1.2075 | 84 | 0.1 | 4.5896 | -24.095 | -40.4795 | 4.5896 | 11.795
19.152 | 1.227 | 1.227 | 21.6077 | -0.58967 | 84 | 0.1 | 21.5848 | 57.2711 | 20.4714 | 21.5848 | 15.2149
25.536 | 1.2336 | 1.2336 | 28.2069 | -0.47392 | 84 | 0.1 | 28.9464 | 59.8774 | 15.9673 | 28.9464 | 14.9637
19.824 | 1.2359 | 1.2359 | 22.3877 | -0.57427 | 84 | 0.1 | 22.5176 | 57.5482 | 19.7308 | 22.5176 | 15.2998
1.61 | 1.2422 | 1.2422 | 2.263 | -1.5696 | 84 | 0.1 | 1.839 | -3.5113 | -14.7474 | 1.839 | 9.3971
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
3.192 | 1.2531 | 1.2531 | 4.2738 | -1.2935 | 84 | 0.1 | 3.6808 | -13.6304 | -28.6239 | 3.6808 | 11.3127
6.384 | 1.2531 | 1.2531 | 8.0349 | -1.0193 | 84 | 0.1 | 7.3616 | -414.549 | -435.2764 | 7.3616 | 13.3658
6.384 | 1.2531 | 1.2531 | 8.0349 | -1.0193 | 84 | 0.1 | 7.3616 | -414.549 | -435.2764 | 7.3616 | 13.3658
6.384 | 1.2531 | 1.2531 | 8.0349 | -1.0193 | 84 | 0.1 | 7.3616 | -414.549 | -435.2764 | 7.3616 | 13.3658
6.384 | 1.2531 | 1.2531 | 8.0349 | -1.0193 | 84 | 0.1 | 7.3616 | -414.549 | -435.2764 | 7.3616 | 13.3658
9.576 | 1.2531 | 1.2531 | 11.624 | -0.85892 | 84 | 0.1 | 11.0424 | 85.06 | 59.542 | 11.0424 | 14.4756
19.152 | 1.2531 | 1.2531 | 21.8534 | -0.58476 | 84 | 0.1 | 22.0848 | 57.7979 | 20.2293 | 22.0848 | 15.4839
28.728 | 1.2531 | 1.2531 | 31.6151 | -0.42439 | 84 | 0.1 | 33.1272 | 62.5418 | 14.5931 | 33.1272 | 14.8215
19.152 | 1.2662 | 1.2662 | 21.9738 | -0.58237 | 84 | 0.1 | 22.3348 | 58.0662 | 20.1137 | 22.3348 | 15.6177
4.2 | 1.2667 | 1.2667 | 5.5511 | -1.1799 | 84 | 0.1 | 4.9 | -29.5722 | -46.6929 | 4.9 | 12.2207
7.84 | 1.2755 | 1.2755 | 9.8347 | -0.93152 | 84 | 0.1 | 9.216 | 146.0214 | 122.658 | 9.216 | 14.1474
15.68 | 1.2755 | 1.2755 | 18.4085 | -0.65926 | 84 | 0.1 | 18.432 | 58.6958 | 24.6522 | 18.432 | 15.6116
5.6 | 1.2857 | 1.2857 | 7.31 | -1.0604 | 84 | 0.1 | 6.64 | -119.2862 | -139.1672 | 6.64 | 13.2411
13.216 | 1.2863 | 1.2863 | 15.8588 | -0.72401 | 84 | 0.1 | 15.6784 | 61.5963 | 30.4358 | 15.6784 | 15.4821
4.648 | 1.2909 | 1.2909 | 6.2049 | -1.1315 | 84 | 0.1 | 5.5352 | -45.6128 | -63.858 | 5.5352 | 12.7099
9.912 | 1.2914 | 1.2914 | 12.2723 | -0.83535 | 84 | 0.1 | 11.8088 | 77.7421 | 51.0183 | 11.8088 | 14.9151
7.56 | 1.2963 | 1.2963 | 9.6482 | -0.93983 | 84 | 0.1 | 9.044 | 162.8834 | 139.6144 | 9.044 | 14.225
8.304 | 1.3006 | 1.3006 | 10.5255 | -0.90204 | 84 | 0.1 | 9.9696 | 110.2454 | 85.7464 | 9.9696 | 14.5294
3.6904 | 1.3007 | 1.3007 | 5.0833 | -1.2181 | 84 | 0.1 | 4.431 | -22.0048 | -38.5084 | 4.431 | 12.0726
3.36 | 1.3036 | 1.3036 | 4.6846 | -1.2536 | 84 | 0.1 | 4.044 | -17.2709 | -33.1222 | 4.044 | 11.8073
15.12 | 1.3062 | 1.3062 | 18.0705 | -0.66731 | 84 | 0.1 | 18.238 | 59.3645 | 25.2487 | 18.238 | 15.8778
3.696 | 1.3528 | 1.3528 | 5.3102 | -1.1992 | 84 | 0.1 | 4.6304 | -25.1041 | -42.1749 | 4.6304 | 12.4404
15.96 | 1.3784 | 1.3784 | 19.5555 | -0.63301 | 84 | 0.1 | 20.404 | 59.9473 | 22.889 | 20.404 | 16.6543
6.384 | 1.4098 | 1.4098 | 8.9198 | -0.97393 | 84 | 0.1 | 8.3616 | 345.1694 | 322.1582 | 8.3616 | 14.6496
2.8 | 1.4286 | 1.4286 | 4.4185 | -1.279 | 84 | 0.1 | 3.72 | -14.3368 | -30.1074 | 3.72 | 12.0505
4.2 | 1.4286 | 1.4286 | 6.277 | -1.1265 | 84 | 0.1 | 5.58 | -47.4201 | -66.3881 | 5.58 | 13.3881
1.652 | 1.4528 | 1.4528 | 2.8585 | -1.4681 | 84 | 0.1 | 2.2348 | -5.1267 | -17.9435 | 2.2348 | 10.582
2.736 | 1.462 | 1.462 | 4.4431 | -1.2766 | 84 | 0.1 | 3.7264 | -14.4615 | -30.3691 | 3.7264 | 12.1813
26.88 | 1.4695 | 1.4695 | 31.6449 | -0.42398 | 84 | 0.1 | 36.812 | 68.5734 | 14.5827 | 36.812 | 17.1787
4.7424 | 1.476 | 1.476 | 7.1871 | -1.0677 | 84 | 0.1 | 6.5258 | -103.3541 | -124.0249 | 6.5258 | 14.145
6.384 | 1.4881 | 1.4881 | 9.3294 | -0.95442 | 84 | 0.1 | 8.8616 | 208.4413 | 184.306 | 8.8616 | 15.2737
6.72 | 1.4881 | 1.4881 | 9.7466 | -0.93543 | 84 | 0.1 | 9.328 | 154.8627 | 130.0847 | 9.328 | 15.45
6.384 | 1.5038 | 1.5038 | 9.409 | -0.95074 | 84 | 0.1 | 8.9616 | 194.8699 | 170.5111 | 8.9616 | 15.3972
3.304 | 1.5133 | 1.5133 | 5.4116 | -1.191 | 84 | 0.1 | 4.6696 | -26.1847 | -43.9902 | 4.6696 | 13.136
3.192 | 1.5664 | 1.5664 | 5.4415 | -1.1886 | 84 | 0.1 | 4.6808 | -26.517 | -44.5486 | 4.6808 | 13.3508
3.192 | 1.5664 | 1.5664 | 5.4415 | -1.1886 | 84 | 0.1 | 4.6808 | -26.517 | -44.5486 | 4.6808 | 13.3508
6.384 | 1.5664 | 1.5664 | 9.7196 | -0.93663 | 84 | 0.1 | 9.3616 | 157.8045 | 132.5558 | 9.3616 | 15.8871
9.576 | 1.5664 | 1.5664 | 13.6464 | -0.78926 | 84 | 0.1 | 14.0424 | 71.1785 | 39.86 | 14.0424 | 17.2762
9.576 | 1.5664 | 1.5664 | 13.6464 | -0.78926 | 84 | 0.1 | 14.0424 | 71.1785 | 39.86 | 14.0424 | 17.2762
5.04 | 1.5873 | 1.5873 | 8.0655 | -1.0176 | 84 | 0.1 | 7.496 | -453.3104 | -475.9758 | 7.496 | 15.1694
3.304 | 1.589 | 1.589 | 5.6799 | -1.1699 | 84 | 0.1 | 4.9196 | -30.893 | -49.4288 | 4.9196 | 13.6162
6.608 | 1.589 | 1.589 | 10.1149 | -0.91932 | 84 | 0.1 | 9.8392 | 130.1388 | 104.111 | 9.8392 | 16.1886
8.4 | 1.6071 | 1.6071 | 12.4489 | -0.82915 | 84 | 0.1 | 12.66 | 79.0166 | 49.1659 | 12.66 | 17.1907
2.464 | 1.6234 | 1.6234 | 4.5507 | -1.2662 | 84 | 0.1 | 3.7536 | -15.026 | -31.5547 | 3.7536 | 12.775
3.696 | 1.6234 | 1.6234 | 6.3614 | -1.1207 | 84 | 0.1 | 5.6304 | -49.6997 | -69.5796 | 5.6304 | 14.2495
19.824 | 1.6394 | 1.6394 | 25.5874 | -0.51625 | 84 | 0.1 | 30.5176 | 67.1838 | 17.3644 | 30.5176 | 19.3018
14.56 | 1.6655 | 1.6655 | 20.008 | -0.62308 | 84 | 0.1 | 22.794 | 64.3365 | 22.2856 | 22.794 | 19.2568
9.576 | 1.697 | 1.697 | 14.3658 | -0.76695 | 84 | 0.1 | 15.2924 | 69.7276 | 36.0438 | 15.2924 | 18.3914
2.352 | 1.7007 | 1.7007 | 4.5967 | -1.2618 | 84 | 0.1 | 3.7648 | -15.2768 | -32.0813 | 3.7648 | 13.0397
11.76 | 1.7007 | 1.7007 | 16.9991 | -0.69385 | 84 | 0.1 | 18.824 | 65.3282 | 27.4379 | 18.824 | 19.0664
14 | 1.7143 | 1.7143 | 19.6666 | -0.63055 | 84 | 0.1 | 22.6 | 64.9614 | 22.7365 | 22.6 | 19.6249
19.152 | 1.7178 | 1.7178 | 25.3735 | -0.5199 | 84 | 0.1 | 30.9848 | 68.5272 | 17.4963 | 30.9848 | 20.0461
15.12 | 1.7196 | 1.7196 | 20.9636 | -0.60281 | 84 | 0.1 | 24.488 | 65.4603 | 21.1487 | 24.488 | 19.8236
12.768 | 1.7231 | 1.7231 | 18.3021 | -0.66178 | 84 | 0.1 | 20.7232 | 65.0461 | 24.8358 | 20.7232 | 19.4871
3.472 | 1.7281 | 1.7281 | 6.4003 | -1.1181 | 84 | 0.1 | 5.6528 | -50.8146 | -71.1404 | 5.6528 | 14.673
12.768 | 1.7622 | 1.7622 | 18.5219 | -0.65659 | 84 | 0.1 | 21.2232 | 65.5203 | 24.4609 | 21.2232 | 19.8362
1.12 | 1.7857 | 1.7857 | 2.6693 | -1.4979 | 84 | 0.1 | 1.888 | -4.017 | -16.8716 | 1.888 | 10.9666
2.24 | 1.7857 | 1.7857 | 4.6438 | -1.2574 | 84 | 0.1 | 3.776 | -15.5399 | -32.6337 | 3.776 | 13.3179
3.36 | 1.7857 | 1.7857 | 6.4202 | -1.1167 | 84 | 0.1 | 5.664 | -51.3992 | -71.9589 | 5.664 | 14.8957
3.36 | 1.7857 | 1.7857 | 6.4202 | -1.1167 | 84 | 0.1 | 5.664 | -51.3992 | -71.9589 | 5.664 | 14.8957
3.36 | 1.7857 | 1.7857 | 6.4202 | -1.1167 | 84 | 0.1 | 5.664 | -51.3992 | -71.9589 | 5.664 | 14.8957
3.36 | 1.7857 | 1.7857 | 6.4202 | -1.1167 | 84 | 0.1 | 5.664 | -51.3992 | -71.9589 | 5.664 | 14.8957
16.8 | 1.7857 | 1.7857 | 23.2227 | -0.55837 | 84 | 0.1 | 28.32 | 67.9296 | 19.0203 | 28.32 | 20.5893
3.304 | 1.816 | 1.816 | 6.4302 | -1.1161 | 84 | 0.1 | 5.6696 | -51.699 | -72.3786 | 5.6696 | 15.01
9.912 | 1.816 | 1.816 | 15.3871 | -0.73712 | 84 | 0.1 | 17.0088 | 68.4727 | 31.9539 | 17.0088 | 19.51
10.08 | 1.8353 | 1.8353 | 15.6898 | -0.72866 | 84 | 0.1 | 17.492 | 68.1807 | 30.9577 | 17.492 | 19.731
12.768 | 1.8405 | 1.8405 | 18.9447 | -0.64679 | 84 | 0.1 | 22.2232 | 66.5331 | 23.782 | 22.2232 | 20.5278
16.8 | 1.8452 | 1.8452 | 23.561 | -0.55209 | 84 | 0.1 | 29.32 | 69.2097 | 18.7536 | 29.32 | 21.1361
13.216 | 1.8462 | 1.8462 | 19.4985 | -0.63428 | 84 | 0.1 | 23.0784 | 66.7173 | 22.9682 | 23.0784 | 20.6706
2.1476 | 1.8625 | 1.8625 | 4.6837 | -1.2537 | 84 | 0.1 | 3.7852 | -15.767 | -33.1107 | 3.7852 | 13.5584
3.192 | 1.8797 | 1.8797 | 6.4504 | -1.1147 | 84 | 0.1 | 5.6808 | -52.3139 | -73.2395 | 5.6808 | 15.2448
3.192 | 1.8797 | 1.8797 | 6.4504 | -1.1147 | 84 | 0.1 | 5.6808 | -52.3139 | -73.2395 | 5.6808 | 15.2448
3.192 | 1.8797 | 1.8797 | 6.4504 | -1.1147 | 84 | 0.1 | 5.6808 | -52.3139 | -73.2395 | 5.6808 | 15.2448
6.384 | 1.8797 | 1.8797 | 11.1137 | -0.87842 | 84 | 0.1 | 11.3616 | 98.7015 | 69.0911 | 11.3616 | 18.2489
6.384 | 1.8797 | 1.8797 | 11.1137 | -0.87842 | 84 | 0.1 | 11.3616 | 98.7015 | 69.0911 | 11.3616 | 18.2489
6.384 | 1.8797 | 1.8797 | 11.1137 | -0.87842 | 84 | 0.1 | 11.3616 | 98.7015 | 69.0911 | 11.3616 | 18.2489
4.2 | 1.9048 | 1.9048 | 8.0858 | -1.0166 | 84 | 0.1 | 7.58 | -483.2032 | -507.3633 | 7.58 | 16.5801
9.912 | 1.9169 | 1.9169 | 15.8728 | -0.72363 | 84 | 0.1 | 18.0088 | 68.7476 | 30.3937 | 18.0088 | 20.3451
9.912 | 1.9169 | 1.9169 | 15.8728 | -0.72363 | 84 | 0.1 | 18.0088 | 68.7476 | 30.3937 | 18.0088 | 20.3451
12.768 | 1.958 | 1.958 | 19.5408 | -0.63334 | 84 | 0.1 | 23.7232 | 68.1826 | 22.9094 | 23.7232 | 21.5501
12.768 | 1.958 | 1.958 | 19.5408 | -0.63334 | 84 | 0.1 | 23.7232 | 68.1826 | 22.9094 | 23.7232 | 21.5501
6.384 | 1.9737 | 1.9737 | 11.4876 | -0.86405 | 84 | 0.1 | 11.9616 | 92.6821 | 61.788 | 11.9616 | 18.9324
5.04 | 1.9841 | 1.9841 | 9.608 | -0.94164 | 84 | 0.1 | 9.496 | 171.3625 | 143.9445 | 9.496 | 17.922
10.08 | 1.9841 | 1.9841 | 16.3919 | -0.70965 | 84 | 0.1 | 18.992 | 68.8821 | 28.9305 | 18.992 | 20.9596
2.24 | 2.0357 | 2.0357 | 5.2668 | -1.2027 | 84 | 0.1 | 4.336 | -22.4931 | -41.4347 | 4.336 | 14.6056
9.688 | 2.0644 | 2.0644 | 16.249 | -0.71345 | 84 | 0.1 | 19.0312 | 69.7966 | 29.3146 | 19.0312 | 21.4508
3.36 | 2.0833 | 2.0833 | 7.3154 | -1.06 | 84 | 0.1 | 6.664 | -116.5844 | -139.9014 | 6.664 | 16.6529
10.08 | 2.0982 | 2.0982 | 16.8914 | -0.69661 | 84 | 0.1 | 20.142 | 69.7131 | 27.6875 | 20.142 | 21.8836
3.304 | 2.1186 | 2.1186 | 7.321 | -1.0597 | 84 | 0.1 | 6.6696 | -117.2298 | -140.6758 | 6.6696 | 16.7764
3.192 | 2.1303 | 2.1303 | 7.1647 | -1.0691 | 84 | 0.1 | 6.4808 | -98.4352 | -121.5964 | 6.4808 | 16.6804
10.08 | 2.1825 | 2.1825 | 17.2412 | -0.68771 | 84 | 0.1 | 20.992 | 70.4475 | 26.8981 | 20.992 | 22.5574
3.192 | 2.193 | 2.193 | 7.3322 | -1.059 | 84 | 0.1 | 6.6808 | -118.5537 | -142.2645 | 6.6808 | 17.03
6.384 | 2.193 | 2.193 | 12.2945 | -0.83457 | 84 | 0.1 | 13.3616 | 84.6275 | 50.7765 | 13.3616 | 20.4894
10.08 | 2.2073 | 2.2073 | 17.3412 | -0.6852 | 84 | 0.1 | 21.242 | 70.6797 | 26.6836 | 21.242 | 22.7541
2.24 | 2.2321 | 2.2321 | 5.7178 | -1.1671 | 84 | 0.1 | 4.776 | -29.9305 | -50.2832 | 4.776 | 15.5767
2.24 | 2.2321 | 2.2321 | 5.7178 | -1.1671 | 84 | 0.1 | 4.776 | -29.9305 | -50.2832 | 4.776 | 15.5767
4.48 | 2.2321 | 2.2321 | 9.5592 | -0.94386 | 84 | 0.1 | 9.552 | 178.1179 | 149.619 | 9.552 | 18.9469
2.24 | 2.2589 | 2.2589 | 5.7768 | -1.1626 | 84 | 0.1 | 4.836 | -31.1216 | -51.6642 | 4.836 | 15.7067
3.304 | 2.27 | 2.27 | 7.7265 | -1.0363 | 84 | 0.1 | 7.1696 | -206.6351 | -231.4312 | 7.1696 | 17.6266
3.304 | 2.27 | 2.27 | 7.7265 | -1.0363 | 84 | 0.1 | 7.1696 | -206.6351 | -231.4312 | 7.1696 | 17.6266
6.608 | 2.27 | 2.27 | 12.8819 | -0.8143 | 84 | 0.1 | 14.3392 | 80.7758 | 45.2345 | 14.3392 | 21.2022
5.152 | 2.2748 | 2.2748 | 10.7369 | -0.8934 | 84 | 0.1 | 11.2048 | 109.9458 | 78.8007 | 11.2048 | 19.9403
10.08 | 2.2817 | 2.2817 | 17.6337 | -0.67794 | 84 | 0.1 | 21.992 | 71.4145 | 26.0818 | 21.992 | 23.3407
9.576 | 2.2974 | 2.2974 | 17.0395 | -0.69282 | 84 | 0.1 | 21.0424 | 71.6196 | 27.3457 | 21.0424 | 23.2315
12.768 | 2.3105 | 2.3105 | 21.1021 | -0.59995 | 84 | 0.1 | 28.2232 | 73.7415 | 20.9976 | 28.2232 | 24.5207
4.13 | 2.4213 | 2.4213 | 9.5277 | -0.94529 | 84 | 0.1 | 9.587 | 182.7837 | 153.5383 | 9.587 | 19.6584
0.826 | 2.4213 | 2.4213 | 2.9783 | -1.4503 | 84 | 0.1 | 1.9174 | -4.4414 | -18.6539 | 1.9174 | 12.2951
3.304 | 2.4213 | 2.4213 | 8.109 | -1.0153 | 84 | 0.1 | 7.6696 | -522.5491 | -548.6764 | 7.6696 | 18.4577
6.608 | 2.4213 | 2.4213 | 13.3804 | -0.79781 | 84 | 0.1 | 15.3392 | 79.1336 | 41.5451 | 15.3392 | 22.2493
12.768 | 2.4279 | 2.4279 | 21.5603 | -0.59062 | 84 | 0.1 | 29.7232 | 75.7252 | 20.5191 | 29.7232 | 25.4829
40.32 | 2.4554 | 2.4554 | 49.5422 | -0.2293 | 84 | 0.1 | 94.968 | 128.4553 | 10.8992 | 94.968 | 22.5881
5.04 | 2.4802 | 2.4802 | 11.1706 | -0.8762 | 84 | 0.1 | 11.996 | 100.9727 | 67.8536 | 11.996 | 21.1231
1.596 | 2.5063 | 2.5063 | 4.9427 | -1.2303 | 84 | 0.1 | 3.8404 | -17.3674 | -36.4715 | 3.8404 | 15.2637
3.192 | 2.5063 | 2.5063 | 8.1121 | -1.0151 | 84 | 0.1 | 7.6808 | -528.2029 | -554.613 | 7.6808 | 18.7293
3.192 | 2.5063 | 2.5063 | 8.1121 | -1.0151 | 84 | 0.1 | 7.6808 | -528.2029 | -554.613 | 7.6808 | 18.7293
6.608 | 2.5424 | 2.5424 | 13.7562 | -0.78578 | 84 | 0.1 | 16.1392 | 78.4241 | 39.2121 | 16.1392 | 23.0729
9.576 | 2.5585 | 2.5585 | 17.9663 | -0.66982 | 84 | 0.1 | 23.5424 | 74.2021 | 25.4407 | 23.5424 | 25.219
10.08 | 2.5794 | 2.5794 | 18.7032 | -0.65236 | 84 | 0.1 | 24.992 | 74.7907 | 24.1631 | 24.992 | 25.6355
3.36 | 2.5893 | 2.5893 | 8.6112 | -0.98922 | 84 | 0.1 | 8.364 | 806.7359 | 778.9174 | 8.364 | 19.4546
11.76 | 2.5935 | 2.5935 | 20.9105 | -0.60392 | 84 | 0.1 | 29.324 | 77.0038 | 21.2076 | 29.324 | 26.4722
5.472 | 2.6042 | 2.6042 | 12.2017 | -0.83786 | 84 | 0.1 | 13.7028 | 87.8874 | 51.8073 | 13.7028 | 22.3773
6.72 | 2.753 | 2.753 | 14.5356 | -0.76185 | 84 | 0.1 | 17.828 | 77.6813 | 35.2715 | 17.828 | 24.5818
19.6 | 2.7679 | 2.7679 | 30.6215 | -0.43825 | 84 | 0.1 | 52.29 | 96.5737 | 14.9533 | 52.29 | 29.3303
10.64 | 2.8195 | 2.8195 | 20.207 | -0.61878 | 84 | 0.1 | 28.936 | 78.6941 | 22.0343 | 28.936 | 27.7237
0.708 | 2.8249 | 2.8249 | 3.1243 | -1.4295 | 84 | 0.1 | 1.9292 | -4.6562 | -19.5562 | 1.9292 | 12.9707
2.1 | 2.8571 | 2.8571 | 6.6667 | -1.1004 | 84 | 0.1 | 5.79 | -59.7804 | -83.6926 | 5.79 | 18.1222
9.576 | 2.8718 | 2.8718 | 18.9454 | -0.64678 | 84 | 0.1 | 26.5424 | 77.8542 | 23.7809 | 26.5424 | 27.5309
7.952 | 2.8924 | 2.8924 | 16.7357 | -0.70063 | 84 | 0.1 | 22.2048 | 76.8291 | 28.0593 | 22.2048 | 26.565
11.564 | 2.9185 | 2.9185 | 21.7028 | -0.58776 | 84 | 0.1 | 32.5936 | 81.8705 | 20.3767 | 32.5936 | 28.9003
1.368 | 2.924 | 2.924 | 5.0638 | -1.2198 | 84 | 0.1 | 3.8632 | -18.1985 | -38.2168 | 3.8632 | 16.1551
1.68 | 2.9762 | 2.9762 | 5.9073 | -1.1529 | 84 | 0.1 | 4.832 | -32.7031 | -54.9412 | 4.832 | 17.4061
6.72 | 2.9762 | 2.9762 | 15.1334 | -0.74434 | 84 | 0.1 | 19.328 | 78.23 | 32.8566 | 19.328 | 26.0454
10.08 | 2.9762 | 2.9762 | 19.9264 | -0.62485 | 84 | 0.1 | 28.992 | 79.9683 | 22.3911 | 28.992 | 28.5852
10.08 | 2.9762 | 2.9762 | 19.9264 | -0.62485 | 84 | 0.1 | 28.992 | 79.9683 | 22.3911 | 28.992 | 28.5852
5.6 | 3.0321 | 3.0321 | 13.5071 | -0.79372 | 84 | 0.1 | 16.42 | 82.3145 | 40.7209 | 16.42 | 25.1735
6.72 | 3.0506 | 3.0506 | 15.3219 | -0.73897 | 84 | 0.1 | 19.828 | 78.5339 | 32.1797 | 19.828 | 26.5261
6.384 | 3.1328 | 3.1328 | 15.0013 | -0.74815 | 84 | 0.1 | 19.3616 | 79.4126 | 33.3533 | 19.3616 | 26.6977
6.72 | 3.1994 | 3.1994 | 15.6844 | -0.72881 | 84 | 0.1 | 20.828 | 79.2803 | 30.9746 | 20.828 | 27.4777
6.384 | 3.2112 | 3.2112 | 15.1864 | -0.74283 | 84 | 0.1 | 19.8616 | 79.7125 | 32.6627 | 19.8616 | 27.1882
10.08 | 3.2123 | 3.2123 | 20.5673 | -0.6111 | 84 | 0.1 | 31.372 | 83.2609 | 21.5995 | 31.372 | 30.2894
6.72 | 3.2738 | 3.2738 | 15.8589 | -0.72401 | 84 | 0.1 | 21.328 | 79.7123 | 30.4356 | 21.328 | 27.9487
3.192 | 3.2895 | 3.2895 | 9.731 | -0.93612 | 84 | 0.1 | 10.1808 | 164.3775 | 131.502 | 10.1808 | 22.6947
6.608 | 3.405 | 3.405 | 15.9797 | -0.72071 | 84 | 0.1 | 21.8392 | 80.5615 | 30.0763 | 21.8392 | 28.646
6.384 | 3.4461 | 3.4461 | 15.7135 | -0.72801 | 84 | 0.1 | 21.3616 | 80.8843 | 30.8831 | 21.3616 | 28.6396
1.12 | 3.5714 | 3.5714 | 5.2093 | -1.2075 | 84 | 0.1 | 3.888 | -19.2768 | -40.4814 | 3.888 | 17.3165
5.6 | 3.5714 | 3.5714 | 14.6859 | -0.75738 | 84 | 0.1 | 19.44 | 82.4334 | 34.622 | 19.44 | 28.3714
10.08 | 3.621 | 3.621 | 21.556 | -0.59071 | 84 | 0.1 | 35.492 | 89.179 | 20.5234 | 35.492 | 33.1636
5.04 | 3.6706 | 3.6706 | 13.9129 | -0.78086 | 84 | 0.1 | 17.996 | 84.4221 | 38.3322 | 17.996 | 28.0939
6.384 | 3.7124 | 3.7124 | 16.2654 | -0.71301 | 84 | 0.1 | 23.0616 | 82.5824 | 29.2697 | 23.0616 | 30.2511
6.264 | 3.7516 | 3.7516 | 16.1471 | -0.71618 | 84 | 0.1 | 22.8736 | 82.8 | 29.5966 | 22.8736 | 30.3298
5.46 | 3.7546 | 3.7546 | 14.8035 | -0.75392 | 84 | 0.1 | 19.954 | 83.3048 | 34.1347 | 19.954 | 29.2162
3.192 | 3.7594 | 3.7594 | 10.5347 | -0.90166 | 84 | 0.1 | 11.6808 | 122.0218 | 85.4153 | 11.6808 | 24.9258
6.888 | 3.7747 | 3.7747 | 17.1973 | -0.68882 | 84 | 0.1 | 25.3112 | 83.5528 | 26.994 | 25.3112 | 31.2477
0.4956 | 4.0355 | 4.0355 | 3.437 | -1.3881 | 84 | 0.1 | 1.9504 | -5.1533 | -21.6439 | 1.9504 | 14.5402
6.72 | 4.0923 | 4.0923 | 17.5307 | -0.68048 | 84 | 0.1 | 26.828 | 86.0668 | 26.2895 | 26.828 | 32.9493
1.19 | 4.1176 | 4.1176 | 6.016 | -1.145 | 84 | 0.1 | 4.781 | -33.799 | -57.9412 | 4.781 | 19.3612
3.192 | 4.151 | 4.151 | 11.1327 | -0.87768 | 84 | 0.1 | 12.9308 | 108.3202 | 68.6709 | 12.9308 | 26.7185
3.36 | 4.1667 | 4.1667 | 11.5144 | -0.86304 | 84 | 0.1 | 13.664 | 102.2185 | 61.3311 | 13.664 | 27.2234
3.36 | 4.1667 | 4.1667 | 11.5144 | -0.86304 | 84 | 0.1 | 13.664 | 102.2185 | 61.3311 | 13.664 | 27.2234
4.956 | 4.2373 | 4.2373 | 14.752 | -0.75543 | 84 | 0.1 | 20.5044 | 85.8643 | 34.3457 | 20.5044 | 31.0142
6.72 | 4.3036 | 4.3036 | 17.9022 | -0.67137 | 84 | 0.1 | 28.248 | 88.0027 | 25.561 | 28.248 | 34.1938
1.82 | 4.3956 | 4.3956 | 8.1542 | -1.0129 | 84 | 0.1 | 7.818 | -620.322 | -651.338 | 7.818 | 23.198
1.652 | 4.431 | 4.431 | 7.7264 | -1.0363 | 84 | 0.1 | 7.1548 | -201.6523 | -231.4042 | 7.1548 | 22.5972
4.984 | 4.4643 | 4.4643 | 15.1605 | -0.74357 | 84 | 0.1 | 21.7516 | 86.7673 | 32.7571 | 21.7516 | 32.2586
5.04 | 4.5635 | 4.5635 | 15.414 | -0.73637 | 84 | 0.1 | 22.496 | 87.2419 | 31.8623 | 22.496 | 32.8836
6.384 | 4.6209 | 4.6209 | 17.8643 | -0.67229 | 84 | 0.1 | 28.8616 | 90.0195 | 25.6327 | 28.8616 | 35.5253
5.04 | 4.6627 | 4.6627 | 15.5609 | -0.73224 | 84 | 0.1 | 22.996 | 87.7663 | 31.3718 | 22.996 | 33.3985
1.68 | 4.7619 | 4.7619 | 8.1592 | -1.0126 | 84 | 0.1 | 7.832 | -633.4452 | -665.1174 | 7.832 | 23.8402
7.392 | 4.8701 | 4.8701 | 19.8977 | -0.62548 | 84 | 0.1 | 35.2608 | 96.1222 | 22.4285 | 35.2608 | 38.4329
1.232 | 4.8701 | 4.8701 | 6.8816 | -1.0866 | 84 | 0.1 | 5.8768 | -69.2902 | -97.0063 | 5.8768 | 21.8393
4.2 | 4.881 | 4.881 | 14.2481 | -0.77052 | 84 | 0.1 | 20.08 | 89.3332 | 36.6048 | 20.08 | 32.6484
8.4 | 5.0595 | 5.0595 | 21.7502 | -0.58682 | 84 | 0.1 | 41.66 | 102.8599 | 20.33 | 41.66 | 40.87
4.48 | 5.1339 | 5.1339 | 15.1367 | -0.74425 | 84 | 0.1 | 22.552 | 89.9314 | 32.8445 | 22.552 | 34.5349
4.48 | 5.2455 | 5.2455 | 15.2782 | -0.74021 | 84 | 0.1 | 23.052 | 90.4568 | 32.3335 | 23.052 | 35.0713
6.72 | 5.3199 | 5.3199 | 19.4412 | -0.63556 | 84 | 0.1 | 35.078 | 98.0946 | 23.0488 | 35.078 | 39.9678
6.72 | 5.3571 | 5.3571 | 19.4911 | -0.63444 | 84 | 0.1 | 35.328 | 98.4799 | 22.9786 | 35.328 | 40.1733
4.48 | 5.4688 | 5.4688 | 15.5518 | -0.7325 | 84 | 0.1 | 24.052 | 91.5884 | 31.4018 | 24.052 | 36.1347
8.4 | 5.5655 | 5.5655 | 22.4584 | -0.5729 | 84 | 0.1 | 45.91 | 109.4594 | 19.6676 | 45.91 | 43.8818
4.76 | 5.584 | 5.584 | 16.2424 | -0.71363 | 84 | 0.1 | 26.104 | 92.8166 | 29.3326 | 26.104 | 37.38
4.592 | 5.662 | 5.662 | 16.003 | -0.72008 | 84 | 0.1 | 25.5408 | 92.8832 | 30.0084 | 25.5408 | 37.334
13.44 | 5.7664 | 5.7664 | 29.6692 | -0.45197 | 84 | 0.1 | 76.156 | 141.4163 | 15.3277 | 76.156 | 49.9326
10.64 | 5.8271 | 5.8271 | 26.0617 | -0.50828 | 84 | 0.1 | 60.936 | 126.0872 | 17.0828 | 60.936 | 48.0685
3.36 | 5.878 | 5.878 | 13.6188 | -0.79014 | 84 | 0.1 | 19.414 | 94.111 | 40.0269 | 19.414 | 34.67
1.68 | 5.9524 | 5.9524 | 9.2672 | -0.95733 | 84 | 0.1 | 9.832 | 234.3732 | 196.8735 | 9.832 | 27.6677
3.36 | 5.9524 | 5.9524 | 13.6953 | -0.78771 | 84 | 0.1 | 19.664 | 94.2103 | 39.5683 | 19.664 | 34.978
3.36 | 5.9524 | 5.9524 | 13.6953 | -0.78771 | 84 | 0.1 | 19.664 | 94.2103 | 39.5683 | 19.664 | 34.978
6.72 | 5.9524 | 5.9524 | 20.2392 | -0.61809 | 84 | 0.1 | 39.328 | 104.7354 | 21.9944 | 39.328 | 43.413
0.4956 | 6.0533 | 6.0533 | 4.7135 | -1.2509 | 84 | 0.1 | 2.9504 | -11.9554 | -33.4752 | 2.9504 | 18.5693
0.4956 | 6.0533 | 6.0533 | 4.7135 | -1.2509 | 84 | 0.1 | 2.9504 | -11.9554 | -33.4752 | 2.9504 | 18.5693
3.36 | 6.0714 | 6.0714 | 13.8156 | -0.78391 | 84 | 0.1 | 20.064 | 94.4052 | 38.8727 | 20.064 | 35.4685
3.304 | 6.2046 | 6.2046 | 13.8171 | -0.78386 | 84 | 0.1 | 20.1696 | 94.8466 | 38.864 | 20.1696 | 35.813
3.36 | 6.25 | 6.25 | 13.9915 | -0.77842 | 84 | 0.1 | 20.664 | 94.7718 | 37.9087 | 20.664 | 36.1991
3.304 | 6.3559 | 6.3559 | 13.9626 | -0.77931 | 84 | 0.1 | 20.6696 | 95.157 | 38.0628 | 20.6696 | 36.4246
3.192 | 6.4223 | 6.4223 | 13.7603 | -0.78565 | 84 | 0.1 | 20.1808 | 95.639 | 39.1886 | 20.1808 | 36.2695
1.4 | 6.4286 | 6.4286 | 8.7267 | -0.98343 | 84 | 0.1 | 8.86 | 543.0995 | 506.8928 | 8.86 | 27.3467
1.4 | 6.4286 | 6.4286 | 8.7267 | -0.98343 | 84 | 0.1 | 8.86 | 543.0995 | 506.8928 | 8.86 | 27.3467
3.472 | 6.4804 | 6.4804 | 14.4704 | -0.7638 | 84 | 0.1 | 22.1528 | 95.2577 | 35.5629 | 22.1528 | 37.542
8.96 | 6.6964 | 6.6964 | 24.6569 | -0.53234 | 84 | 0.1 | 59.104 | 128.2986 | 17.9618 | 59.104 | 51.2328
10.08 | 6.9444 | 6.9444 | 26.5631 | -0.5 | 84 | 0.1 | 68.992 | 140 | 16.8 | 68.992 | 54.208
2.8 | 7.1429 | 7.1429 | 13.4123 | -0.79678 | 84 | 0.1 | 19.72 | 98.4137 | 41.3338 | 19.72 | 37.36
2.8 | 7.1429 | 7.1429 | 13.4123 | -0.79678 | 84 | 0.1 | 19.72 | 98.4137 | 41.3338 | 19.72 | 37.36
3.36 | 7.1429 | 7.1429 | 14.7984 | -0.75407 | 84 | 0.1 | 23.664 | 97.5868 | 34.1554 | 23.664 | 39.7674
9.856 | 7.2403 | 7.2403 | 26.5401 | -0.50038 | 84 | 0.1 | 70.3744 | 142.8278 | 16.8127 | 70.3744 | 55.6407
1.652 | 7.2639 | 7.2639 | 10.1744 | -0.91677 | 84 | 0.1 | 11.8348 | 144.1819 | 100.9273 | 11.8348 | 31.4198
4.2 | 7.3214 | 7.3214 | 16.8471 | -0.69775 | 84 | 0.1 | 30.33 | 101.7385 | 27.792 | 30.33 | 43.6165
2.52 | 7.3532 | 7.3532 | 12.8342 | -0.81591 | 84 | 0.1 | 18.278 | 100.6582 | 45.6303 | 18.278 | 36.75
2.464 | 7.5081 | 7.5081 | 12.7969 | -0.81718 | 84 | 0.1 | 18.2536 | 101.1901 | 45.9458 | 18.2536 | 36.9907
6.72 | 7.8125 | 7.8125 | 22.1187 | -0.57952 | 84 | 0.1 | 51.828 | 124.8574 | 19.9772 | 51.828 | 53.0522
2.8 | 8.3571 | 8.3571 | 14.3143 | -0.76851 | 84 | 0.1 | 23.12 | 101.0844 | 36.2867 | 23.12 | 41.6777
3.36 | 8.7798 | 8.7798 | 16.0318 | -0.7193 | 84 | 0.1 | 29.164 | 105.093 | 29.9248 | 29.164 | 46.0042
2.24 | 8.9286 | 8.9286 | 13.1041 | -0.80687 | 84 | 0.1 | 19.776 | 103.5582 | 43.4945 | 19.776 | 40.2878
4.2 | 8.9286 | 8.9286 | 18.0864 | -0.66693 | 84 | 0.1 | 37.08 | 112.5881 | 25.2197 | 37.08 | 50.2883
10.08 | 8.9286 | 8.9286 | 28.3305 | -0.47203 | 84 | 0.1 | 88.992 | 170.4628 | 15.9099 | 88.992 | 65.5609
3.248 | 9.3904 | 9.3904 | 16.1498 | -0.71611 | 84 | 0.1 | 30.1752 | 107.4369 | 29.5892 | 30.1752 | 47.6725
10.08 | 9.5397 | 9.5397 | 28.7813 | -0.46517 | 84 | 0.1 | 95.152 | 179.7953 | 15.7059 | 95.152 | 68.9374
2.24 | 9.8214 | 9.8214 | 13.6198 | -0.79011 | 84 | 0.1 | 21.776 | 104.8153 | 40.0204 | 21.776 | 43.0189
2.464 | 9.8417 | 9.8417 | 14.2987 | -0.76898 | 84 | 0.1 | 24.0036 | 104.9708 | 36.361 | 24.0036 | 44.6062
5.04 | 10.0198 | 10.0198 | 20.5882 | -0.61066 | 84 | 0.1 | 49.996 | 129.7072 | 21.5751 | 49.996 | 58.1361
6.608 | 10.8959 | 10.8959 | 24.1142 | -0.54201 | 84 | 0.1 | 71.3392 | 157.2074 | 18.3409 | 71.3392 | 67.5273
2.24 | 11.3839 | 11.3839 | 14.4148 | -0.76547 | 84 | 0.1 | 25.276 | 108.7284 | 35.8164 | 25.276 | 47.636
1.848 | 11.6342 | 11.6342 | 13.2393 | -0.80241 | 84 | 0.1 | 21.3152 | 108.8138 | 42.5133 | 21.3152 | 44.9853
3.36 | 11.9048 | 11.9048 | 17.8159 | -0.67347 | 84 | 0.1 | 39.664 | 122.501 | 25.7252 | 39.664 | 57.1118
1.232 | 12.3377 | 12.3377 | 11.1543 | -0.87684 | 84 | 0.1 | 15.0768 | 123.4128 | 68.2018 | 15.0768 | 40.1342
3.36 | 12.3512 | 12.3512 | 18.0283 | -0.66832 | 84 | 0.1 | 41.164 | 125.1222 | 25.326 | 41.164 | 58.6323
4.032 | 12.4008 | 12.4008 | 19.694 | -0.62995 | 84 | 0.1 | 49.5968 | 135.1152 | 22.6994 | 49.5968 | 62.819
5.64 | 12.5886 | 12.5886 | 23.2114 | -0.55858 | 84 | 0.1 | 70.436 | 160.8434 | 19.0294 | 70.436 | 71.3781
2.76 | 12.6014 | 12.6014 | 16.5217 | -0.70623 | 84 | 0.1 | 34.504 | 118.3901 | 28.5933 | 34.504 | 55.2927
2.464 | 12.987 | 12.987 | 15.8167 | -0.72516 | 84 | 0.1 | 31.7536 | 116.4326 | 30.5636 | 31.7536 | 54.1154
1.848 | 14.0693 | 14.0693 | 14.2132 | -0.77159 | 84 | 0.1 | 25.8152 | 113.8287 | 36.7754 | 25.8152 | 51.238
2.4805 | 14.2107 | 14.2107 | 16.3546 | -0.71064 | 84 | 0.1 | 35.0019 | 121.8208 | 29.0296 | 35.0019 | 57.7892
3.36 | 15.3274 | 15.3274 | 19.2587 | -0.63965 | 84 | 0.1 | 51.164 | 142.9176 | 23.3108 | 51.164 | 68.4428
2.24 | 16.183 | 16.183 | 16.2834 | -0.71253 | 84 | 0.1 | 36.026 | 126.102 | 29.2209 | 36.026 | 60.8551
1.652 | 17.2518 | 17.2518 | 14.5035 | -0.76281 | 84 | 0.1 | 28.3348 | 120.1544 | 35.4139 | 28.3348 | 56.4057
1.12 | 17.5 | 17.5 | 12.2555 | -0.83595 | 84 | 0.1 | 19.488 | 119.4737 | 51.203 | 19.488 | 48.7827
9.24 | 23.3766 | 23.3766 | 33.0823 | -0.40468 | 84 | 0.1 | 215.076 | 362.8323 | 14.1101 | 215.076 | 133.6462
3.696 | 36.9318 | 36.9318 | 24.8832 | -0.52837 | 84 | 0.1 | 136.1304 | 289.4242 | 17.8107 | 136.1304 | 135.483
8.6276 | 1.9265 | 1.9265 | 9.9414 | -1.0666 | 84 | 0.1 | 11.8177 | 2.2742 | -25.4116 | 11.8177 | 15.8682
Note on B476: Andrew Carter: Excluded top 5% as outliers.

## Assumptions
El Salvador: Rural Electrification | [5 empty] | Last updated: 07/01/2012
Assumptions | 0
With Project |  | Electric bill, unit price | 0.1 | $/kWh | Source: 2011 Electrical Survey
|  | Electric bill, Monthly est. | 8.44 | $
With Project, Isolated Systems |  | Monthly Consumption est. | 24.47 | kWh
|  | Price | 0.44 | $/kWh
|  | Electric bill, Monthly | 10.7668 | $
Electricity Subsidy |  |  | 0.03 | $/kwh
MCC Cost Ratio, by activity
INVESTMENT (expressed in nominal dollars) |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Installation of solar isolated systems |  | 0 | 0.18571 | 0.043919 | 0.030503 | 0.050696
Construction of new distribution lines |  | 0 | 0.68214 | 0.76284 | 0.61883 | 0.54852
Provision of service drops to customers connected to new lines |  | 0 | 0.015812 | 0.012177 | 0.018797 | 0.020633
Connections to existing networks |  | 0 | 0 | 0.14577 | 0.30751 | 0.2051
Strengthening of existing networks |  | 0 | 0 | 0 | 0 | 0.063557
Indoor electric Installation |  | 0 | 0 | 0 | 0 | 0.084494
Administration & Predesign |  | 1 | 0.11635 | 0.035294 | 0.024367 | 0.026999
Final MCC Costs not be broken down by activity, assumed same ratio as mid-term ERRs.
BENEFICIARIES | Total | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Customers connecting to new networks | 22969.6802 | 0 | 1391.8585 | 2553.8688 | 5959.0273 | 13064.9256
Customers connecting to existing networks | 10030.3198 | 0 | 0 | 1702.5792 | 5320.5601 | 3007.1805
Installation of solar panels | 1950 | 0 | 450 | 500 | 400 | 600
| 34950 | 0 | 1841.8585 | 4756.448 | 11679.5873 | 16672.1061
Number of customers connecting via project, comes from implementer data.

## Poverty Scorecard
Poverty Scorecard
El Salvador
Rural Electric Activity
MCC Cost (Millions USD) | 30.86
20-Year ERR | 19.55%
Present Value (PV) of Benefit Stream (Millions USD) | 39.9165
Present Value (PV) of All Costs (Millions 2005 PPP $) | 25.0447
Consumption per day (PPP $)
Beneficiaries | Total | < $1.25 | < $2 1 | $2-$4 | > $4
Beneficiary Households in Year 20 (#) | 36455.7823
Beneficiary Individuals in Year 20 2 (#) | 160770
National Population in Year 20 3 (#) | 6780000
Beneficiary Population by Poverty Level (%) 4 |  | 33.46% | 60.16% | 27.64% | 12.2%
National Population by Poverty Level 5 (%) |  | 33.5% | 60.36% | 28.94% | 10.7%
The Magnitude of the Benefits
PV of Benefit Stream Per Beneficiary (USD) | 258.98 | 258.98 | 258.98 | 258.98 | 258.98
PV of Benefit Stream as Share of Annual Income (%) | 68.27% | 1791% | 101.4% | 23.38% | 6.72%
Cost Effectiveness
PV of Benefit Stream/Project Dollar (USD/USD) | 1.5938 | 0.55627 | 1.0001 | 0.45951 | 0.20282
GNI per capita 6 (USD) | 3380
Current National Population | 6153000
NB: all benefits incremental; PVs based on 10% discount rate and exclude MCC costs but net out any local costs
1 The beneficiaries and population living on less than $2 per day include those under $1.25 per day
2 Electricity Distributors Report, 2012
3 Based on estimated 2009 population (CIA World Factbook), projected to Year 20
4,5 Based on National income distribution figures from ESPS 2005-2006 data
6 See MCC 2009 Scorecard