## User's Guide
El Salvador : Water Supply & Sanitation Infrastructure
ERR Version | Original ERR | Revised | Closeout ERR
Date of ERR | 2006-08-31 | 2010-07-14 | 2012-08-02
Amount of MCC funds | $26.2 million | $23.7 million | $19.8 million
Project Description | MCC Funding will enhance access to water systems for approximately 90,000 and to improved sanitation services for approximately 50,000 of the poorest inhabitants in the Northern Zone. The Water and Sanitation Sub-Activity will be undertaken using a community-based approach that integrates infrastructure improvements with local capacity building to sustain the operation and maintenance of systems constructed, and that provides important community health education. | MCC Funding will enhance access to water systems for approximately 30,585 and to improved sanitation services for approximately 8,674 of the poorest inhabitants in the Northern Zone. The Water and Sanitation Sub-Activity will be undertaken using a community-based approach that integrates infrastructure improvements with local capacity building to sustain the operation and maintenance of systems constructed, and that provides important community health education. | MCC Funding will enhance access to water systems for approximately 33,516 and to improved sanitation services for approximately 31,752 of the poorest inhabitants in the Northern Zone. The Water and Sanitation Sub-Activity will be undertaken using a community-based approach that integrates infrastructure improvements with local capacity building to sustain the operation and maintenance of systems constructed, and that provides important community health education.
Benefit streams included in ERR | Cost savings from fewer doctor and hospital bills | Cost savings from fewer doctor and hospital bills | Cost savings from fewer doctor and hospital bills
| Wages gained from fewer days of work or school missed from being sick | Wages gained from fewer days of work or school missed from being sick | Wages gained from fewer days of work or school missed from being sick
| Time savings from no longer fetching water | Time savings from no longer fetching water | Time savings from no longer fetching water
| Cost savings from no longer buying water from more expensive sources | Cost savings from no longer buying water from more expensive sources | Cost savings from no longer buying water from more expensive sources
Costs included in ERR (not borne by MCC) | Cost of increased quantity of water purchased | Cost of increased quantity of water purchased | Cost of increased quantity of water purchased
ERR estimations and time horizon | 14.0% over 25 years | 5.7% over 24 years | 3.6% over 20 years
Table of Contents
Project Description
One should read this sheet first, as it offers a summary of the project, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
A brief summary of the activity's key parameters and ERR calculations.
Cost/Benefit Summary
The worksheet summarizes the costs and benefits associated with MCC investments. Benefits - in terms of reductions in the disease and cost savings - are summarized by year, and the associated ERR is computed over a 20-year timeframe.
Benefits, Consumer Surplus
This sheet details the economic benefits from consumer surplus
Time and Cost Data
This sheet calculates the time and income saved as a result of the activity, when compared with fetching water.
Disease Reduction
This sheet calculates the benefits from disease reduction.
Assumptions
This sheet provides the key assumptions and their sources.
Poverty Scorecard
This worksheet shows the cost effectiveness of the project broken out into different poverty categories.

## Project Description
El Salvador: Water Supply & Sanitation Infrastructure
Project Summary
MCC Funding will enhance access to water systems for approximately 33,516 and improve sanitation services for approximately 31,752 of the poorest inhabitants in the Northern Zone. The Water and Sanitation Sub-Activity will be undertaken using a community-based approach that integrates infrastructure improvements with local capacity building to sustain the operation and maintenance of systems constructed, and that provides important community health education.
Activity Components
1. Feasibility studies, project designs, and environmental assessments
2. Construction of potable water systems (e.g. wells and pumps) meeting World Health Organization standards, or other standards acceptable to MCC, and sanitation systems (e.g., household latrines) in more than 60 municipalities situated in the Northern Zone.
3. Technical assistance for community capacity building, to ensure system maintenance and sustainability (e.g., creation and training of local water management boards).
4. Community health education related to appropriate health and sanitation practices.
Economic Rationale
The project offered significant benefits in terms of reduced incidence of disease caused by the currently sub-standard levels of water and sanitation service in the region. In addition to reduced mortality and morbidity, specific benefits include reduced expenditures on health care, and overall wage gains from increased attendance at school and work. Beneficiaries also gain time savings by removing the need to fetch water and travel outside their home to complete their laundry, and cost savings by removing the need to buy water from more expensive sources. These benefits had a positive effect on household incomes in the region.
Closeout
The overall ERR was lower than initially expected due to a smaller reduction in disease prevalence with sanitation than previously expected.
Last updated: 08/02/2012

## ERR & Sensitivity Analysis
El Salvador: Water Supply & Sanitation Infrastructure
ERR and sensitivity analysis |  |  |  |  | Last updated: 08/02/2012
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible Range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80 - 120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80 - 120% | 100% | #REF!
Specific | Cost of consultation in hospital ($/day) | 10.56 | 10.56 | $7.12-14.00 | 10.56 | All specific parameters set to initial values?
Specific | Cost of Hospitalization (per event) | 383 | 383 | $300-463 | 383 | Y
Specific | Average annual income | 1051.92 | 1051.92 | 800-1300 | 1051.92
Specific | Monthly Cost, private water (per m3) | 3.17 | 3.17 | $2.50-3.84 | 3.17
Specific | Monthly Consumption, private water (meters cubed) | 19 | 19 | 13-25 | 19 | More Info
Proposed | Percentage of Consumer surplus included in model | 100% | 100% | 0-100% | 100% | Project Description
User's Guide
0
| Economic rate of return (ERR): | 3.631% | (20 years)
| MCC Estimated ERRs: |  | Original | Revised | Closeout
|  | ERR | 14% | 5.7% | 3.6%
|  | Date | 2006-08-31 | 2010-07-14 | 2012-08-02
| Present Value (PV) of Benefits: | 9160339.4565 | 2007 USD, 10% discount rate
| Present Value (PV) of MCC Costs: | 15029441.7502 | 2007 USD, 10% discount rate
Reset Parameters

## Cost-Benefit Summary
El Salvador: Water Supply & Sanitation Infrastructure
Cost/Benefit Summary
Last updated: 08/02/2012
0
| Total ($ are 2007 USD) | NPV | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
Beneficiaries per year | 30585.2268 |  | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 24592; Year 5: 5993.2268
Percentage of Beneficiaries |  |  | Year 4: 80.4%; Year 5: 19.6%
Costs
Project Disbursements (MCC) | 16532.3859 | 15029.4418 | Year 1: 101.653; Year 2: 1209.462; Year 3: 1976.0763; Year 4: 9646.46; Year 5: 4122.8485
Training, Supervision & Execution | 0 | 0
Municipality and Community Contribution1,2 | 2326.4669 | 1615.3854 | Year 1: 0; Year 2: 0; Year 3: 376.5257; Year 4: 1099.5002; Year 5: 936.5481
Compact Admin | 980.882 | 707.638 | Year 1: 45.8145; Year 2: 145.5646; Year 3: 88.7941; Year 4: 413.9954; Year 5: 315.9988
Overall costs | 19839.7348 | 14048.2725 | Year 1: 147.4675; Year 2: 1355.0266; Year 3: 2441.3961; Year 4: 11159.9556; Year 5: 5375.3953
Inflation multiplier to adjust to 2007 dollars |  |  | Year 1: 1; Year 2: 1.0039; Year 3: 0.98694; Year 4: 0.9697; Year 5: 0.94889
Total costs in 2007 dollars | 19839.7348 | 13627.1271 | Year 1: 147.4675; Year 2: 1360.3487; Year 3: 2409.5112; Year 4: 10821.7725; Year 5: 5100.635
Benefits, Consumer Surplus Method
Cost Reduction Benefits | 14518.9642 | 5091.5366 | 0 | 0 | 0 | 694.7105 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159 | 864.0159
Consumer Surplus | 10636.5522 | 3730.0454 | 0 | 0 | 0 | 508.9429 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756 | 632.9756
Savings from disease reduction3 | 965.9966 | 338.7574 | 0 | 0 | 0 | 46.2215 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859 | 57.4859
Total Benefits (2007 USD) | 26121.5129 | 9160.3395 | 0 | 0 | 0 | 1249.8749 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774
Net Benefits | 6281.7781 | -4466.7877 | -147.4675 | -1360.3487 | -2409.5112 | -9571.8976 | -3546.1576 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774 | 1554.4774
ERR | 3.631%
Cost Scenario
[5 empty] | Actual costs as a percentage of estimated costs |  |  |  |  | 100%
Benefit Scenario
[5 empty] | Actual benefits as a percentage of estimated benefits |  |  |  |  | 100%
1 The 10% Cash portion excludes Watershed Management, Technical Assistance and Training
2 The 10% is for Community Counterpart Lands, Physical Work, Time Spent in Training and Process Monitoring
3 The water and sanitation infrastructure is designed for 20 years. Therefore, the benefit stream is calculated over 24 years (80% for Y4, 100% for Y5 thru Y23, 20% for Y24).
Inflation | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
CPI 2007=100 | 100 | 103.7985 | 103.3924 | 105.172 | 107.0422 | 109.3899 | 111.8521 | 114.3418 | 116.884 | 119.4828 | 122.1393 | 124.8548 | 127.6308 | 130.4684 | 133.3692 | 136.3344 | 139.3656 | 142.4642 | 145.6316 | 148.8695 | 152.1794
Inflation Rate 2014 | 2.223% |  | Year 4: 2.193%; Year 5: 2.251%; Year 6: 2.226%
Inflation Adjustment:
Annual Compact Admistration Costs, Annual Project Development Costs, Annual Training-Supervision&Execution Cost, Annual Municipality and
Community Contribution are in Nominal Basis, were deflated with correspondent Annual CPI in order to reflect Prices of 2007

## Benefits, consumer surplus
El Salvador: Water Supply & Sanitation Infrastructure
Benefits, Consumer Surplus | [6 empty] | Last updated: 08/02/2012
0
Pila, Chorro Público o Cantarera | Without project | unit | Amount | With project | unit | amount
| Price | USD/m3 | 2.6126 | Price | USD/m3 | 0.16684
| Quantity | m3/month | 3.0342 | Quantity | m3/month | 19
Ojo de Agua, Río o Quebrada | Price | USD/m3 | 2.8674 | Price | USD/m3 | 0.16684
| Quantity | m3/month | 3.711 | Quantity | m3/month | 19
Otros Medios | Price | USD/m3 | 1.7582 | Price | USD/m3 | 0.16684
| Quantity | m3/month | 5.811 | Quantity | m3/month | 19
Camión, Carreta o Pipa | Price | USD/m3 | 147.6923 | Price | USD/m3 | 0.16684
| Quantity | m3/month | 0.13 | Quantity | m3/month | 19
Pila, Chorro Público o Cantarera |  |  | Ojo de Agua, Río o Quebrada |  |  | Otros Medios |  |  | Camión, Carreta o Pipa
Cost Savings | USD/month/HH | 7.4208 | Cost Savings | USD/month/HH | 10.0218 | Cost Savings | USD/month/HH | 9.2472 | Cost Savings | USD/month/HH | 19.1783
Total Cost Savings | USD/year | 103136.9554 | Total Cost Savings | USD/year | 501269.3162 | Total Cost Savings | USD/year | 245487.9757 | Total Cost Savings | USD/year | 14121.6072
Consumer Surplus | USD/month/HH | 6.8576 | Consumer Surplus | USD/month/HH | 7.5246 | Consumer Surplus | USD/month/HH | 4.9329 | Consumer Surplus | USD/month/HH | 41.2138
Total CS | USD/year | 95309.4389 | Total CS | USD/year | 376363.5422 | Total CS | USD/year | 130955.5474 | Total CS | USD/year | 30347.0507
Quantity, private tap | m3 | 19 | Quantity, private tap | m3 | 19 | Quantity, private tap | m3 | 19 | Quantity, private tap | m3 | 19
Monthly cost, private tap | USD/month | 3.17 | Monthly cost, private tap | USD/month | 3.17 | Monthly cost, private tap | USD/month | 3.17 | Monthly cost, private tap | USD/month | 3.17
Cost | USD/m3 | 0.16684 | Cost | USD/m3 | 0.16684 | Cost | USD/m3 | 0.16684 | Cost | USD/m3 | 0.16684
Cost savings |  | 4.7571 | Cost savings |  | 7.4709 | Cost savings |  | 7.0467 | Cost savings |  | 16.03
Total Cost Savings |  | 66115.0843 | Total Cost Savings |  | 373680.8344 | Total Cost Savings |  | 187070.8557 | Total Cost Savings |  | 11803.4048
Consumer Surplus Calculation |  |  | Consumer Surplus Calculation |  |  | Consumer Surplus Calculation |  |  | Consumer Surplus Calculation
Demand | Q=aP^n |  | Demand | Q=aP^n |  | Demand | Q=aP^n |  | Demand | Q=aP^n
n | -0.66684 |  | n | -0.57422 |  | n | -0.50306 |  | n | -0.73457
a | 5.7565 |  | a | 6.795 |  | a | 7.7184 |  | a | 5.099
Derivative calcs | 17.2783 |  | Derivative calcs | 15.9588 |  | Derivative calcs | 15.5318 |  | Derivative calcs | 19.2102
CS/month | 6.8576 |  | CS/month | 7.5246 |  | CS/month | 4.9329 |  | CS/month | 41.2138
| Population (Households) | P0 | Q0 | Cost Savings
Pila, Chorro Público o Cantarera | 1158.1892 | 2.6126 | 3.0342 | 7.4208
Ojo de Agua, Río o Quebrada | 4168.1661 | 2.8674 | 3.711 | 10.0218
Otros Medios | 2212.2837 | 1.7582 | 5.811 | 9.2472
Camión, Carreta o Pipa | 61.361 | 147.6923 | 0.13 | 19.1783
Average, non-truck | 7538.639 | 31.1642 | 0.32314 | 10.0166
Total or Average | 7600
Time spent carrying laundry
Before | 5.67
After | 3.91
Opportunity cost per day |  | 4.383
Opportunity cost per month |  | 87.66
Note: Laundry time costs per year (11 days) is arguably few enough to be done entirely on non-working days, for no opportunity cost.
We include this any way, assuming all time costs to the HH sum to over non-working day time per year.
All $ are 2007 USD

## Time and Cost data
El Salvador: Water Supply & Sanitation Infrastructure
Time and Cost Data | [7 empty] | Last updated: 08/02/2012
Laundry
# of HH's who gain connection | 7600
PRE: % of HH's washing offsite | 38.19%
POST: % of treated HH's washing offsite | 4.45%
% of HH's who stop washing offsite | 33.74%
# of HH's who stop washing offsite | 25.6424
PRE: time to do laundry offsite (hours/week) | 5.67
POST: time to do laundry at home (hours/week) | 3.91
Time saved (hours/week) | 1.76
Workdays saved per year | 11.4714
Opportunity cost per day | 4.383
Total Laundry Benefits | 382122.4629
Prices and Consumption, Without Project | Time spent hauling water (hours/day) | Times/week water is hauled | Labor days/month hauling water | m3/month hauling water | Cost/month | Cost/m3 | Price/m3 | Amount spent purchasing water/month | m3 of water purchased/month | Water Consumed/month by source (m3/month) | Price of water/m3
Pila, public tanks Jet | 0.623 | 4.92 | 1.6603 | 2.75 | 7.2771 | 2.6462 | 2.2875 | 0.65 | 0.28415 | 3.0342 | 2.6126
Ojo de Agua, River or Creek | 0.71 | 5.85 | 2.2498 | 3.37 | 9.8609 | 2.9261 | 2.2875 | 0.78 | 0.34098 | 3.711 | 2.8674
Other Media | 0.76 | 5.23 | 2.153 | 5.47 | 9.4367 | 1.7252 | 2.2875 | 0.78 | 0.34098 | 5.811 | 1.7582
Truck, Wagon or Pipa | 0 | 0 | 0 | 0 | 0 | 0 | 147.6923 | 19.2 | 0.13 | 0.13 | 147.6923
Average (not including Truck) (2010 data) | 0.71131 | 5.5252 | 2.1288 | 0 | 9.3305 | 0 | 2.29 | 0.74 | 0.32314 | 0.32314 | 31.1642
All $ are 2007 USD
|  | Observations |  | Containers per person
| Public Tap | 2 |  | 1.5 |  | 0
|  | 6 |  | 1.3333 |  | 0
|  | 120 |  | 4.2 |  | 0
|  | 24 |  | 53.875 |  | 0 | Days/week | M3/month | 0
|  | 3 |  | 132.33 |  | 0 | 4.92 | 0 | 0
0
| Wells, public | 5 |  | 1.8 |  | 0
|  | 7 |  | 2.71 |  | 0
|  | 70 |  | 6.32 |  | 0 | days/week | M3/month
|  | 4 |  | 52.25 |  | 0 | 5.57 | 0
|  | 2 |  | 12.225 |  | 0
0
| Spring | 26 |  | 1.85 |  | 0
|  | 43 |  | 2.56 |  | 0
|  | 436 |  | 4.34 |  | 0 | days/week | m3/month
|  | 5 |  | 11.4 |  | 0 | 5.8 | 0
|  | 15 |  | 44.26 |  | 0
0
| Truck | 184 |  | 2.03 |  | 0 | Total obs | 206
|  | 8 |  | 4.75 |  | 0
|  | 10 |  | 5.1 |  | 0 | days/week | m3/month
|  | 1 |  | 8 |  | 0 | - | 0
|  | 2 |  | 20 |  | 0
0
| Other Source | 10 |  | 4.3 |  | 0
|  | 15 |  | 2.933 |  | 0 | days/week | m3/month
|  | 115 |  | 5.27 |  | 0 | 5.58 | 0
|  | 4 |  | 670.25 |  | 0
0

## Disease Reduction
El Salvador: Water Supply & Sanitation Infrastructure
Disease Reduction |  | Last updated: 08/02/2012
Household Survey Data
# of people surveyed | 3323
# with diahrea in last 15 days | 189
Diahrea rate per month, without water | 8%
Diahrea rate with water | 7.2%
School age | 27.3%
Working age | 55.6%
# who lost work days/school days | 125
work days lost | 0.624
School days lost | 0.72
Consulation rate | 43.16%
Consulation cost | 10.6015
% with consulation cost | 49%
Paid for medicine | 95
Cost of medicine | 11.766
Had a lab expense | 20
Lab expense cost | 6.5255
Hospitalization | 3
Hopitalization cost | 384.5043
Treatment costs
Population without water | 41674
Beneficiary Population | 31752
Beneficiaries with Diarrea | 2540.16
Beneficiaries with Diarrea, after project | 2286.144
Diarrea change, wp vs wop | 254.016
Number of Consulations | 109.6333
Number of hospitilizations | 4.032
Number who paid for medicine | 127.68
Paid for a lab expense | 26.88
Consulation costs per month, total | 1162.2749
Hospital Cost per month, total | 1550.3213
Medicine cost per month, total | 1502.287
Lab cost per month, total | 175.4062
Total Diarrea treatment cost, annual | 52683.4723
Losses due to Truancy
School age population that are beneficiaries | 8668.296
Days lost from being sick | 0.72
Opportunity cost | 4.383
Total cost, monthly | 144.7358
Total cost, yearly | 1736.8293
Labor loss
Working population that are beneficiaries | 17654.112
Days lost from being sick | 0.624
Opportunity cost | 4.383
Total cost, monthly | 255.4701
Total Cost, annual | 3065.6416
Total Diarrea Cost | 57485.9432
All $ are 2007 USD

## Assumptions
El Salvador: Water Supply & Sanitation Infrastructure
Assumptions |  |  | Last updated: 08/02/2012
Household Survey Data
| Variable | Value used in model | Measurement Unit
Household Income | Monthly opportunity cost | 87.66 | 2007 USD/month
| Opportunity cost/day | 4.383 | 2007 USD/day (20 workdays/mo.)
Laundry Data | # of HH's who gain connection | 7600 | Households
| PRE: % of HH's washing offsite | 38.19% | % of households
| POST: % of treated HH's washing offsite | 4.45% | % of households
| PRE: time to do laundry offsite | 5.67 | Hours/week
| POST: time to do laundry at home | 3.91 | Hours/week
| Time saved | 1.76 | Hours/week
| Water/month | 0.75 | m3/month
Truck, Wagon or Pipa | m3 of Water purchased per month | 0.13 | m3/month
| Amount spent purchasing water/month | 19.2 | 2007 USD/month
| Beneficiary Population | 56 | Beneficiaries
Average (not including Truck) (2010 data) | Time Spent Hauling Water | 0.66 | Hours/day
| Times per week water is hauled | 5.38 | Days/week
| m3/month hauling water | 0 | m3/Month
| Price/m3 (USD) | 2.29 | 2007 USD/m3
| Amount spent purchasing water/month | 0.74 | 2007 USD/month
| Beneficiary Population | 6880 | Beneficiaries
Pila, public tanks Jet | Time Spent Hauling Water | 0.623 | Hours/day
| Times per week water is hauled | 4.92 | days/week
| m3/month hauling water | 2.75 | m3/month
| Price/m3 (USD) | 2.2875 | 2007 USD/m3
| Amount spent purchasing water/month | 0.65 | 2007 USD/month
| Beneficiary Population | 1057 | Beneficiaries
Ojo de Agua, River or Creek | Time Spent Hauling Water | 0.71 | Hours/day
| Times per week water is hauled | 5.85 | Days/week
| m3/month hauling water | 3.37 | m3/Month
| Price/m3 (USD) | 2.2875 | 2007 USD/m3
| Amount spent purchasing water/month | 0.78 | 2007 USD/month
| Beneficiary Population | 3804 | Beneficiaries
Other Media | Time Spent Hauling Water | 0.76 | Hours/day
| Times per week water is hauled | 5.23 | days/week
| m3/month hauling water | 5.47 | m3/month
| Price/m3 (USD) | 2.2875 | 2007 USD/m3
| Amount spent purchasing water/month | 0.78 | 2007 USD/month
| Beneficiary Population | 2019 | Beneficiaries
Disease Reducation | HH Data
| # of people surveyed | 3323 | Households
| # with diahrea in last 15 days | 189 | # of cases
| Diahrea rate/mo., without water | 8% | Percent of households
| Diahrea rate/mo., with water | 7.2% | Percent of Households
| School age | 27.3% | Percent of households
| Working age | 55.6% | Percent of Households
| # who lost work days/school days | 125 | # of survey respondents
| work days lost | 0.624 | days/month
| School days lost | 0.72 | days/month
| Consulation rate | 43.16% | % of respondents
| Consulation cost | 10.56 | 2008 USD
| % with consulation cost | 49% | % of respondents with consulation
| Paid for medicine | 95 | Number of Respondents
| Cost of medicine | 11.72 | 2008 USD
| Had a lab expense | 20 | Number of Respondents
| Lab expense cost | 6.5 | 2008 USD
| Hospitalization | 3 | Number of Respondents
| Hopitalization cost | 383 | 2008 USD
Treatment costs
| Population without water | 41674 | Beneficiaries
| Beneficiary Population | 31752 | Beneficiaries
Quantity of Water consumer per HH per month
Quantity of water consumed per household per month FOMILENIO Project Beneficiary
|  | Water Supply Source |  | Water supply Source | Unit of measure | Q Promedio | Households | m3 /medida 2/ | Amount m3, hauled | Amount purchased, m3 | Monthly Expenditures on Water | Opportunity cost, hauling water
|  | Pila, public tanks jet |  | Pila, Public Tanks, Jet | Barrels | 46.4578 | 83 | 9.2916 | 9.0575 | 0.6 | 1.38
|  | Waterhole, river or stream |  | Waterhole/river/stream | Barrels | 30.2593 | 81 | 6.0519 | 6.0435 | 2.35 | 5.38
|  | Other means |  | Other | Barrels | 54.2 | 5 | 10.84 | 10.84 | 1.09 | 2.48
|  | Truck, wagon or pipe |  | Truck, wagon, pipe | Barrels | 41 | 10 | 8.2 | 8.2 | 0 | 18.76 | 0

## Poverty Scorecard
Poverty Scorecard
El Salvador
Water and Sanitation Activity
MCC Cost (Millions USD) | 19.8
20-Year ERR | 3.631%
Present Value (PV) of Benefit Stream (Millions USD) | 8.9153
Present Value (PV) of All Costs (Millions 2005 PPP $) | 14.6274
Consumption per day (PPP $)
Beneficiaries | Total | < $1.25 | < $2 1 | $2-$4 | > $4
Beneficiary Households in Year 20 (#) | 1816.1732
Beneficiary Individuals in Year 20 2(#) | 8009.324
National Population in Year 20 3 (#) | 6780000
Beneficiary Population by Poverty Level (%) 4 |  | 33.46% | 60.16% | 27.64% | 12.2%
National Population by Poverty Level 5 (%) |  | 33.5% | 60.36% | 28.94% | 10.7%
The Magnitude of the Benefits
PV of Benefit Stream Per Beneficiary (USD) | 273.3124 | 273.3124 | 273.3124 | 273.3124 | 273.3124
PV of Benefit Stream as Share of Annual Income (%) | 72.05% | 1890% | 107% | 24.68% | 7.092%
Cost Effectiveness
PV of Benefit Stream/Project Dollar (USD/USD) | 0.60949 | 0.050074 | 0.090032 | 0.041364 | 0.018258
GNI per capita 6 (USD) | 3380
Current National Population | 6153000
NB: all benefits incremental; PVs based on 10% discount rate and exclude MCC costs but net out any local costs
1 The beneficiaries and population living on less than $2 per day include those under $1.25 per day
2 Based on 2008-2010 Household Surveys, and economist estimates for future years
3 Based on estimated 2009 population (CIA World Factbook), projected to Year 20
4,5 Based on National income distribution figures from ESPS 2005-2006 data
6 See MCC 2009 Scorecard