## CB_DATA_ (hidden)
#NAME?

## User's Guide
Last updated: 08/17/2013
Ghana Community Services Activity: Water and Sanitation
Tamale Water Extension
ERR Version | Original ERR (Water & Sanitation) | Closeout ERR (Tamale Water Extension Investments)
Date of ERR | 2006-06-22 | 2013-08-17
Amount of MCC funds | $75.0 million total for Support for Community Services Activity | $5.2 million
Project Description | The Community Services Activity was designed to complement the Agriculture Project by providing educational, water and sanitation and rural electrification infrastructure in the Intervention Zones and by enhancing the capacity of local governments to deliver the related services. Specific sub-projects and locations were identified during Compact implementation. | The Tamale Water Extension Investments were designed to increase access to water in northern Ghana by expanding piped service coverage in small towns without access to a clean, regular supply of water.
Benefit streams included in ERR | Time saved in water collection; reduced incidence of water borne diseases; new income generation opportunities created by the introduction of a clean water source. | Benefits accrue from reduced time collecting water due to piped water connection and reduced water-based disease prevalence due to access to clean water.
Costs included in ERR (not borne by MCC) | Recurrent operational costs | MCC Costs for Ghana Water Company Limited (GWCL) extensions. Maintenance costs of extended lines.
ERR estimations and time horizon | 20.5% over 20 years | 14.1% over 20 years
Table of Contents
Activity Description
One should read this sheet first, as it offers a summary of the project, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
This worksheet highlights key assumptions and summarizes how the ERR may change due to varying costs and benefits.
Cost-Benefit Summary
This worksheet presents the aggregated costs and benefits from the project activities year-by-year, calculating a combined ERR
Assumptions
Core assumptions in the model
User Costs
Cost of accessing water, with and without project
Disease Reduction
Benefits from reduced disease prevalence from access to piped water
Community Statistics
Populations of impacted communities
NRW
Project Non-Revenue Water Gains
Notes
Notes on where data comes from, referred from other spreadsheets

## Activity Description
Ghana: Tamale Water Extension Investments
Summary
The Community Services Activity was designed to complement the Agriculture Project by providing educational, water and sanitation and rural electrification infrastructure in the Intervention Zones and by enhancing the capacity of local governments to deliver the related services. These interventions were part of a larger effort by the Government to expand the provision of basic community services throughout Ghana, and were specifically expected to enhance the sustainability of the Agriculture Project by providing the necessary infrastructure to improve health of communities, to enhance skill development through access to education, and to facilitate small-scale post-harvest processing of agricultural products. The Tamale Water Extension Project served 71 communities in the target area through extensions from the existing Ghana Water Company Limited (GWCL) water supply distribution system.
Closeout ERR
The Tamale Water Extension Investments initially assumed significant benefits from a reduction in Guinea Worm prevalence in the affected communities. The disease in question was eliminated before the GWCL distribution system improvement was completed, therefore these benefits have been removed.
Components
Construction of water and sanitation facilities to achieve improved health, to reduce the incidence of illness and loss of productivity due to unsafe drinking water and poor sanitation and hygiene, and to reduce the time required to procure potable water. MCC Funding was used to invest in small town pipe systems and community sanitary facilities. Funding for schools, water and sanitation facilities, and rural electrification were conditioned on:
1. Consistency with the norms, standards, policies and strategic plans of the Ministry of Education, Science and Sports and the Ghana Educational Service.
2. Community commitment to the construction through contributions of cash or other property (including land or raw material) or labor.
3. Adequate provision for operating costs (including staffing, as well as the operation and maintenance, of the facilities) and cost recovery mechanisms adopted by MiDA (Millennium Development Authority)1 with approval of MCC.
4. Location within a district in which the Agriculture Project is being implemented.
5. Meeting criteria satisfying cost effectiveness.
6. Not creating any adverse environmental or social impact under the standards adopted by MiDA with the approval of MCC.
Economic Rationale
The analysis identified several different types of community investments in water supply, including boreholes, boreholes with piping system, and piping systems. This ERR analyzes the benefits accrued from expanding the piping systems. Time saved in water collection is one of the benefits of these investments. For stand-alone boreholes, the family will still have to carry water, but for a shorter distance, whereas piping systems eliminate the necessity to transport water any meaningful distance. Therefore, the opportunity cost from hauling water either is drastically reduced by a borehole or eliminated with the introduction of a pipe system.
A second major benefit of the water projects is the effect clean water has on health. Two water diseases are prevalent in Ghana – diarrhea and bilharzia. Each illness is the direct result of contact with poor quality water and sanitation. The effects of clean water and sanitation, along with education, will reduce the incidence and cost of such diseases.
With the introduction of a clean water source, new opportunities for income generation open up to the community. Although such activities are difficult to predict in terms of both type and magnitude, they are real and are significant contributions to the economic welfare of a community. Therefore, we have assumed three new income generation opportunities will be created from the introduction of a clean water source, i.e., food vendor, cassava processing, and sewing. Each primarily is a female type enterprise (which agrees with the fact the time savings is exclusively a reduction in the female opportunity cost). In addition, two of the three enterprises are directly impacted by clean water.
1 Through an act of its Parliament, the Government of Ghana (GoG) created the Millennium Development Authority (MiDA), a public
corporation that will serve as the accountable entity for the implementation of the Program under the Compact. MiDA was governed by an independent board of directors consisting of six representatives of key ministries of the GoG, two representatives of the private sector, and one representative from the non-governmental organization (NGO) community. A chief executive officer managed the day-to-day activities of MiDA, supported by key officers in the areas of operations, agriculture, infrastructure, procurement, financial services, land administration, and administration and finance.
Last updated: 8/17/2013

## ERR & Sensitivity Analysis
Last updated: 08/17/2013
Ghana I
Tamale Water Extension Investments
ERR and sensitivity analysis
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible Range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80%-120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80%-120% | 100%
Specific | Disease Prevalence with dirty water | 13.65% | 100% | 10.0-17.3% | 13.65%
Specific | Value of water-gatherer's time (2012 USD) | 1.16 | 1.16 | $1.00-$1.32 | 1.16
Specific | Time to gather water per day, with project | 31.67 | 31.67 | 20-43.34 | 31.67
Specific | Days lost due to illness | 3.41 | 3.41 | 2.8-4.02 | 3.41
| User Generated Economic rate of return (ERR)*: | 14.06%
| User Generated Net Present Value (NPV) (Thousands USD): | 1507.1824
| MCC Estimated Net Present Value (NPV) (Thousands USD): | 1623
| MCC Estimated ERRs: |  | Original | Revised | Closeout
|  | ERR | NA | NA | 14.1%
|  | Date | 2006-06-22 | 2009-02-10 | 2012-03-01

## Cost-Benefit Summary
Last updated: 08/17/2013
All figures in thousands of US$
|  | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Benefits
Income generation |  |  | 0 | 0 | 0 | 0 | 0 | -31.6149 | 187.2539 | 416.6028 | 656.8075 | 908.2561 | 1206.9267 | 1235.7722 | 1265.3072 | 1295.548 | 1326.5116 | 1358.2152 | 1390.6766 | 1423.9137 | 1457.9453 | 1492.7902 | 1528.4679
| User-cost savings |  | 0 | 0 | 0 | 0 | 0 | -31.6149 | 187.2539 | 416.6028 | 656.8075 | 908.2561 | 1206.9267 | 1235.7722 | 1265.3072 | 1295.548 | 1326.5116 | 1358.2152 | 1390.6766 | 1423.9137 | 1457.9453 | 1492.7902 | 1528.4679
|  | Changes in the cost of water for users | 0 | 0 | 0 | 0 | 0 | -31.6149 | -64.7411 | -99.4326 | -135.7453 | -173.7371 | -177.8894 | -182.1409 | -186.4941 | -190.9513 | -195.5151 | -200.1879 | -204.9724 | -209.8712 | -214.8871 | -220.0229 | -225.2815
|  | Opportunity cost savings | 0 | 0 | 0 | 0 | 0 | 0 | 251.995 | 516.0353 | 792.5529 | 1081.9932 | 1384.8161 | 1417.9132 | 1451.8013 | 1486.4993 | 1522.0267 | 1558.4031 | 1595.6489 | 1633.785 | 1672.8324 | 1712.8131 | 1753.7493
| Increased value added by businesses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Disease reduction |  |  | 0 | 0 | 0 | 0 | 0 | 29.3952 | 60.1954 | 92.4511 | 126.2143 | 161.5385 | 165.3993 | 169.3523 | 173.3998 | 177.5441 | 181.7874 | 186.1321 | 190.5807 | 195.1356 | 199.7993 | 204.5745 | 209.4638
|  | Loss without project | 544.1855 | 557.1915 | 570.5084 | 584.1435 | 598.1046 | 612.3993 | 627.0356 | 642.0218 | 657.3661 | 673.0771 | 689.1637 | 705.6347 | 722.4994 | 739.7671 | 757.4475 | 775.5505 | 794.0862 | 813.0648 | 832.4971 | 852.3938 | 872.766
|  | Loss with project | 544.1855 | 557.1915 | 570.5084 | 584.1435 | 598.1046 | 583.0041 | 566.8402 | 549.5706 | 531.1518 | 511.5386 | 523.7644 | 536.2824 | 549.0995 | 562.223 | 575.6601 | 589.4184 | 603.5055 | 617.9293 | 632.6978 | 647.8193 | 663.3021
Total benefits |  |  | 0 | 0 | 0 | 0 | 0 | -2.2198 | 247.4493 | 509.0539 | 783.0218 | 1069.7946 | 1372.3259 | 1405.1245 | 1438.707 | 1473.0921 | 1508.299 | 1544.3474 | 1581.2573 | 1619.0493 | 1657.7446 | 1697.3647 | 1737.9317
Costs
Initial capital costs |  |  | 0 | 0 | 0 | 2602.3784 | 2602.3784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Recurring costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total costs |  |  | 0 | 0 | 0 | 2602.3784 | 2602.3784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net benefits |  |  | 0 | 0 | 0 | -2602.3784 | -2602.3784 | -2.2198 | 247.4493 | 509.0539 | 783.0218 | 1069.7946 | 1372.3259 | 1405.1245 | 1438.707 | 1473.0921 | 1508.299 | 1544.3474 | 1581.2573 | 1619.0493 | 1657.7446 | 1697.3647 | 1737.9317
Net Present Value Benefits |  |  | 0: 4900.5141
Net Present Value Costs |  |  | 0: 3393.3317
Total Net Present Value |  |  | 0: 1507.1824
|  | ERR | 0: 14.06%

## Assumptions
Simplified Water & Sanitation Model
Last updated: 08/17/2013
Assumptions |  |  |  | Current ERR = | 14.06%
Values in blue type are assumptions intended to be entered by the user. Values in black type are calculated by the model based on the assumptions in blue.
|  |  | Note # (See final 'Notes' tab) |  |  |  |  | Note # (See final 'Notes' tab)
Present conditions |  |  |  | Project targets |  |  |  |  | Population Growth, historical
0.028316
Population | [8 empty] | 0.027518
Population of impact area | 19382 | people | 1 | [5 empty] | 0.026352
Avg. population growth rate | 2.39% | per year | 2 | [5 empty] | 0.025116
Avg. size of household | 13.75 | people | 3 | [5 empty] | 0.02415
Households in impact area | 1409.6 | households | [6 empty] | 0.023571
0.023493
Economy |  |  |  | Economy |  |  |  |  | 0.02375
Avg. GDP growth rate | 2% | per year | [6 empty] | 0.024063
Average daily wage of water gatherer | 1.16 | 2012 US$ / day | 4 | [5 empty] | 0.02426
Average hourly wage of water gatherer | 0.145 | 2012 US$ / hour | [6 empty] | 0.024386
Current value added of businesses in impact area | 1000 | thousands US$ / year |  | Business response to increased water | 0% | increase in value added |  |  | 0.024396
Ghana-US Exchange rate, 2012 | 0.52 | 2012 US$/GHC | 5 | [5 empty] | 0.024318
Ghana-US Exchange Rate, 2010 | 0.71429 | 2012 US$/GHC | [6 empty] | 0.024231
0.024146
|  |  |  | Disease |  |  |  |  | 0.024004
Disease |  |  |  | Expected reduction in water- borne disease | 24% | less than without project |  | 18 | 0.023796
Was sick in the last two weeks | 13.65% | % of respondents | 6 | [5 empty] | 0.023538
Days lost, in last two weeks, due to illness | 3.41 | Days/two weeks | [6 empty] | 0.02326
Travelled to a Health Facility | 65.63% | % of respondents
Cost of travel to Health Facility | 0.49821 | 2005 US$
Had a consultation for illness | 37.18% | % of respondents
Cost of Consulation | 1.1648 | 2005 US$
Cost of Hospitalization (average across sick populace) | 0.33238 | 2005 US$
Cost of Medicine (average across sick populace) | 1.1576 | 2005 US$
Project benefits
Expected increase in investment due to MCC project | 0% | per year | 19
Total benefits as a percentage of estimated benefits | 100% | of estimated benefits
Benefits will begin in Year | 5 | Year
Benefits will be phased in until Year | 10 | Year
Project cost
Cost of initial investment | 5204.7568 | thousands 2012 US$ | 7
Ratio of operation and maintenance costs to capital costs | 0% | of capital costs | 8
Actual costs as a percentage of estimated costs | 100% | of estimated costs
Water system characteristics |  |  |  | Water system characteristics
Current system capacity | 10000 | households |  | System capacity with project | 25000 | households
Sources of water |  |  |  | Sources of water
Piped inside | 0.8772% | of households | 9 | Piped inside | 23.88% | of households
Piped outside | 20.18% | of households |  | Piped outside | 76.12% | of households
Tanker | 2.632% | of households |  | Tanker | 0% | of households
Dam | 0.8772% | of households |  | Dam | 0% | of households
River | 3.509% | of households |  | River | 0% | of households
Well | 12.28% | of households |  | Well | 0% | of households
Borehole | 59.65% | of households |  | Borehole | 0% | of households
|  |  |  | Total | 100%
Water usage
Piped inside | 31.2 | liters / person / day | 10 | Water Usage w/p | Semi Rural Community | Rural Community | Tertiary Institution
Piped outside | 31.2 | liters / person / day |  | Piped inside | 20% | 10% | 100% | 17
Tanker | 31.2 | liters / person / day |  | Piped outside | 80% | 90% | 0%
Dam | 31.2 | liters / person / day |  | Tanker | 0% | 0% | 0%
River | 31.2 | liters / person / day |  | Dam | 0% | 0% | 0%
Well | 31.2 | liters / person / day |  | River | 0% | 0% | 0%
Borehole | 31.2 | liters / person / day |  | Well | 0% | 0% | 0%
|  |  |  | Borehole | 0% | 0% | 0%
Cost water to consumers
Piped inside | 1.0693 | 2012 US$ / m3 | 11
Piped outside | 1.0693 | 2012 US$ / m3
Tanker | 0 | 2012 US$ / m3
Dam | 0 | 2012 US$ / m3
River | 0 | 2012 US$ / m3
Well | 0 | 2012 US$ / m3
Borehole | 0.3484 | 2012 US$ / m3
Expected Tariff, piped | 1.13 | 2010 US$ / m3
NRW losses, Dalun Corridor
Losses w/o project | 49.6% |  | 12
Losses w/ project | 49.6%
Time spent obtaining water per household
Distance to Water (w/o project) | 1.66 | km
Distance to water (w/ project) | 1.03 | km
Time per trip (w/o project) | 72.67 | minutes/day | 13
Time per trip (w/ project) | 31.67 | minutes/day | 14
Load carried per trip | 20 | liters | 15
Without Project time to collect water | 25.9795 | hours/day
With Project time to collect water | 11.322 | hours/day
Current Tariff Rate | US$1.13/m3 |  | 16
Consumption | 60lpcpd for house, 20lpcpd for public, engineering report, pg 20
Tariff | GH 66/m3 in engineering report, pg 83 and economic analysis
Rosen, S. and Vincent, J. (1999). "Household Water Resources and Rural Productivity in Sub-Saharan Africa: A Review of the Evidence." Development Discussion Paper No. 673, Harvard Institute for International Development.
DALYs for a disease or health condition are calculated as the sum of the years of life lost due to premature mortality (YLL) in the population and the years lost due to disability (YLD) for incident cases of the health condition:
The years of life lost (YLL) basically correspond to the number of deaths multiplied by the standard life expectancy at the age at which death occurs. The basic formula for YLL (without yet including other social preferences discussed below), is the following for a given cause, age and sex:
Sources of water
Piped inside | 0.8772%
Piped outside | 20.18%
Tanker | 2.632%
Dam | 0.8772%
River | 3.509%
Well | 12.28%
Borehole | 59.65%
Taken from DCS data, DCS report pg 44

## User costs
Last updated: 08/17/2013
| Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Without project
Connections
Piped inside | households | 12.3649 | 12.6604 | 12.963 | 13.2728 | 13.5901 | 13.9149 | 14.2474 | 14.5879 | 14.9366 | 15.2936 | 15.6591 | 16.0333 | 16.4165 | 16.8089 | 17.2106 | 17.622 | 18.0431 | 18.4744 | 18.9159 | 19.368 | 19.8309
Piped outside | households | 284.393 | 291.19 | 298.1494 | 305.2752 | 312.5713 | 320.0417 | 327.6907 | 335.5225 | 343.5415 | 351.7522 | 360.159 | 368.7668 | 377.5804 | 386.6045 | 395.8444 | 405.3051 | 414.9918 | 424.9102 | 435.0655 | 445.4636 | 456.1101
Tanker | households | 37.0947 | 37.9813 | 38.8891 | 39.8185 | 40.7702 | 41.7446 | 42.7423 | 43.7638 | 44.8098 | 45.8807 | 46.9773 | 48.1 | 49.2496 | 50.4267 | 51.6319 | 52.8659 | 54.1294 | 55.4231 | 56.7477 | 58.1039 | 59.4926
Dam | households | 12.3649 | 12.6604 | 12.963 | 13.2728 | 13.5901 | 13.9149 | 14.2474 | 14.5879 | 14.9366 | 15.2936 | 15.6591 | 16.0333 | 16.4165 | 16.8089 | 17.2106 | 17.622 | 18.0431 | 18.4744 | 18.9159 | 19.368 | 19.8309
River | households | 49.4596 | 50.6417 | 51.8521 | 53.0913 | 54.3602 | 55.6594 | 56.9897 | 58.3517 | 59.7463 | 61.1743 | 62.6364 | 64.1334 | 65.6661 | 67.2356 | 68.8425 | 70.4878 | 72.1725 | 73.8974 | 75.6636 | 77.4719 | 79.3235
Well | households | 173.1088 | 177.2461 | 181.4823 | 185.8197 | 190.2608 | 194.808 | 199.4639 | 204.2311 | 209.1122 | 214.11 | 219.2272 | 224.4668 | 229.8315 | 235.3245 | 240.9487 | 246.7074 | 252.6037 | 258.641 | 264.8225 | 271.1517 | 277.6323
Borehole | households | 840.814 | 860.9095 | 881.4852 | 902.5527 | 924.1237 | 946.2103 | 968.8247 | 991.9796 | 1015.6879 | 1039.9629 | 1064.818 | 1090.2671 | 1116.3245 | 1143.0047 | 1170.3225 | 1198.2932 | 1226.9324 | 1256.2561 | 1286.2806 | 1317.0227 | 1348.4996
Total | households | 1409.6 | 1443.2894 | 1477.7841 | 1513.1031 | 1549.2663 | 1586.2937 | 1624.2061 | 1663.0247 | 1702.771 | 1743.4672 | 1785.1361 | 1827.8008 | 1871.4852 | 1916.2137 | 1962.0112 | 2008.9033 | 2056.9161 | 2106.0764 | 2156.4116 | 2207.9499 | 2260.7199
Water use
Piped inside | liters | 1936159.7895 | 1982434.0084 | 2029814.1812 | 2078326.7402 | 2127998.7493 | 2178857.9194 | 2230932.6236 | 2284251.9134 | 2338845.5341 | 2394743.9423 | 2451978.3226 | 2510580.6045 | 2570583.4809 | 2632020.4261 | 2694925.7143 | 2759334.4389 | 2825282.532 | 2892806.7845 | 2961944.8666 | 3032735.3489 | 3105217.7238
Piped outside | liters | 44531675.1579 | 45595982.1942 | 46685726.1686 | 47801515.024 | 48943971.2331 | 50113732.1456 | 51311450.3439 | 52537794.0071 | 53793447.2839 | 55079110.6739 | 56395501.419 | 57743353.903 | 59123420.0612 | 60536469.8007 | 61983291.4289 | 63464692.0941 | 64981498.2351 | 66534556.043 | 68124731.9324 | 69752913.0256 | 71420007.6469
Tanker | liters | 5808479.3684 | 5947302.0253 | 6089442.5437 | 6234980.2205 | 6383996.2478 | 6536573.7581 | 6692797.8709 | 6852755.7401 | 7016536.6022 | 7184231.827 | 7355934.9677 | 7531741.8134 | 7711750.4428 | 7896061.2784 | 8084777.1429 | 8278003.3166 | 8475847.5959 | 8678420.3534 | 8885834.5999 | 9098206.0468 | 9315653.1713
Dam | liters | 1936159.7895 | 1982434.0084 | 2029814.1812 | 2078326.7402 | 2127998.7493 | 2178857.9194 | 2230932.6236 | 2284251.9134 | 2338845.5341 | 2394743.9423 | 2451978.3226 | 2510580.6045 | 2570583.4809 | 2632020.4261 | 2694925.7143 | 2759334.4389 | 2825282.532 | 2892806.7845 | 2961944.8666 | 3032735.3489 | 3105217.7238
River | liters | 7744639.1579 | 7929736.0338 | 8119256.725 | 8313306.9607 | 8511994.9971 | 8715431.6775 | 8923730.4946 | 9137007.6534 | 9355382.1363 | 9578975.7694 | 9807913.2903 | 10042322.4179 | 10282333.9237 | 10528081.7045 | 10779702.8572 | 11037337.7555 | 11301130.1279 | 11571227.1379 | 11847779.4665 | 12130941.3958 | 12420870.8951
Well | liters | 27106237.0526 | 27754076.1182 | 28417398.5374 | 29096574.3625 | 29791982.4897 | 30504010.8712 | 31233056.731 | 31979526.7869 | 32743837.4771 | 33526415.1928 | 34327696.5159 | 35148128.4627 | 35988168.7329 | 36848285.9656 | 37728960.0002 | 38630682.1442 | 39553955.4475 | 40499294.9827 | 41467228.1328 | 42458294.8851 | 43473048.1329
Borehole | liters | 131658865.6842 | 134805512.5741 | 138027364.3246 | 141326218.3319 | 144703914.9501 | 148162338.5174 | 151703418.4079 | 155329130.1079 | 159041496.3175 | 162842588.0795 | 166734525.9346 | 170719481.1044 | 174799676.7028 | 178977388.976 | 183254948.5725 | 187634741.8434 | 192119212.1735 | 196710861.3444 | 201412250.9305 | 206226003.7278 | 211154805.2169
Total | liters | 220722216 | 225997476.9624 | 231398816.6618 | 236929248.38 | 242591857.4163 | 248389802.8086 | 254326319.0957 | 260404718.1221 | 266628390.8852 | 273000809.4273 | 279525528.7726 | 286206188.9103 | 293046516.8253 | 300050328.5774 | 307221531.4304 | 314564126.0316 | 322082208.6437 | 329779973.4303 | 337661714.7953 | 345731829.7789 | 353994820.5106
Time
Piped inside | hours | 117250.6099 | 120052.8995 | 122922.1638 | 125860.0035 | 128868.0576 | 131948.0042 | 135101.5615 | 138330.4888 | 141636.5875 | 145021.7019 | 148487.7206 | 152036.5771 | 155670.2513 | 159390.7703 | 163200.2097 | 167100.6947 | 171094.4013 | 175183.5575 | 179370.4445 | 183657.3982 | 188046.81
Piped outside | hours | 2696764.0281 | 2761216.6884 | 2827209.7672 | 2894780.0807 | 2963965.3246 | 3034804.0958 | 3107335.9137 | 3181601.2421 | 3257641.5118 | 3335499.1439 | 3415217.5734 | 3496841.2734 | 3580415.7799 | 3665987.717 | 3753604.8235 | 3843315.9787 | 3935171.2306 | 4029221.823 | 4125520.2246 | 4224120.158 | 4325076.6297
Tanker | hours | 351751.8298 | 360158.6985 | 368766.4914 | 377580.0105 | 386604.1728 | 395844.0125 | 405304.6844 | 414991.4664 | 424909.7624 | 435065.1057 | 445463.1618 | 456109.7313 | 467010.7539 | 478172.3109 | 489600.6291 | 501302.0842 | 513283.204 | 525550.6726 | 538111.3336 | 550972.1945 | 564140.43
Dam | hours | 117250.6099 | 120052.8995 | 122922.1638 | 125860.0035 | 128868.0576 | 131948.0042 | 135101.5615 | 138330.4888 | 141636.5875 | 145021.7019 | 148487.7206 | 152036.5771 | 155670.2513 | 159390.7703 | 163200.2097 | 167100.6947 | 171094.4013 | 175183.5575 | 179370.4445 | 183657.3982 | 188046.81
River | hours | 469002.4397 | 480211.598 | 491688.6552 | 503440.014 | 515472.2304 | 527792.0167 | 540406.2459 | 553321.9551 | 566546.3499 | 580086.8076 | 593950.8823 | 608146.3084 | 622681.0052 | 637563.0812 | 652800.8389 | 668402.7789 | 684377.6053 | 700734.2301 | 717481.7782 | 734629.5927 | 752187.24
Well | hours | 1641508.5388 | 1680740.5929 | 1720910.2931 | 1762040.0491 | 1804152.8063 | 1847272.0583 | 1891421.8605 | 1936626.843 | 1982912.2246 | 2030303.8267 | 2078828.0882 | 2128512.0795 | 2179383.5182 | 2231470.7843 | 2284802.936 | 2339409.7262 | 2395321.6186 | 2452569.8053 | 2511186.2237 | 2571203.5744 | 2632655.3398
Borehole | hours | 7973041.4744 | 8163597.1656 | 8358707.1379 | 8558480.2385 | 8763027.9162 | 8972464.2834 | 9186906.1798 | 9406473.2375 | 9631287.9478 | 9861475.7298 | 10097164.9997 | 10338487.2432 | 10585577.0883 | 10838572.3807 | 11097614.2606 | 11362847.2415 | 11634419.2905 | 11912481.9116 | 12197190.2293 | 12488703.0757 | 12787183.0793
Total | hours | 13366569.5306 | 13686030.5424 | 14013126.6723 | 14348040.3998 | 14690958.5654 | 15042072.4751 | 15401578.0072 | 15769675.7216 | 16146570.9714 | 16532474.0176 | 16927600.1466 | 17332169.7901 | 17746408.6481 | 18170547.8148 | 18604823.9075 | 19049479.1989 | 19504761.7518 | 19970925.5577 | 20448230.6785 | 20936943.3917 | 21437336.3388
Cost
Piped inside | thousands US$ | 2.0704 | 2.1199 | 2.1706 | 2.2224 | 2.2756 | 2.3299 | 2.3856 | 2.4426 | 2.501 | 2.5608 | 2.622 | 2.6847 | 2.7488 | 2.8145 | 2.8818 | 2.9507 | 3.0212 | 3.0934 | 3.1673 | 3.243 | 3.3205
Piped outside | thousands US$ | 47.6195 | 48.7576 | 49.9229 | 51.116 | 52.3377 | 53.5886 | 54.8693 | 56.1807 | 57.5234 | 58.8983 | 60.3059 | 61.7472 | 63.223 | 64.734 | 66.2812 | 67.8653 | 69.4873 | 71.148 | 72.8485 | 74.5895 | 76.3722
Tanker | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | thousands US$ | 45.8699 | 46.9662 | 48.0887 | 49.2381 | 50.4148 | 51.6198 | 52.8535 | 54.1167 | 55.4101 | 56.7344 | 58.0903 | 59.4787 | 60.9002 | 62.3557 | 63.846 | 65.3719 | 66.9343 | 68.5341 | 70.172 | 71.8491 | 73.5663
Total | thousands US$ | 95.5598 | 97.8437 | 100.1822 | 102.5765 | 105.0281 | 107.5383 | 110.1084 | 112.74 | 115.4345 | 118.1934 | 121.0182 | 123.9106 | 126.872 | 129.9043 | 133.009 | 136.1879 | 139.4428 | 142.7755 | 146.1878 | 149.6817 | 153.2591
Opportunity cost
Piped inside | thousands US$ | 17.0013 | 17.4077 | 17.8237 | 18.2497 | 18.6859 | 19.1325 | 19.5897 | 20.0579 | 20.5373 | 21.0281 | 21.5307 | 22.0453 | 22.5722 | 23.1117 | 23.664 | 24.2296 | 24.8087 | 25.4016 | 26.0087 | 26.6303 | 27.2668
Piped outside | thousands US$ | 391.0308 | 400.3764 | 409.9454 | 419.7431 | 429.775 | 440.0466 | 450.5637 | 461.3322 | 472.358 | 483.6474 | 495.2065 | 507.042 | 519.1603 | 531.5682 | 544.2727 | 557.2808 | 570.5998 | 584.2372 | 598.2004 | 612.4974 | 627.1361
Tanker | thousands US$ | 51.004 | 52.223 | 53.4711 | 54.7491 | 56.0576 | 57.3974 | 58.7692 | 60.1738 | 61.6119 | 63.0844 | 64.5922 | 66.1359 | 67.7166 | 69.335 | 70.9921 | 72.6888 | 74.4261 | 76.2048 | 78.0261 | 79.891 | 81.8004
Dam | thousands US$ | 17.0013 | 17.4077 | 17.8237 | 18.2497 | 18.6859 | 19.1325 | 19.5897 | 20.0579 | 20.5373 | 21.0281 | 21.5307 | 22.0453 | 22.5722 | 23.1117 | 23.664 | 24.2296 | 24.8087 | 25.4016 | 26.0087 | 26.6303 | 27.2668
River | thousands US$ | 68.0054 | 69.6307 | 71.2949 | 72.9988 | 74.7435 | 76.5298 | 78.3589 | 80.2317 | 82.1492 | 84.1126 | 86.1229 | 88.1812 | 90.2887 | 92.4466 | 94.6561 | 96.9184 | 99.2348 | 101.6065 | 104.0349 | 106.5213 | 109.0671
Well | thousands US$ | 238.0187 | 243.7074 | 249.532 | 255.4958 | 261.6022 | 267.8544 | 274.2562 | 280.8109 | 287.5223 | 294.3941 | 301.4301 | 308.6343 | 316.0106 | 323.5633 | 331.2964 | 339.2144 | 347.3216 | 355.6226 | 364.122 | 372.8245 | 381.735
Borehole | thousands US$ | 1156.091 | 1183.7216 | 1212.0125 | 1240.9796 | 1270.639 | 1301.0073 | 1332.1014 | 1363.9386 | 1396.5368 | 1429.914 | 1464.0889 | 1499.0807 | 1534.9087 | 1571.593 | 1609.1541 | 1647.6129 | 1686.9908 | 1727.3099 | 1768.5926 | 1810.8619 | 1854.1415
Total | thousands US$ | 1938.1526 | 1984.4744 | 2031.9034 | 2080.4659 | 2130.189 | 2181.1005 | 2233.2288 | 2286.603 | 2341.2528 | 2397.2087 | 2454.502 | 2513.1646 | 2573.2293 | 2634.7294 | 2697.6995 | 2762.1745 | 2828.1905 | 2895.7842 | 2964.9934 | 3035.8568 | 3108.4138
Total costs without project | thousands US$ | 2033.7124 | 2082.3181 | 2132.0855 | 2183.0424 | 2235.2171 | 2288.6388 | 2343.3373 | 2399.343 | 2456.6873 | 2515.4021 | 2575.5203 | 2637.0752 | 2700.1013 | 2764.6337 | 2830.7084 | 2898.3624 | 2967.6332 | 3038.5597 | 3111.1813 | 3185.5385 | 3261.6729
With project
Connections
Piped inside | households | 12.3649 | 12.6604 | 12.963 | 13.2728 | 13.5901 | 86.9073 | 163.7213 | 244.1574 | 328.3448 | 416.4169 | 426.3693 | 436.5595 | 446.9933 | 457.6764 | 468.6149 | 479.8148 | 491.2823 | 503.024 | 515.0463 | 527.3559 | 539.9597
Piped outside | households | 284.393 | 291.19 | 298.1494 | 305.2752 | 312.5713 | 497.5167 | 691.124 | 893.7016 | 1105.5676 | 1327.0503 | 1358.7668 | 1391.2413 | 1424.492 | 1458.5373 | 1493.3964 | 1529.0886 | 1565.6338 | 1603.0524 | 1641.3654 | 1680.594 | 1720.7602
Tanker | households | 37.0947 | 37.9813 | 38.8891 | 39.8185 | 40.7702 | 33.3957 | 25.6454 | 17.5055 | 8.962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | households | 12.3649 | 12.6604 | 12.963 | 13.2728 | 13.5901 | 11.1319 | 8.5485 | 5.8352 | 2.9873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | households | 49.4596 | 50.6417 | 51.8521 | 53.0913 | 54.3602 | 44.5275 | 34.1938 | 23.3407 | 11.9493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | households | 173.1088 | 177.2461 | 181.4823 | 185.8197 | 190.2608 | 155.8464 | 119.6783 | 81.6924 | 41.8224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | households | 840.814 | 860.9095 | 881.4852 | 902.5527 | 924.1237 | 756.9682 | 581.2948 | 396.7919 | 203.1376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | households | 1409.6 | 1443.2894 | 1477.7841 | 1513.1031 | 1549.2663 | 1586.2937 | 1624.2061 | 1663.0247 | 1702.771 | 1743.4672 | 1785.1361 | 1827.8008 | 1871.4852 | 1916.2137 | 1962.0112 | 2008.9033 | 2056.9161 | 2106.0764 | 2156.4116 | 2207.9499 | 2260.7199
Change in Connections
Piped inside | households | 0 | 0 | 0 | 0 | 0 | 72.9924 | 149.4739 | 229.5694 | 313.4082 | 401.1233 | 410.7102 | 420.5261 | 430.5767 | 440.8675 | 451.4042 | 462.1928 | 473.2392 | 484.5496 | 496.1304 | 507.9879 | 520.1288
Piped outside | households | 0 | 0 | 0 | 0 | 0 | 177.475 | 363.4333 | 558.1791 | 762.0261 | 975.2981 | 998.6078 | 1022.4745 | 1046.9116 | 1071.9328 | 1097.552 | 1123.7835 | 1150.6419 | 1178.1423 | 1206.2999 | 1235.1304 | 1264.6501
Tanker | households | 0 | 0 | 0 | 0 | 0 | -8.3489 | -17.0969 | -26.2583 | -35.8478 | -45.8807 | -46.9773 | -48.1 | -49.2496 | -50.4267 | -51.6319 | -52.8659 | -54.1294 | -55.4231 | -56.7477 | -58.1039 | -59.4926
Dam | households | 0 | 0 | 0 | 0 | 0 | -2.783 | -5.699 | -8.7528 | -11.9493 | -15.2936 | -15.6591 | -16.0333 | -16.4165 | -16.8089 | -17.2106 | -17.622 | -18.0431 | -18.4744 | -18.9159 | -19.368 | -19.8309
River | households | 0 | 0 | 0 | 0 | 0 | -11.1319 | -22.7959 | -35.011 | -47.7971 | -61.1743 | -62.6364 | -64.1334 | -65.6661 | -67.2356 | -68.8425 | -70.4878 | -72.1725 | -73.8974 | -75.6636 | -77.4719 | -79.3235
Well | households | 0 | 0 | 0 | 0 | 0 | -38.9616 | -79.7856 | -122.5387 | -167.2898 | -214.11 | -219.2272 | -224.4668 | -229.8315 | -235.3245 | -240.9487 | -246.7074 | -252.6037 | -258.641 | -264.8225 | -271.1517 | -277.6323
Borehole | households | 0 | 0 | 0 | 0 | 0 | 189.2421 | 387.5299 | 595.1878 | 812.5504 | 1039.9629 | 1064.818 | 1090.2671 | 1116.3245 | 1143.0047 | 1170.3225 | 1198.2932 | 1226.9324 | 1256.2561 | 1286.2806 | 1317.0227 | 1348.4996
Total | households
Changing Households
Total households changing connections | households | 0 | 0 | 0 | 0 | 0 | -61.2254 | -125.3773 | -192.5608 | -262.8839 | -336.4586 | -344.4999 | -352.7335 | -361.1638 | -369.7956 | -378.6337 | -387.6831 | -396.9487 | -406.4358 | -416.1496 | -426.0956 | -436.2793
To piped system | % of changing households | bar: 0 to Last updated: 08/17/2013 20
Neighbor | % of changing households | bar: 0 to Last updated: 08/17/2013 20
Truck purchase | % of changing households | 0% | 0% | 0% | 0% | 0% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64% | 13.64%
Standpipe | % of changing households | 0% | 0% | 0% | 0% | 0% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% | 4.545%
Spring or stream | % of changing households | 0% | 0% | 0% | 0% | 0% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18% | 18.18%
Other | % of changing households | 0% | 0% | 0% | 0% | 0% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64% | 63.64%
Average Liters | liters / person / day | 0 | 0 | 0 | 0 | 0 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2 | 31.2
Water use
Piped inside | liters | 1936159.7895 | 1982434.0084 | 2029814.1812 | 2078326.7402 | 2127998.7493 | 13608375.4904 | 25636298.7056 | 38231383.4104 | 51413869.4538 | 65204640.1816 | 66763031.082 | 68358667.5248 | 69992439.6787 | 71665258.987 | 73378058.6768 | 75131794.2792 | 76927444.1624 | 78766010.0779 | 80648517.7188 | 82576017.2923 | 84549584.1055
Piped outside | liters | 44531675.1579 | 45595982.1942 | 46685726.1686 | 47801515.024 | 48943971.2331 | 77903657.1233 | 108219658.7131 | 139940265.831 | 173115301.8179 | 207796169.2457 | 212762497.6907 | 217847521.3855 | 223054077.1466 | 228385069.5904 | 233843472.7536 | 239432331.7524 | 245154764.4813 | 251013963.3524 | 257013197.0765 | 263155812.4867 | 269445236.4051
Tanker | liters | 5808479.3684 | 5947302.0253 | 6089442.5437 | 6234980.2205 | 6383996.2478 | 5229259.0065 | 4015678.7226 | 2741102.296 | 1403307.3204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | liters | 1936159.7895 | 1982434.0084 | 2029814.1812 | 2078326.7402 | 2127998.7493 | 1743086.3355 | 1338559.5742 | 913700.7653 | 467769.1068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | liters | 7744639.1579 | 7929736.0338 | 8119256.725 | 8313306.9607 | 8511994.9971 | 6972345.342 | 5354238.2968 | 3654803.0614 | 1871076.4273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | liters | 27106237.0526 | 27754076.1182 | 28417398.5374 | 29096574.3625 | 29791982.4897 | 24403208.697 | 18739834.0386 | 12791810.7148 | 6548767.4954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | liters | 131658865.6842 | 134805512.5741 | 138027364.3246 | 141326218.3319 | 144703914.9501 | 118529870.8139 | 91022051.0448 | 62131652.0432 | 31808299.2635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | liters | 220722216 | 225997476.9624 | 231398816.6618 | 236929248.38 | 242591857.4163 | 248389802.8086 | 254326319.0957 | 260404718.1221 | 266628390.8852 | 273000809.4273 | 279525528.7726 | 286206188.9103 | 293046516.8253 | 300050328.5774 | 307221531.4304 | 314564126.0316 | 322082208.6437 | 329779973.4303 | 337661714.7953 | 345731829.7789 | 353994820.5106
Time
Piped inside | hours | 117250.6099 | 120052.8995 | 122922.1638 | 125860.0035 | 128868.0576 | 824100.5391 | 1377310.148 | 1792733.2871 | 2059553.9205 | 2166424.17 | 1761987.662 | 1804099.1671 | 1847217.1372 | 1891365.6268 | 1936569.2652 | 1982853.2707 | 2030243.4639 | 2078766.2826 | 2128448.7968 | 2179318.723 | 2231404.4405
Piped outside | hours | 2696764.0281 | 2761216.6884 | 2827209.7672 | 2894780.0807 | 2963965.3246 | 4717715.636 | 5814101.1644 | 6562032.2986 | 6934710.4653 | 6904027.7232 | 5615156.9182 | 5749359.1686 | 5886768.8527 | 6027462.6283 | 6171518.9851 | 6319018.2888 | 6470042.8259 | 6624676.8495 | 6783006.6262 | 6945120.4845 | 7111108.8641
Tanker | hours | 351751.8298 | 360158.6985 | 368766.4914 | 377580.0105 | 386604.1728 | 316675.21 | 215742.3394 | 128534.8552 | 56214.1524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | hours | 117250.6099 | 120052.8995 | 122922.1638 | 125860.0035 | 128868.0576 | 105558.4033 | 71914.1131 | 42844.9517 | 18738.0508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | hours | 469002.4397 | 480211.598 | 491688.6552 | 503440.014 | 515472.2304 | 422233.6133 | 287656.4525 | 171379.8069 | 74952.2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | hours | 1641508.5388 | 1680740.5929 | 1720910.2931 | 1762040.0491 | 1804152.8063 | 1477817.6467 | 1006797.5837 | 599829.3241 | 262332.7113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | hours | 7973041.4744 | 8163597.1656 | 8358707.1379 | 8558480.2385 | 8763027.9162 | 7177971.4267 | 4890159.6924 | 2913456.7171 | 1274187.4547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | hours | 13366569.5306 | 13686030.5424 | 14013126.6723 | 14348040.3998 | 14690958.5654 | 15042072.4751 | 13663681.4934 | 12210811.2406 | 10680688.9582 | 9070451.8932 | 7377144.5802 | 7553458.3357 | 7733985.9899 | 7918828.255 | 8108088.2503 | 8301871.5595 | 8500286.2898 | 8703443.1321 | 8911455.423 | 9124439.2076 | 9342513.3046
Cost
Piped inside | thousands US$ | 2.0704 | 2.1199 | 2.1706 | 2.2224 | 2.2756 | 14.552 | 27.4139 | 40.8823 | 54.9789 | 69.7259 | 71.3923 | 73.0986 | 74.8457 | 76.6345 | 78.466 | 80.3414 | 82.2615 | 84.2276 | 86.2406 | 88.3018 | 90.4122
Piped outside | thousands US$ | 47.6195 | 48.7576 | 49.9229 | 51.116 | 52.3377 | 83.3054 | 115.7235 | 149.6436 | 185.119 | 222.2046 | 227.5153 | 232.9529 | 238.5205 | 244.2211 | 250.058 | 256.0344 | 262.1536 | 268.4191 | 274.8343 | 281.4028 | 288.1284
Tanker | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | thousands US$ | 45.8699 | 46.9662 | 48.0887 | 49.2381 | 50.4148 | 41.2958 | 31.7121 | 21.6467 | 11.082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | thousands US$ | 95.5598 | 97.8437 | 100.1822 | 102.5765 | 105.0281 | 139.1532 | 174.8495 | 212.1726 | 251.1799 | 291.9305 | 298.9076 | 306.0515 | 313.3661 | 320.8556 | 328.524 | 336.3758 | 344.4151 | 352.6467 | 361.0749 | 369.7046 | 378.5406
Opportunity cost
Piped inside | thousands US$ | 17.0013 | 17.4077 | 17.8237 | 18.2497 | 18.6859 | 119.4946 | 199.71 | 259.9463 | 298.6353 | 314.1315 | 255.4882 | 261.5944 | 267.8465 | 274.248 | 280.8025 | 287.5137 | 294.3853 | 301.4211 | 308.6251 | 316.0012 | 323.5536
Piped outside | thousands US$ | 391.0308 | 400.3764 | 409.9454 | 419.7431 | 429.775 | 684.0688 | 843.0447 | 951.4947 | 1005.533 | 1001.084 | 814.1978 | 833.6571 | 853.5815 | 873.9821 | 894.8703 | 916.2577 | 938.1562 | 960.5781 | 983.536 | 1007.0425 | 1031.1108
Tanker | thousands US$ | 51.004 | 52.223 | 53.4711 | 54.7491 | 56.0576 | 45.9179 | 31.2826 | 18.6376 | 8.1511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dam | thousands US$ | 17.0013 | 17.4077 | 17.8237 | 18.2497 | 18.6859 | 15.306 | 10.4275 | 6.2125 | 2.717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
River | thousands US$ | 68.0054 | 69.6307 | 71.2949 | 72.9988 | 74.7435 | 61.2239 | 41.7102 | 24.8501 | 10.8681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well | thousands US$ | 238.0187 | 243.7074 | 249.532 | 255.4958 | 261.6022 | 214.2836 | 145.9856 | 86.9753 | 38.0382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole | thousands US$ | 1156.091 | 1183.7216 | 1212.0125 | 1240.9796 | 1270.639 | 1040.8059 | 709.0732 | 422.4512 | 184.7572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | thousands US$ | 1938.1526 | 1984.4744 | 2031.9034 | 2080.4659 | 2130.189 | 2181.1005 | 1981.2338 | 1770.5676 | 1548.6999 | 1315.2155 | 1069.686 | 1095.2515 | 1121.428 | 1148.2301 | 1175.6728 | 1203.7714 | 1232.5415 | 1261.9993 | 1292.161 | 1323.0437 | 1354.6644
Total costs with project | thousands US$ | 2033.7124 | 2082.3181 | 2132.0855 | 2183.0424 | 2235.2171 | 2320.2537 | 2156.0833 | 1982.7402 | 1799.8798 | 1607.146 | 1368.5936 | 1401.303 | 1434.7941 | 1469.0857 | 1504.1968 | 1540.1471 | 1576.9567 | 1614.6459 | 1653.236 | 1692.7483 | 1733.205
Cost savings
Changes in cost of water for users* | thousands US$ | 0 | 0 | 0 | 0 | 0 | -31.6149 | -64.7411 | -99.4326 | -135.7453 | -173.7371 | -177.8894 | -182.1409 | -186.4941 | -190.9513 | -195.5151 | -200.1879 | -204.9724 | -209.8712 | -214.8871 | -220.0229 | -225.2815
Opportunity cost savings | thousands US$ | 0 | 0 | 0 | 0 | 0 | 0 | 251.995 | 516.0353 | 792.5529 | 1081.9932 | 1384.8161 | 1417.9132 | 1451.8013 | 1486.4993 | 1522.0267 | 1558.4031 | 1595.6489 | 1633.785 | 1672.8324 | 1712.8131 | 1753.7493
Total user cost savings | thousands US$ | 0 | 0 | 0 | 0 | 0 | -31.6149 | 187.2539 | 416.6028 | 656.8075 | 908.2561 | 1206.9267 | 1235.7722 | 1265.3072 | 1295.548 | 1326.5116 | 1358.2152 | 1390.6766 | 1423.9137 | 1457.9453 | 1492.7902 | 1528.4679
*In most cases, this stream will be negative, as households switch to higher cost water sources. When this is not the case, attention should be paid to the presence and distortionary effects of price regulation.
System Characteristics
Project Costs
Cost of initial investment | thousands US$ | 0: 5204.7568
Ratio of operation and maintenance costs to capital costs | % | bar: 0
Recurring costs | thousands US$/year | 0: 0
Actual costs as a percentage of estimated costs | % | 0: 100%
System
Current system capacity | households | 0: 10000
System capacity with project | households | 0: 25000
Annual growth in connections** | %/year | 0: 2.39%
Benefits will begin in Year | Year | 0: 5
Benefits will be phased in until Year | Year | 0: 10
Years of partial benefits | years | 0: 5
**Assumed to be = to pop. growth rate
Water usage statistics
Type of connection | Households | Last updated: 08/17/2013 5: Usage; Last updated: 08/17/2013 6: Cost; Last updated: 08/17/2013 7: Cost; Last updated: 08/17/2013 8: Time (with project); Last updated: 08/17/2013 9: Time (w/o project)
| w/o project | 0: w/ project; Last updated: 08/17/2013 1: change; Last updated: 08/17/2013 2: w/o proj %; Last updated: 08/17/2013 3: w/ proj %; Last updated: 08/17/2013 4: change; Last updated: 08/17/2013 5: L/person/day; Last updated: 08/17/2013 6: $/liter; Last updated: 08/17/2013 7: $/m3; Last updated: 08/17/2013 8: hours/day
Piped inside | 12.3649 | 0: 336.6747; Last updated: 08/17/2013 1: 324.3098; Last updated: 08/17/2013 2: 0.8772%; Last updated: 08/17/2013 3: 23.88%; Last updated: 08/17/2013 4: 23.01%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0.0010693; Last updated: 08/17/2013 7: 1.0693; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Piped outside | 284.393 | 0: 1072.9253; Last updated: 08/17/2013 1: 788.5323; Last updated: 08/17/2013 2: 20.18%; Last updated: 08/17/2013 3: 76.12%; Last updated: 08/17/2013 4: 55.94%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0.0010693; Last updated: 08/17/2013 7: 1.0693; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Tanker | 37.0947 | 0: 0; Last updated: 08/17/2013 1: -37.0947; Last updated: 08/17/2013 2: 2.632%; Last updated: 08/17/2013 3: 0%; Last updated: 08/17/2013 4: -2.632%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0; Last updated: 08/17/2013 7: 0; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Dam | 12.3649 | 0: 0; Last updated: 08/17/2013 1: -12.3649; Last updated: 08/17/2013 2: 0.8772%; Last updated: 08/17/2013 3: 0%; Last updated: 08/17/2013 4: -0.8772%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0; Last updated: 08/17/2013 7: 0; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
River | 49.4596 | 0: 0; Last updated: 08/17/2013 1: -49.4596; Last updated: 08/17/2013 2: 3.509%; Last updated: 08/17/2013 3: 0%; Last updated: 08/17/2013 4: -3.509%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0; Last updated: 08/17/2013 7: 0; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Well | 173.1088 | 0: 0; Last updated: 08/17/2013 1: -173.1088; Last updated: 08/17/2013 2: 12.28%; Last updated: 08/17/2013 3: 0%; Last updated: 08/17/2013 4: -12.28%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0; Last updated: 08/17/2013 7: 0; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Borehole | 840.814 | 0: 0; Last updated: 08/17/2013 1: -840.814; Last updated: 08/17/2013 2: 59.65%; Last updated: 08/17/2013 3: 0%; Last updated: 08/17/2013 4: -59.65%; Last updated: 08/17/2013 5: 31.2; Last updated: 08/17/2013 6: 0.0003484; Last updated: 08/17/2013 7: 0.3484; Last updated: 08/17/2013 8: 11.322; Last updated: 08/17/2013 9: 25.9795
Phasing
Benefits? |  | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Full or partial benefits? |  | N/A | N/A | N/A | N/A | N/A | Partial | Partial | Partial | Partial | Partial | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full
Piped inside |  | 0.8772% | 0.8772% | 0.8772% | 0.8772% | 0.8772% | 5.479% | 10.08% | 14.68% | 19.28% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88% | 23.88%
Piped outside |  | 20.18% | 20.18% | 20.18% | 20.18% | 20.18% | 31.36% | 42.55% | 53.74% | 64.93% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12% | 76.12%
Tanker |  | 2.632% | 2.632% | 2.632% | 2.632% | 2.632% | 2.105% | 1.579% | 1.053% | 0.5263% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Dam |  | 0.8772% | 0.8772% | 0.8772% | 0.8772% | 0.8772% | 0.7018% | 0.5263% | 0.3509% | 0.1754% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
River |  | 3.509% | 3.509% | 3.509% | 3.509% | 3.509% | 2.807% | 2.105% | 1.404% | 0.7018% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Well |  | 12.28% | 12.28% | 12.28% | 12.28% | 12.28% | 9.825% | 7.368% | 4.912% | 2.456% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Borehole |  | 59.65% | 59.65% | 59.65% | 59.65% | 59.65% | 47.72% | 35.79% | 23.86% | 11.93% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Disease reduction
Last updated: 08/17/2013
| Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Without project
Population | people | 19382 | 19845.2298 | 20319.5308 | 20805.1676 | 21302.4111 | 21811.5387 | 22332.8345 | 22866.5892 | 23413.1007 | 23972.6738 | 24545.6207 | 25132.2611 | 25732.9221 | 26347.9389 | 26977.6547 | 27622.4206 | 28282.5965 | 28958.5505 | 29650.6599 | 30359.3107 | 31084.8982
Incidence
Total incidents (sickness) | Incidents/years | 68786.718 | 70430.7206 | 72114.0148 | 73837.5397 | 75602.2569 | 77409.1509 | 79259.2296 | 81153.5252 | 83093.0944 | 85079.0194 | 87112.4079 | 89194.3945 | 91326.1405 | 93508.8353 | 95743.6964 | 98031.9708 | 100374.9349 | 102773.8958 | 105230.1919 | 107745.1935 | 110320.3037
Days lost due to sickness | Days/year | 234562.7084 | 240168.7571 | 245908.7904 | 251786.0105 | 257803.6961 | 263965.2045 | 270273.9729 | 276733.5208 | 283347.452 | 290119.4561 | 297053.3111 | 304152.8852 | 311422.1392 | 318865.1283 | 326486.0049 | 334289.0204 | 342278.528 | 350458.9848 | 358834.9545 | 367411.1099 | 376192.2355
Sickness Expenses
Financial Loss
Annual GDP | thousands US$ | 544.1855 | 557.1915 | 570.5084 | 584.1435 | 598.1046 | 612.3993 | 627.0356 | 642.0218 | 657.3661 | 673.0771 | 689.1637 | 705.6347 | 722.4994 | 739.7671 | 757.4475 | 775.5505 | 794.0862 | 813.0648 | 832.4971 | 852.3938 | 872.766
GDP per capita | US$ | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768
With project
Incidence
Total Incidents | Incidents/year | 68786.718 | 70430.7206 | 72114.0148 | 73837.5397 | 75602.2569 | 73693.5116 | 71650.3435 | 69467.4175 | 67139.2203 | 64660.0547 | 66205.43 | 67787.7398 | 69407.8668 | 71066.7148 | 72765.2093 | 74504.2978 | 76284.9505 | 78108.1608 | 79974.9459 | 81886.3471 | 83843.4308
Days lost | Days/year | 234562.7084 | 240168.7571 | 245908.7904 | 251786.0105 | 257803.6961 | 251294.8747 | 244327.6715 | 236883.8938 | 228944.7412 | 220490.7866 | 225760.5164 | 231156.1928 | 236680.8258 | 242337.4975 | 248129.3637 | 254059.6555 | 260131.6812 | 266348.8284 | 272714.5654 | 279232.4435 | 285906.0989
GDP
Annual GDP | thousands US$ | 544.1855 | 557.1915 | 570.5084 | 584.1435 | 598.1046 | 583.0041 | 566.8402 | 549.5706 | 531.1518 | 511.5386 | 523.7644 | 536.2824 | 549.0995 | 562.223 | 575.6601 | 589.4184 | 603.5055 | 617.9293 | 632.6978 | 647.8193 | 663.3021
GDP per capita | US$ | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 28.0768 | 26.7292 | 25.3815 | 24.0338 | 22.6861 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384 | 21.3384
Increase in GDP due to reduced disease | thousands US$ | 0 | 0 | 0 | 0 | 0 | 29.3952 | 60.1954 | 92.4511 | 126.2143 | 161.5385 | 165.3993 | 169.3523 | 173.3998 | 177.5441 | 181.7874 | 186.1321 | 190.5807 | 195.1356 | 199.7993 | 204.5745 | 209.4638
Phasing
Benefits will begin in Year | 5 | 0: Year
Benefits will be phased in until Year | 10 | 0: Year
Years of partial benefits | 5 | 0: Years
| Target | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Annual reduction in disease from without project scenario | 24% | 0% | 0% | 0% | 0% | 0% | 4.8% | 9.6% | 14.4% | 19.2% | 24% | 24% | 24% | 24% | 24% | 24% | 24% | 24% | 24% | 24% | 24% | 24%
Note on C14: MCC: Multiplied by 2 to reach Ghana Rural Minimum wage, assuming this is opportunity cost.

## Community Statistics
With Project
| Community | Community Type | Population (2009) | Use of house pipes | Use of public pipes
Tamale metropolitan Area | Wamale | SRC | 3369 | 20% | 80% | Last updated: 08/17/2013
| Chanzeni | RC | 270 | 10% | 90%
| Zuo | RC | 496 | 10% | 90%
| Gbabshe | RC | 972 | 10% | 90%
Savelugu-Nanton District | Moglaa | RC | 1110 | 10% | 90%
| Ligba | RC | 633 | 10% | 90%
| Tootenyili | RC | 133 | 10% | 90%
| Tibale | RC | 781 | 10% | 90%
| Kpendua | RC | 386 | 10% | 90%
| Agric. Stat. | TI | 2000 | 100% | 0%
| Pong Tamale | SRC | 5514 | 20% | 80%
| Pong | RC | 1100 | 10% | 90%
Tolon Kumbugu District | Ginjani | RC | 892 | 10% | 90%
| Dimamzugu | RC | 229 | 10% | 90%
| Gawogu Kpasolgu | RC | 1477 | 10% | 90%
Dalun corridor | Botanga
Fando
Logoshiegu
Total |  |  |  | 23.88% | 76.12%

## NRW
Last updated: 08/17/2013
NRW Dalun Corridor | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Without project
Water Pumped From Dalun WTW | m3/month | 920674 | 942678.1086 | 965208.1154 | 988276.5894 | 1011896.3998 | 1036080.7238 | 1060843.0531 | 1086197.2021 | 1112157.3152 | 1138737.875 | 1165953.7102 | 1193820.0039 | 1222352.302 | 1251566.522 | 1281478.9619 | 1312106.3091 | 1343465.6499 | 1375574.4789 | 1408450.709 | 1442112.6809 | 1476579.174
Water losses From Dalun WTW | m3/month | 456654.304 | 467568.3419 | 478743.2252 | 490185.1883 | 501900.6143 | 513896.039 | 526178.1543 | 538753.8122 | 551630.0283 | 564813.986 | 578313.0403 | 592134.7219 | 606286.7418 | 620776.9949 | 635613.5651 | 650804.7293 | 666358.9623 | 682284.9415 | 698591.5516 | 715287.8897 | 732383.2703
Water received from Dalun WTW | m3/month | 464019.696 | 475109.7667 | 486464.8902 | 498091.401 | 509995.7855 | 522184.6848 | 534664.8988 | 547443.3898 | 560527.2869 | 573923.889 | 587640.67 | 601685.282 | 616065.5602 | 630789.5271 | 645865.3968 | 661301.5798 | 677106.6875 | 693289.5374 | 709859.1573 | 726824.7912 | 744195.9037
Revenue losses from Dalun WTW | $000/year | 5859.8205 | 5999.8702 | 6143.2671 | 6290.0912 | 6440.4244 | 6594.3505 | 6751.9555 | 6913.3272 | 7078.5557 | 7247.7332 | 7420.954 | 7598.3148 | 7779.9146 | 7965.8545 | 8156.2384 | 8351.1725 | 8550.7656 | 8755.1289 | 8964.3764 | 9178.625 | 9397.9942
With project
Water Pumped From Dalun WTW | m3/month | 920674 | 942678.1086 | 965208.1154 | 988276.5894 | 1011896.3998 | 1036080.7238 | 1060843.0531 | 1086197.2021 | 1112157.3152 | 1138737.875 | 1165953.7102 | 1193820.0039 | 1222352.302 | 1251566.522 | 1281478.9619 | 1312106.3091 | 1343465.6499 | 1375574.4789 | 1408450.709 | 1442112.6809 | 1476579.174
Water losses from Dalun WTW | m3/month | 456654.304 | 467568.3419 | 478743.2252 | 490185.1883 | 501900.6143 | 513896.039 | 526178.1543 | 538753.8122 | 551630.0283 | 564813.986 | 578313.0403 | 592134.7219 | 606286.7418 | 620776.9949 | 635613.5651 | 650804.7293 | 666358.9623 | 682284.9415 | 698591.5516 | 715287.8897 | 732383.2703
Water received from Dalun WTW | m3/month | 464019.696 | 475109.7667 | 486464.8902 | 498091.401 | 509995.7855 | 522184.6848 | 534664.8988 | 547443.3898 | 560527.2869 | 573923.889 | 587640.67 | 601685.282 | 616065.5602 | 630789.5271 | 645865.3968 | 661301.5798 | 677106.6875 | 693289.5374 | 709859.1573 | 726824.7912 | 744195.9037
Revenue losses from Dalun WTW | $000/year | 5859.8205 | 5999.8702 | 6143.2671 | 6290.0912 | 6440.4244 | 6594.3505 | 6751.9555 | 6913.3272 | 7078.5557 | 7247.7332 | 7420.954 | 7598.3148 | 7779.9146 | 7965.8545 | 8156.2384 | 8351.1725 | 8550.7656 | 8755.1289 | 8964.3764 | 9178.625 | 9397.9942
Savings With Project | $000/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Phasing
Benefits will begin in Year | 5
Benefits will be phased in until Year | 10
Years of partial benefits | 5
|  | 516019.3635 | 528352.2263 | 540979.8445 | 553909.2628 | 567147.6942 | 580702.5241 | 594581.3144 | 608791.8078 | 623341.932 | 638239.8042 | 653493.7355 | 669112.2358 | 685104.0182 | 701478.0043 | 718243.3286 | 735409.3441 | 752985.6274 | 770981.9839 | 789408.4534 | 808275.3154 | 827593.0954
|  | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048
|  | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048 | 0.56048
Note on C6: MCC: 2009 average

## Notes
1 | Taken from TAMA, SNDA, TKDA community populations. TWEP feasibility page IX
2 | UN population estimates to 2030 | Last updated: 08/17/2013
3 | Source: Ghana Statistical Service (GSS) 2010 Population and Housing Censuspage 43 of DCS report
4 | Assumed to be half of the Ghanian Minimum wage of 4.48 Cedi per day
5 | Exchange rate, March 2013
6 | Authors Calculations, GLSS5 dataset. As hospital costs are a transfer, they are not counted as benefits
7 | Tamale Costs, Q20 ITT
8 | TWEP Feasibility Report notes that a 1.13 US$ tariff will cover O&M on the system.
9 | DCS Phase 1 Report, MIDA, page 45
10 | Phase 3 report, page 18, liters per household
11 | Feasibility Report, page 75, lowest Viable tariff. Adjusted to 2012 USD Using October 2012 IMF Deflation
12 | GWCL monthly water production, 2009. Feasibility Draft Report, pgXIV. We have no data on what % of losses are due to leakage or reduction in leakage, impact left out until further data is acquired.
13 | DCS Phase 1 report, page 46
14 | DCS Phase 3 report, pages 13, 15, & 18.
15 | Domestic Water Carrying and It's Impact on Health, Jo-Anne L Geere
16 | Tamale Feasibility Report, page 72
17 | Feasibility Report, page 50
18 | Rosen and Vincent, p. 33, Table 9.
19 | In the absence of compelling empirical evidence, assumed to be 0%.