## User's Guide
Last updated: 04/06/2014
Mozambique: Water and Sanitation Project
Nampula Storm Water Drainage Activity
ERR Version | Original Project ERR | Closeout Activity ERR
Date of ERR | 2007-06-06 | 2014-01-18
Amount of MCC funds | $203.6 million | $21.6 million
Project Description | The objective of the Water Supply and Sanitation Project is to improve access to safe, reliable water supply and sanitation services. It is expected to assist some 1.9 million beneficiaries by 2015 through improved water systems, wastewater disposal, and storm water drainage. These improvements are expected to reduce the incidence of disabling diarrhea and decrease the time needed to collect water. The Project will also operate in previously neglected market segments: small- to mid-sized town water supply and sanitation. | The Nampula Drainage Activity expanded access to reliable sanitation services through through installation of low cost sanitation facilities in targeted communities and implementing a maintenance scheme for the duration of the project to increase reliability. These improvements are expected to assist some 588,669 beneficiaries.
Benefit streams included in ERR | (i) Savings to water households going from higher cost sources to lower cost sources; | (i) Health benefits through the reduction in diarrhea and malaria. The health benefits stem from:
| (ii) Time savings to households (primarily women) who spend less time gathering water and use that time productively; | a. Savings to households with reductions in the use of medical care;
| (iii) Business value-added for firms that could not be established or expanded due to existing water supply constraints; and | b. Income from productive activities to households through the reduction of adult sick days;
| (iv) Health benefits through the reduction in diarrhea and malaria. The health benefits stem from: | c. Income from productive activities to households through the reduction of child care days;
| a. Savings to households with reductions in the use of medical care; | d. Added output over a lifetime through reductions in mortality.
b. Income from productive activities to households through the reduction of adult sick days;
c. Income from productive activities to households through the reduction of child care days;
d. Added output over a lifetime through reductions in mortality.
Costs included in ERR (not borne by MCC) | None | Recurring maintenance for sanitation network
ERR estimations and time horizon | 22% over 23 years | 38.6% over 20 years
Table of Contents
Activity Description
One should read this sheet first, as it offers a summary of the project, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
This worksheet highlights key assumptions and summarizes how the ERR may change due to varying costs and benefits.
Cost-Benefit Summary
This worksheet presents the aggregated costs and benefits from the project activities year-by-year, calculating a combined ERR
Dollar Conversion
Conversion of MCC costs to MT by year
MCA Costs
MCA activity costs
Health Assumptions
Assumptions on diarrhea rates, hospitalization costs, and days lost due to sickness.
Other Assumptions
Details on time to gather water per day and the value of time, by water source.
Health - DALYs Diarrhea
DALYs lost due to Diarrhea, with and without Project
Beneficiaries
Number of beneficiaries from the clean provision of water, by age group.
Benefits
Savings from days of work not lost and avoided hospital costs
Crystal Ball Assumptions
Crystal Ball calculations
Charts
Crystal Ball Charts
Poverty Scorecard

## Activity Description
Mozambique: Nampula Storm Water Drainage Activity
Activity Design History
Original Project
The objective of the Water Supply and Sanitation Project is to improve access to safe, reliable water supply and sanitation services. It is expected to assist some 2.3 million beneficiaries by 2015 through improved water systems, wastewater disposal, and storm water drainage. These improvements are expected to reduce the incidence of disabling diarrhea and decrease the time needed to collect water. The Project will also operate in previously neglected market segments: small- to mid-sized town water supply and sanitation.
Closeout Project
The Nampula Storm Water Drainage Activity improved access tosanitation services through installatin of low cost santiation facilities, providing access to sanitation for 588,669 beneficiaries in the region. The reduction in extent of urban sanitation facilities was due to cost rescoping.
Components
The Nampula Storm Water Drainage Activity will
(i) Renovate sewage facilities in Nampula
(ii) Targeted expansion of sanitation facilities
MCC’s capital investments in water/sanitation will build on the work of the World Bank, which has succeeded in putting in place the key sectoral institutions and regulatory frameworks since the mid-1990s. It will also address some key neglected market segments – small-town water supply and sanitation – and, in so doing, will help consolidate and advance the government of Mozambique’s water sector strategy. In urban water supply, the strategy is predicated on a separation of asset ownership and operations/maintenance (O&M). Under the so-called system of delegated management, the state owns the water assets; O&M is delegated to private sector operators; while an independent regulatory authority sets service standards and regulates tariffs. Accordingly, the MCC program will involve private sector operation and maintenance in order to reduce operating costs and improve service – factors that are key to sustainable operations.
Economic Rationale
Original Project
This program addresses the key constraints to economic growth in Mozambique, as follows:
• An inadequate stock of infrastructure – particularly for water and sanitation – that has degraded, because of years of war and lack of maintenance; • Limited human capacity and poor health, owing, in part, to 30 years of war ending in 1992.
Lack of access to water and sanitation is a major barrier to growth and health, and this critical infrastructure is a major policy priority of the Government. Mozambique has one of the lowest levels of per-capita water consumption in the world. With an average of less than 10 liters per day, the country is far below global benchmarks. Moreover, due to existing gender norms, girls and women are responsible for collecting most of the water at the household level. They spend hours fetching water, leaving little time for child care, attending school, or income-generating activities.
The Water Supply and Sanitation (WSS) Project will improve access to safe, reliable water supply and sanitation services. This project will thereby increase productivity and reduce waterborne diseases. The Project will also operate in heretofore neglected areas, including small- to mid-sized towns.
The economic analysis of the Project focused on the following benefit streams:
(i) Savings to water households going from higher cost sources to lower cost sources;
(ii) Time savings to households (primarily women) who spend less time gathering water and use that time productively;
(iii) Business value-added for firms that could not be established or expanded due to existing water supply constraints; and
(iv) Health benefits through the reduction in diarrhea and malaria. The health benefits stem from:
a. Savings to households with reductions in the use of medical care;
b. Income from productive activities to households through the reduction of adult sick days;
c. Income from productive activities to households through the reduction of child care days;
d. Added output over a lifetime through reductions in mortality.
Closeout Activity
The economic analysis of the Activity focused on the health benefit stream:
(i) Health benefits through the reduction in diarrhea and malaria. The health benefits stem from:
a. Savings to households with reductions in the use of medical care;
b. Income from productive activities to households through the reduction of adult sick days;
c. Income from productive activities to households through the reduction of child care days;
d. Added output over a lifetime through reductions in mortality.
Last updated: 04/06/2014

## ERR & Sensitivity Analysis
Last updated: 04/06/2014
Mozambique: Nampula Storm Water Drainage Activity
ERR and sensitivity analysis
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible Range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80%-120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80%-120% | 100%
Specific | Population Coverage | 60% | 60% | 40-80% | 60% | All specific parameters set to initial values?
Specific | Reduction in Malaria Incidence | 50% | 50% | 35-65% | 50% | Y
0
| User Generated Economic rate of return (ERR)*: | 38.57%
| MCC Estimated ERRs: |  | Original Project | Revised | Closeout Activity
|  | ERR | 22.2% | NA | 38.57%
|  | Date | 2007-06-06 | NA | 2014-01-14
| Present Value (PV) of Benefits (2009 USD): | 42185577.3761
| Present Value (PV) of MCC Costs (2009 USD): | 11664911.614
* This is the only ERR figure linked to other spreadsheets. "Original," "Revised," and "Closeout" ERRs are all static for purposes of illustration.

## Cost-Benefit Summary
| Last updated: 04/06/2014 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Cost-Benefit Summary
| Units | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Benefits from Sickness Costs | 2009 Mt | 0 | 0 | 0 | 0 | 0 | 135971220.5651 | 137039680.4985 | 138137826.384 | 139290429.6761 | 140512012.792 | 141803058.5017 | 143167516.6403 | 144609561.6415 | 146133605.3088 | 147744310.3131 | 149446604.4577 | 151245695.7544 | 153147088.3567 | 155156599.4 | 157280376.7976
Benefits from reduction in DALYs | 2009 MT | 0 | 0 | 0 | 0 | 0 | 186864731.6286 | 196940773.8131 | 207329681.0694 | 218306591.9118 | 230720108.3618 | 243839491.6814 | 257704879.4127 | 272358691.4292 | 287845759.7158 | 304213465.5281 | 321511884.3508 | 339793939.0992 | 359115562.0318 | 379535865.87 | 401117324.6482
Total Benefits | 2009 Mt | 0 | 0 | 0 | 0 | 0 | 322835952.1938 | 333980454.3117 | 345467507.4534 | 357597021.5878 | 371232121.1538 | 385642550.1832 | 400872396.053 | 416968253.0707 | 433979365.0246 | 451957775.8413 | 470958488.8085 | 491039634.8535 | 512262650.3885 | 534692465.27 | 558397701.4458
Total Benefits (adjusted for project scope) |  | 0 | 0 | 0 | 0 | 0 | 193701571.3163 | 200388272.587 | 207280504.472 | 214558212.9527 | 222739272.6923 | 231385530.1099 | 240523437.6318 | 250180951.8424 | 260387619.0148 | 271174665.5048 | 282575093.2851 | 294623780.9121 | 307357590.2331 | 320815479.162 | 335038620.8675
NPV Benefits | 2009 MT | 2009: 1126753196.551
Infrastructure Costs | 2009 Mt | 2009: 1842242.9695; 2010: 3493199.9399; 2011: 10749485.4484; 2012: 149249351.2672; 2013: 297338816.6457
Recurring Costs | 2009 MT |  |  |  |  | 0 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333
Total Costs |  | 1842242.9695 | 3493199.9399 | 10749485.4484 | 149249351.2672 | 297338816.6457 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333
Total Costs | 2009 Mt | 1842242.9695 | 3493199.9399 | 10749485.4484 | 149249351.2672 | 297338816.6457 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333
NPV Costs | 2009 Mt | 2009: 311563270.3416
TOTAL NET BENEFITS |  | -1842242.9695 | -3493199.9399 | -10749485.4484 | -149249351.2672 | -297338816.6457 | 191084046.083 | 197770747.3537 | 204662979.2388 | 211940687.7194 | 220121747.459 | 228768004.8766 | 237905912.3985 | 247563426.6091 | 257770093.7815 | 268557140.2715 | 279957568.0519 | 292006255.6789 | 304740064.9998 | 318197953.9287 | 332421095.6342
ERR | % | 2009: 38.57%
NPV Net Benefits | 2009 MT | 2009: 815189926.2094; 2011: Costs Multiplier; 2012: 100%
NPV total benefits | 2009 MT | 2009: 1126753196.551; 2011: Benefits Multiplier; 2012: 100%
NET BENEFITS (Excluding Value of Life) |  | #REF! | -1842242.9695 | -3493199.9399 | -10749485.4484 | -149249351.2672 | -297338816.6457 | 4219314.4543 | 829973.5406 | -2666701.8306 | -6365904.1923 | -10598360.9028 | -15071486.8048 | -19798967.0142 | -24795264.82 | -30075665.9343 | -35656325.2566 | -41554316.299 | -47787683.4203 | -54375497.0319 | -61337911.9413
ERR |  | 2009: #N/A
NPV |  | 2009: #REF!
Population Coverage | % | 2009: 60%
|  | % Pop Affected | ERR | likelihood | Total
|  | 20 | 12.8 | 0 | 0
|  | 40 | 24.6 | 0.1 | 2.46
|  | 60 | 34.4 | 0.4 | 13.76
|  | 80 | 43.6 | 0.3 | 13.08
|  | 90 | 48.1 | 0.2 | 9.62
|  | 100 | 52.6 | 0 | 0
ERR Based on Probability Distribution |  | 2012: 38.92

## Dollar Conversion
Last updated: 04/06/2014
Dollar Conversion
|  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| Year | 2009: 1; 2010: 2; 2011: 3; 2012: 4; 2013: 5
Current Exchange Rate (LCU/USD) |  | 26.7094 | 32.9871 | 29.0593 | 28.3004 | 30.4997 | 32.0713 | 32.7234 | 33.3736 | 34.0868 | 34.0868
Foreign Inflation Factor (US) |  | 1 | 1.0134 | 1.035 | 1.0535 | 1.0708 | 1.0921 | 1.1141 | 1.1373 | 1.1617 | 1.1863
Domestic Inflation Factor (Moz) |  | 1 | 1.1048 | 1.1941 | 1.2599 | 1.3544 | 1.4302 | 1.5103 | 1.5949 | 1.6842 | 1.7786
Disbursement Profile (Current USD million) |  | 68973.4749 | 132533.33 | 416533.33 | 5886747.53 | 11920554.4012 | 3145324.1908
4391000
Estimated Foreign Content of Investments |  | 100% | 100% | 100% | 100% | 100% | 100%
Estimated Local Content of Investments | bar: 2009 to 2018
Foreign Content in Constant Year 1 Values (USD million) |  | 68973.4749 | 130785.2126 | 402460.1408 | 5587887.4588 | 11132348.8541 | 2880108.7932
Foreign Content in Constant Year 1 Values (LCU million) |  | 1842242.9695 | 3493199.9399 | 10749485.4484 | 149249351.2672 | 297338816.6457 | 76926096.3333
Local Content in Constant Year 1 Values (LCU million) |  | 0 | 0 | 0 | 0 | 0 | 0
Total Investment in Constant Year 1 Values (LCU million) |  | 1842242.9695 | 3493199.9399 | 10749485.4484 | 149249351.2672 | 297338816.6457 | 76926096.3333
By Comparison: Investments in Current LCU million |  | 1842242.9695 | 3539891.1788 | 11125372.4671 | 157231736.7517 | 318391346.3235 | 84009851.3901
Additional O&M Costs (US$ - Old Baker Reports |  | 2014: 98000; 2015: 98000; 2016: 98000; 2017: 98000; 2018: 98000
[7 empty] | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333 | 2617525.2333

## MCA Costs
|  |  | Cumulative | Annual | Last updated: 04/06/2014
x | Year 1 | 68973.4749 | 68973.4749 | 68973.4749
x | Year 2 | 63559.8551 | 132533.33 | 63559.8551
x | Year 3 | 284000 | 416533.33 | 284000
Year 4
x | Q 13 - December 2011 | 398968.98 | 815502.31
x | Q 14 - March 2012 | 340960.38 | 1156462.69
x | Q 15 - June 2012 | 3137719.9 | 4294182.59 |  | 2204477.84 | 933242.06
x | Q 16 - Sept 2012 | 2009098.27 | 6303280.86 | 5886747.53 | 1443755.44 | 130688.25
Year 5
x | Q 17 - December 2012 | 2515875.35 | 8819156.21
x | Q 18 - March 2013 | 2276471.96 | 11095628.17
x | Q 19 - June 2013 | 2416040.86 | 13511669.03
x | Q 20 - September 2013 | 4712166.2312 | 18223835.2612 | 11920554.4012
| Closeout | 3145324.1908 | 21369159.452 | 3145324.1908 | 1436715.7604 | 1708608.4304
Total
21369159.452
Eneida
Actual Cost Projections
Revised Q17 DPF
MCA-Moz
FY13 - Q3
DPF-QFR Compact
|  |  | Quelimane | 39716187.38
1.8586
53.8%

## Health Assumptions
| Nampula |  |  | Last updated: 04/06/2014
Benefits Due to Avoided Illness (Malaria)
Assumptions | Variable | quantity | units
Reduction in Risk
Reduction in Disease (% reduction) | Reduction in incidence rates | 50% | percent
Initial Cases |  | 229996.4113 | number | 44.37% | of population gets malaria per year
Health Benefits
Health Sector Providers
expenditures avoided due to less illness | Visits per case | 1.5 | visits
| Hospitalization rate | 12.2% | % of cases
| Unit cost per visit | 167.3 | MT/visit
| Unit cost per hospital day | 626.4 | MT/visit
| Hospital days per case | 8 | days
Patients
expenditures avoided, due to less illness | Number of visits | 1.5 | visit
| Patients visiting providers | 12.2% | % of patients
| Ambulatory patient costs | 9.73 | MT/visit
| Hospital patient costs | 38.91 | MT/visit
Income gained, due to days-lost-from-work avoided | Number of people of working age | 295465.3019 | number
| Adults sick | 118186.1208 | number
Days of school absenteeism avoided | School age children (5-14) | 145140.8501 | number
| Children sick | 34833.804 | number
Productive parent days loss avoided due to less child illness | Number of babies | 77754.0268 | number
| Babies sick | 76976.4866 | number
| Days with baby | 5 | days
General Assumptions
Population | Population | 518360.1788
Real Growth Rates | Prices of medical care | 100% | %
Age Distribution | Total | 100% | %
| Percent 0-1 | 15% | %
| Percent 1-14 | 28% | %
| Percent Adult | 57% | %
Malaria Rates | Total | 44.37% | percent
| Adults | 40% | percent
| Children | 24% | percent
| Babies | 99% | percent
Malaria Distribution | Total | 100% | percent
| Adults | 51.39% | percent
| Children | 15.15% | percent
| Babies | 33.47% | percent

## Other Assumptions
Annual Assumptions | [5 empty] | Last updated: 04/06/2014
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Last updated: 04/06/2014
Family Consumption (MT ) | 31186.5 | 32741.1374 | 34449.4455 | 36307.0136 | 38585.1024 | 40854.8126 | 43258.0397 | 45728.0379 | 48320.524 | 51068.1626
Opportunity Cost per Person (MT per year) | 10919.6429 | 11463.9837 | 12062.1308 | 12712.5398 | 13510.1899 | 14304.9064 | 15146.3725 | 16011.2177 | 16918.951 | 17881.0093 | 18897.773 | 19972.3526 | 21108.0358 | 22308.2971 | 23576.8085 | 24917.451 | 26334.3262 | 27831.7688 | 29414.3601 | 31086.942
GDP per capita | 11890.7609 | 12404.2296 | 12983.2113 | 12653.5294 | 13372.3036 | 14086.3446 | 14845.9026 | 15629.0452 | 16456.513 | 17392.2759
Average Family Size | 5.1 | INE original
Per Capita Consumption (median urban MT) | 6115
GDP growth 2019 on | 5.686%
Workers per household | 2.856
DALYs per year due to malaria (rate per 100,000) | 4507
Deaths per year due to malaria (rate per 100,000) | 114.6

## Health - DALYs Malaria
Last updated: 04/06/2014
Benefit Stream | Units | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Population in drainage area | numbers | 0 | 0 | 0 | 0 | 0 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116
Without Project
DALYs in population current drainage without disease reduction |  | 0 | 0 | 0 | 0 | 0 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304 | 26531.3304
DALYs in population improved drainage with disease reduction |  | 0 | 0 | 0 | 0 | 0 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652
DALYs saved by intervention |  | 0 | 0 | 0 | 0 | 0 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652 | 13265.6652
Increase in GDP due to malaria reduction | MT | 0 | 0 | 0 | 0 | 0 | 186864731.6286 | 196940773.8131 | 207329681.0694 | 218306591.9118 | 230720108.3618 | 243839491.6814 | 257704879.4127 | 272358691.4292 | 287845759.7158 | 304213465.5281 | 321511884.3508 | 339793939.0992 | 359115562.0318 | 379535865.87 | 401117324.6482
Beneficiaries |  | 2014: 353201.647

## Beneficiaries
| Last updated: 04/06/2014 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Units | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Population in service area | persons | 518360.1788 | 536020.3282 | 553703.137 | 571284.418 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116 | 588669.4116
112016.5526
Without Project
Number of Malaria Cases |  | 229996.4113 | 237832.2196 | 245678.0819 | 253478.8963 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179 | 261192.6179
Number of Children |  | 34833.804 | 36020.5661 | 37208.8508 | 38390.3129 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845 | 39558.5845
Number of Babies |  | 76976.4866 | 79599.0187 | 82224.9158 | 84835.7361 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076 | 87417.4076
With Project
Number of Malaria Cases |  | 229996.4113 | 237832.2196 | 245678.0819 | 253478.8963 | 261192.6179 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309
Number of Children |  | 34833.804 | 36020.5661 | 37208.8508 | 38390.3129 | 39558.5845 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922
Number of Babies |  | 76976.4866 | 79599.0187 | 82224.9158 | 84835.7361 | 87417.4076 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038
Cases Avoided with Project
Cases Avoided |  | 0 | 0 | 0 | 0 | 0 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309 | 130596.309
Children Cases Avoided |  | 0 | 0 | 0 | 0 | 0 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922 | 19779.2922
Babies Cases Avoided |  | 0 | 0 | 0 | 0 | 0 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038 | 43708.7038
[6 empty] | Quelimane | 230461.0882
39.15%

## Benefits
| Table of Contents | Last updated: 04/06/2014 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | #REF! | #REF!
|  | Units | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | #REF! | #REF!
1 | health care expenditures avoided due to fewere spells of malaria
| Unit cost per visit | MT | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | 167.3 | #REF! | #REF!
| Unit cost per hospital day | MT | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | 626.4 | #REF! | #REF!
| Total Ambulatory Services Avoided | MT | 0 | 0 | 0 | 0 | 0 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | 32773143.7342 | #REF! | #REF!
| Total Hospital Services Avoided | MT | 0 | 0 | 0 | 0 | 0 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | 79842195.2639 | #REF! | #REF!
2 | patient expenditures avoided, due to days of malaria avoided
| Ambulatory patient costs | MT | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | 9.73 | #REF! | #REF!
| Hospital patient costs | MT | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | 38.91 | #REF! | #REF!
| Total Ambulatory patient costs | MT | 0 | 0 | 0 | 0 | 0 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | 232538.4818 | #REF! | #REF!
| Total Hosptial Costs | MT | 0 | 0 | 0 | 0 | 0 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | 4959546.3246 | #REF! | #REF!
3 | Productive parent days loss avoided due to reduction in child care
| Total Value of Fewer Lost Parent Days | MT | 0 | 0 | 0 | 0 | 0 | 18163796.7606 | 19232256.6941 | 20330402.5795 | 21483005.8716 | 22704588.9876 | 23995634.6973 | 25360092.8359 | 26802137.837 | 28326181.5043 | 29936886.5087 | 31639180.6533 | 33438271.9499 | 35339664.5523 | 37349175.5955 | 39472952.9931 | #REF! | #REF!
| Total Economic Benefits From Improved Health due to Reduction in Malaria | MT | 0 | 0 | 0 | 0 | 0 | 135971220.5651 | 137039680.4985 | 138137826.384 | 139290429.6761 | 140512012.792 | 141803058.5017 | 143167516.6403 | 144609561.6415 | 146133605.3088 | 147744310.3131 | 149446604.4577 | 151245695.7544 | 153147088.3567 | 155156599.4 | 157280376.7976 | #REF! | #REF!

## Crystal Ball Assumptions
Last updated: 04/06/2014
Reduction in Malaria Incidence Rates | 50%
Population Coverage | 60%
ERR | 38.57%

## Charts
Last updated: 04/06/2014

## Poverty Scorecard
Last updated: 06/25/2009
Poverty Scorecard
Mozambique
Nampula Storm Water Drainage Activity
MCC Cost (Millions USD) | 21.6
20-Year ERR | 38.57%
Present Value (PV) of Benefit Stream (Millions 2005 PPP $) | 38.3914
Present Value (PV) of All Costs (Millions 2005 PPP $) | 10.6158 | [5 empty] | Country | Subject Descriptor | Units | Scale | Country/Series-specific Notes | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
|  | Consumption per day (PPP $) |  |  |  |  | United States | Inflation, average consumer prices | Index |  | Source: National Statistical Office Latest actual data: 2013 Harmonized prices: No Frequency of source data: Monthly Base year: Base is 1982-1984=100 Primary domestic currency: U.S. dollars Data last updated: 03/2014 | 172.192 | 177.042 | 179.867 | 184 | 188.908 | 195.267 | 201.558 | 207.344 | 215.254 | 214.565 | 218.08 | 224.932 | 229.599 | 232.96 | 236.226
Beneficiaries | Total | < $1.25 | < $2 1 | $2-$4 | > $4 |  | United States | Inflation, average consumer prices | Percent change |  | See notes for: Inflation, average consumer prices (Index). | 3.367 | 2.817 | 1.596 | 2.298 | 2.668 | 3.366 | 3.222 | 2.871 | 3.815 | -0.32 | 1.638 | 3.142 | 2.075 | 1.464 | 1.402
Beneficiary Households in Year 20 (#) | 61107.6125
Beneficiary Individuals in Year 20 (#) | 353202
National Population in Year 20 2 (#) | 36404814.3997 | [6 empty] | Household size | 5.78 | 2009 Household survey data
Beneficiary Population by Poverty Level (%) 3 |  | 59.58% | 81.77% | 13% | 5% |  | Population Growth | 2.12% | 2012 UN Estiamte
National Population by Poverty Level 4 (%) |  | 59.58% | 81.77% | 13% | 5% |  | Population 2012 | 23930000
The Magnitude of the Benefits
PV of Benefit Stream Per Beneficiary Individual (USD) | 108.4453 | 108.6953 | 108.6953 | 108.6953 | 108.6953
PV of Benefit Stream as Share of Annual Income (%) | 16.57% | 47.65% | 18.33% | 9.927% | 5.956%
Cost Effectiveness
PV of Benefit Stream/Project Dollar (USD/USD) | 3.6165 | 2.1547 | 2.9572 | 0.47014 | 0.18082
Percent of Project Participants Who Are Female 5 | 51%
GNI per capita 6 (USD) | 510
Current National Population | 25.2 million
NB: all benefits incremental; PVs based on 10% discount rate and exclude MCC costs but net out any local costs
1 The beneficiaries and population living on less than $2 per day include those under $1.25 per day
2 Based on estimated 2012 population (UN population estimates), projected to Year 20
3,4 National Household survey data, 2008
5,6 CIA World Factbook, converted to PPP