## User's Guide
Last updated: 8/24/2007
Tanzania: Malagarasi Hydropower
Project name | Energy Project
Malagarasi Hydropower and Kigoma Distribution Activity
Spreadsheet version | Investment memo, final
Date | 2007-08-24
Amount of MCC funds | 206.5 million total for Energy Project
Project description | MCC Funding will be used to construct a small (up to eight MW) run-of-river hydropower plant on the Malagarasi River at Igamba Falls, and to construct a transmission and distribution network along the Kigoma, Uvinza and Kasulu corridor to serve approximately 21,000 customers.
Benefit streams included in ERR | Increased investment and economic activity
Power quality improvements
Social gains in education and health
Costs included in ERR (other than costs borne by MCC) | Operation and maintenance
Estimated ERR and time horizon | 20.4% over 20 years
Worksheets in this file | Activity Description
One should read this sheet first, as it offers a summary of the project, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
A brief summary of the project's key parameters and ERR calculations.
ERR Calcs
Sums the annual economic costs and benefits of the activity and calculates the resulting ERR over a 20-year time period.
Assumptions
Lists the financial and logistical assumptions used in the analysis.
Tariffs
Shows the Tanzania Electric Supply Company Limited (TANESCO)'s tariff structure for the electricity generated from the activity.
WTP
Estimates the willingness to pay for new electrical services for households and businesses in the impact area.
Quality improvement
Illustrates the efficiency gains for producers from switching to a new energy source.
Social & Environmental
Estimates the social and environmental benefits of the project.
Summary
Shows the results of an alternative ERR analysis using an induced income model.

## Activity Description
Last updated: 8/24/2007
Tanzania: Malagarasi Hydropower
Activity Description
Summary
MCC Funding will be used to construct a small (up to eight MW) run-of-river hydropower plant on the Malagarasi River at Igamba Falls, and to construct a transmission and distribution network along the Kigoma, Uvinza and Kasulu corridor to serve approximately 21,000 customers.
Components
Specifically, MCC Funding will support:
1. Final design, and supplemental environmental and social assessments consistent with the sustainability issues identified below, together with any resulting resettlement action plans and environmental management plans, and occupational health and safety standards.
2. Engineering and construction of:
a. Civil works including an approximately 24 km access road, a 300 m long concrete faced rockfill dam (of which about 200 m will be eight m high), and an approximately 650 m long headrace canal.
b. Electromechanical works including the powerhouse consisting of turbines, eight MW of power generators and a voltage step-up substation.
c. Hydro-mechanical works including intake gates, bottom outlets, and two steel penstocks (estimated to be 110 m long).
3. Engineering and construction of:
a. Transmission and distribution line extensions including up to 392 km of 33kV distribution lines, ten km of 11kV lines, and 171 km of low voltage lines to distribute power generated at the hydropower plant to Kigoma, Uvinza, Kasulu and small settlements along the corridor.
b. Associated upgrades including step-down substations, electrical protection and related minor civil works.
4. Capacity building and technical support for TANESCO, including assistance with preparation of the engineering design and bidding documents, tender review, supervision of construction, project management, and quality control.
5. Project coordination and construction supervision of all improvements and upgrades under the Malagarasi Hydropower and Kigoma Distribution Activity.
6. Assessment and design of a public-private partnership for the independent operation of the mini-grid system in Kigoma which includes the hydropower plant, transmission and distribution network, and service delivery, and competitive procurement of an operator concessionaire.
Economic Rationale
In modeling the impact of MCC’s energy investments on economic growth and incomes, we include the following benefits, all of which are ultimately related to growth in income:
1. Increased investment and economic activity. The provision of additional supplies of energy should increase investment and economic activity in the affected regions. The basis for the analysis here is Calderon and Serven, 2005.1
2. Power quality improvements. Benefits from improved power quality are likely to be realized as a result of the improved reliability of electricity supply. We have valued the impact of improved power quality on the basis of the avoided cost of running electrical protection equipment. We assume that all larger users operate protection equipment and that 25% of larger domestic consumers also do.2 We have not included the additional costs of damage to consumer equipment, given the lack of data on appliance lives and costs.
3. Social gains in education and health. There are considerable social and environmental benefits arising from providing more energy in addition to the benefits described above. The main social benefits arise from improvements in education and health, including health benefits related to avoiding emissions from diesel and kerosene use. These social benefits are primarily associated with smaller domestic customers, where the replacement energy is non-electric and there is a closer link to health and education.
1 Cesar Calderon and Luis Serven. (2005) “The Effects of Infrastructure Development on Growth and Income Distribution,” World Bank Working Paper, WPS 3400.
2 We have seen no data on protection equipment deployment, however, our assumptions have been guided by discussions with a range of customers backed up by a judgment of what would be reasonable purchase the balance of costs and risks avoided.
*Note about the model: This ERR model originally was developed by Guy Doyle, an energy economist for Hatch Mott MacDonald, and modified and adapted for use by MCC economists.
Last updated: 8/24/2007

## ERR & Sensitivity Analysis
Tanzania: Malagarasi Hydropower
ERR and sensitivity analysis |  |  |  |  | Last updated: 8/24/2007
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80 - 120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80 - 120% | 100% | Y
Specific | Elasticity of growth with respect to power | 0.013 | 0.013 | 0 - 0.026 | 0.013 | More Info
Specific | Annual energy availability from hydropower plant (HPP) | 88% | 88% | 50 - 88% | 88% | Activity Description
Specific | Project completion date | 2011 | 2011 | 2010 - 2012 | 2011 | User's Guide
Specific | Economic growth rate | 6.4% | 6.4% | 4.8 - 8.0% | 6.4%
Specific | Exchange rate (Tanzanian shillings/$) | 1300 | 1300 | 1,100 - 1,400 | 1300
0
| Economic rate of return (ERR): | #N/A
| MCC Estimated ERR (as of 8/30/2007): | 20.4%
Reset Parameters

## ERR calcs
0
Malagarasi Hydroelectric Project
ERR Calculations
| Baseline: |  | #N/A
| Benefits -10%: |  | 18.9%
| Costs +20%: |  | 17.81%
| Delay 1 year: |  | 17.6% | [28 empty] | 3% | 88% | 2.5%
| Benefits +10%: |  | 21.85% | [28 empty] | 5% | 78% | 5%
| Costs -20%: |  | 23.83% | [28 empty] | 8% | 68% | 10%
| Best: |  | 25.35% | [28 empty] | 9.82% | 50% | 20%
| Worst: |  | 14.01%
| NPV (Net benefits) |  | 54.5255
in 2007 USD mil, 10% discount rate
| NPV (Benefits) |  | 100.3861
in 2007 USD mil, 10% discount rate
| Total Cost |  | 46.94
| Growth rate of demand for energy |  | 8%
(select from drop down box) ========================>
| Annual HPP capacity factor |  | 88%
| % time hydro power plant unavailable |  | 5%
(select from drop down box) ========================>
| Kigoma Data | Customers | kWh/Cust/year | MWh per annum | New Customers
| D1 - Domestic Low | 4300 | 600 | 2580 | 3089.5244
| D2 - Domestic High | 1659 | 1716 | 2846.844 | 1191.9816
| T1 - General Use | 1000 | 2916 | 2916 | 718.494
T1 - General Use - Energy (per kWh)
| Low Voltage - Basic (per month) | 11
| Low Voltage - Energy (per kWh) |  | 223404 | 2457.444 | 15
Low Voltage - Demand (per kVA)
|  | 6970 |  | 10800.288
Costs and Benefits
|  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Costs
Plant and minigrid costs: Million USD
| Capex phasing: % | 2008: 21.77%; 2009: 19.89%; 2010: 24.34%; 2011: 25.74%; 2012: 8.191%
| Capex | 10.2235 | 9.344 | 11.4327 | 12.0923 | 3.8475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex | 0 | 0 | 0 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455 | 0.70455
Connection costs: USD per customer
| - Large commercial & industrial | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461
| T1 - SME and large domestic | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361
| D2 - Domestic | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361
| D1 - Domestic | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361
Connection costs by customer category: Thousand USD
| - Large commercial & industrial | 0 | 0 | 0 | 0.5071 | 4.3611 | 4.7972 | 1.4736 | 1.621 | 1.7831 | 1.9614 | 2.1575 | 2.3733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T1 - SME and large domestic | 0 | 0 | 0 | 36.1 | 182.367 | 200.6037 | 78.0071 | 85.8078 | 94.3886 | 103.8274 | 114.2101 | 125.6312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D2 - Domestic | 0 | 0 | 0 | 299.4495 | 2573.5251 | 2702.2014 | 578.2083 | 607.1187 | 637.4746 | 669.3484 | 702.8158 | 737.9566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D1 - Domestic | 0 | 0 | 0 | 77.615 | 667.0379 | 700.3897 | 149.8671 | 157.3605 | 165.2285 | 173.4899 | 182.1644 | 191.2727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total connection costs: Million USD | 0 | 0 | 0 | 0.41367 | 2.3023 | 2.483 | 0.80756 | 0.85191 | 0.89887 | 0.94863 | 1.0013 | 1.0572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Social and Environmental Costs of Hydro Project: Million USD
| Resettlement | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Disruption from construction | 0 | 0.15 | 0.25 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Loss of natural habitat | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other items | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Costs | 10223470.2128 | 9344031.9149 | 11432697.8723 | 13210498.1957 | 6854383.5727 | 3187541.973 | 1512106.13 | 1556457.9715 | 1603424.8086 | 1653177.1314 | 1705897.9287 | 1761783.7098 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550 | 704550
| Energy demand | 0 | 0 | 0 | 14936.9197 | 23920.1195 | 34642.5093 | 39662.9017 | 45414.6626 | 52004.884 | 59556.4168 | 68210.2011 | 78127.9423 | 89495.1849 | 102524.8432 | 117461.2577 | 134584.8551 | 154217.5018 | 176728.6559 | 202542.4361 | 232145.7445 | 266097.6027 | 305039.8808 | 349709.63 | 400953.2585 | 459742.8266 | 527194.7806 | 604591.4909 | 693406.0149 | 795330.571 | 912309.2809
| MW demand | 0 | 0 | 0 | 4.3711 | 6.6909 | 9.2971 | 10.231 | 11.2782 | 12.4524 | 13.7695 | 15.247 | 17.4645 | 20.0063 | 22.8792 | 26.167 | 29.9297 | 34.2365 | 39.1664 | 44.8099 | 51.271 | 58.6687 | 67.1395 | 76.8398 | 87.9489 | 100.6726 | 115.2466 | 131.9414 | 151.0671 | 172.9794 | 198.0864
| Capacity | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
| Energy supplied | 0 | 0 | 0 | 14563.4967 | 23322.1165 | 33776.4465 | 38671.3292 | 43787.2115 | 46770.9874 | 50295.8354 | 54312.0745 | 54866.9039 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494
| Energy capacity | 0 | 0 | 0 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4
[7 empty] | 44.83% | 14.49% | 13.23% | 6.814% | 7.536% | 7.985% | 1.022% | -0.1776% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Demand growth rates: % a year | 2008: Numbers; 2009: Capita; 2010: Average expected capacity factor
| D1 & D2 | 2008: 5%; 2009: 8%; 2010: 88%
| T1 | 2008: 10%; 2009: 5%
| Large users | 2008: 10%; 2009: 5%; 2022: 17123.5974; 2023: 19632.6467
[16 empty] | 12055.922 | 14322.1947
|  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Hydro Generation and Demand
| Available MWh a year…………………………………………………………….. | 0 | 0 | 0 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4
| Total energy demanded (MWh)…………………………………………………… | 0 | 0 | 0 | 14936.9197 | 23920.1195 | 34642.5093 | 39662.9017 | 45414.6626 | 52004.884 | 59556.4168 | 68210.2011 | 78127.9423 | 89495.1849 | 102524.8432 | 117461.2577 | 134584.8551 | 154217.5018 | 176728.6559 | 202542.4361 | 232145.7445 | 266097.6027 | 305039.8808 | 349709.63 | 400953.2585 | 459742.8266 | 527194.7806 | 604591.4909 | 693406.0149 | 795330.571 | 912309.2809
| Energy losses: % of gross generation……………………………………………. | 11% | 11% | 11% | 11% | 11% | 11.2% | 11.4% | 11.6% | 11.8% | 12% | 12.2% | 12.4% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6% | 12.6%
| Energy scaled for losses: MWh………………………………………………… | 0 | 0 | 0 | 16579.9808 | 26551.3327 | 38522.4703 | 44184.4725 | 50682.7635 | 58141.4603 | 66703.1868 | 76531.8456 | 87815.8072 | 100771.5782 | 115442.9734 | 132261.3762 | 151542.5468 | 173648.907 | 198996.4666 | 228062.783 | 261396.1083 | 299625.9006 | 343474.9058 | 393773.0434 | 451473.3691 | 517670.4227 | 593621.323 | 680770.0188 | 780775.1727 | 895542.2229 | 1027260.2503
| Demand load factor: %.............................................................................. | 43% | 43.1% | 43.2% | 43.3% | 45.3% | 47.3% | 49.3% | 51.3% | 53.3% | 55.3% | 57.3% | 57.4% | 57.5% | 57.6% | 57.7% | 57.8% | 57.9% | 58% | 58.1% | 58.2% | 58.3% | 58.4% | 58.5% | 58.6% | 58.7% | 58.8% | 58.9% | 59% | 59.1% | 59.2%
| Peak demand: MW……………………………………………………………….. | 0 | 0 | 0 | 4.3711 | 6.6909 | 9.2971 | 10.231 | 11.2782 | 12.4524 | 13.7695 | 15.247 | 17.4645 | 20.0063 | 22.8792 | 26.167 | 29.9297 | 34.2365 | 39.1664 | 44.8099 | 51.271 | 58.6687 | 67.1395 | 76.8398 | 87.9489 | 100.6726 | 115.2466 | 131.9414 | 151.0671 | 172.9794 | 198.0864
| Excess demand over plant capacity: %.................................................... | 0% | 0% | 0% | 0% | 0% | 16.21% | 27.89% | 40.98% | 55.66% | 72.12% | 90.59% | 118.3% | 150.1% | 186% | 227.1% | 274.1% | 328% | 389.6% | 460.1% | 540.9% | 633.4% | 739.2% | 860.5% | 999.4% | 1158% | 1341% | 1549% | 1788% | 2062% | 2376%
| Unmet peak energy: %............................................................................ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.111% | 7.758% | 13.38% | 18.33% | 24.13% | 29.29% | 33.95% | 38.29% | 42.37% | 46.27% | 50% | 53.62% | 57.13% | 60.55% | 63.91% | 67.21% | 70.46% | 73.66% | 76.83% | 79.97% | 83.09% | 86.18% | 89.26%
| Unserved peak energy: MWh……………………………………………………. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 504.7021 | 4034.6405 | 7970.9446 | 12505.5094 | 18851.9915 | 26216.7075 | 34808.778 | 44970.8978 | 57026.8198 | 71349.0145 | 88370.3083 | 108596.2353 | 132618.7977 | 161132.1617 | 194950.7752 | 235030.4028 | 282492.6242 | 338653.4076 | 405056.4643 | 483512.197 | 576143.1867 | 685437.3173 | 814309.8155
| Adjusted energy: MWh…………………………………………………………. | 0 | 0 | 0 | 14936.9197 | 23920.1195 | 34642.5093 | 39662.9017 | 44909.9606 | 47970.2435 | 51585.4722 | 55704.6917 | 59275.9509 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4
| Time unavailable: % of time with no generation………………………………….. | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
| Energy lost through down-time: MWh…………………………………………… | 0 | 0 | 0 | 373.423 | 598.003 | 866.0627 | 991.5725 | 1122.749 | 1199.2561 | 1289.6368 | 1392.6173 | 1481.8988 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76 | 1541.76
| Energy unserved: %.................................................................................. | 0% | 0% | 0% | 2.5% | 2.5% | 2.5% | 2.5% | 3.584% | 10.06% | 15.55% | 20.38% | 26.03% | 31.02% | 35.46% | 39.6% | 43.52% | 47.26% | 50.88% | 54.38% | 57.79% | 61.13% | 64.42% | 67.65% | 70.84% | 74% | 77.12% | 80.23% | 83.31% | 86.38% | 89.43%
| Hydro energy delivered: MWh………………………………………………………. | 0 | 0 | 0 | 14563.4967 | 23322.1165 | 33776.4465 | 38671.3292 | 43787.2115 | 46770.9874 | 50295.8354 | 54312.0745 | 54866.9039 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494 | 54769.4494
| Hydro energy despatched: MWh…………………………………………………….. | 0 | 0 | 0 | 16165.4813 | 25887.5493 | 37559.4086 | 43079.8607 | 48866.5281 | 52289.9639 | 56331.3356 | 60938.1475 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4 | 61670.4
| Growth rate: %/yr…………………………………………………………………………… |  |  |  |  | 60.14% | 45.09% | 14.7% | 13.43% | 7.006% | 7.729% | 8.178% | 1.202% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Total customers…………………………………………………………………………… | 6970 | 6970 | 6970 | 7369.05 | 10444.3199 | 13699.0848 | 14493.6804 | 15338.9698 | 16238.5843 | 17196.4462 | 18216.7943 | 19304.2125 | 20463.6594 | 21700.5024 | 23020.5534 | 24430.1096 | 25935.9965 | 27545.6158 | 29266.998 | 31108.8595 | 33080.6653 | 35192.6976 | 37456.1314 | 39883.1169 | 42486.8694 | 45281.7693 | 48283.4698 | 51509.0166 | 54976.978 | 58707.5885
| Growth rate: %/yr…………………………………………………………………….. |  | 0% | 0% | 5.725% | 41.73% | 31.16% | 5.8% | 5.832% | 5.865% | 5.899% | 5.933% | 5.969% | 6.006% | 6.044% | 6.083% | 6.123% | 6.164% | 6.206% | 6.249% | 6.293% | 6.338% | 6.384% | 6.432% | 6.48% | 6.528% | 6.578% | 6.629% | 6.68% | 6.733% | 6.786%
51737.5885
Benefits
| WTP and avoided fuel costs by customer category | 2009: new customers; 2011: 2507.5; 2012: 2507.5
Domestic Rural
| D1 - Domestic - Waiting List | 0 | 0 | 0 | 1544.7622 | 1544.7622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customers connected | 4300 | 4300 | 4300 | 4515 | 6362.7503 | 8302.8881 | 8718.0325 | 9153.9341 | 9611.6308 | 10092.2124 | 10596.823 | 11126.6641 | 11682.9973 | 12267.1472 | 12880.5046 | 13524.5298 | 14200.7563 | 14910.7941 | 15656.3338 | 16439.1505 | 17261.108 | 18124.1634 | 19030.3716 | 19981.8902 | 20980.9847 | 22030.0339 | 23131.5356 | 24288.1124 | 25502.518 | 26777.6439
| Per customer: kWh a year | 648 | 699.84 | 755.8272 | 816.2934 | 881.5968 | 952.1246 | 1028.2946 | 1110.5581 | 1199.4028 | 1295.355 | 1398.9834 | 1510.9021 | 1631.7742 | 1762.3162 | 1903.3015 | 2055.5656 | 2220.0108 | 2397.6117 | 2589.4206 | 2796.5743 | 3020.3002 | 3261.9242 | 3522.8782 | 3804.7084 | 4109.0851 | 4437.8119 | 4792.8369 | 5176.2638 | 5590.3649 | 6037.5941
| Total Demand (MWh) | 0 | 0 | 0 | 3685.5646 | 5609.3806 | 7905.3839 | 8964.7054 | 10165.9759 | 11528.2167 | 13072.9977 | 14824.7794 | 16811.2999 | 19064.0141 | 21618.5919 | 24515.4833 | 27800.558 | 31525.8328 | 35750.2944 | 40540.8338 | 45973.3056 | 52133.7285 | 59119.6481 | 67041.681 | 76025.2662 | 86212.6519 | 97765.1473 | 110865.677 | 125721.6777 | 142568.3825 | 161672.5458
| Adjusted demand (MWh) | 0 | 0 | 0 | 3593.4255 | 5469.1461 | 7707.7494 | 8740.5878 | 9801.6744 | 10367.9892 | 11040.2435 | 11804.1658 | 11806.0702 | 11666.835 | 11548.7948 | 11430.999 | 11313.4665 | 11196.2163 | 11079.2668 | 10962.6367 | 10846.3441 | 10730.4071 | 10614.8434 | 10499.6707 | 10384.9062 | 10270.5669 | 10156.6698 | 10043.2311 | 9930.2673 | 9817.7941 | 9705.8273
| Incremental Demand (MWh) | 0 | 0 | 0 | 1013.4255 | 2889.1461 | 5127.7494 | 6160.5878 | 7221.6744 | 7787.9892 | 8460.2435 | 9224.1658 | 9226.0702 | 9086.835 | 8968.7948 | 8850.999 | 8733.4665 | 8616.2163 | 8499.2668 | 8382.6367 | 8266.3441 | 8150.4071 | 8034.8434 | 7919.6707 | 7804.9062 | 7690.5669 | 7576.6698 | 7463.2311 | 7350.2673 | 7237.7941 | 7125.8273
| WTP: USD/kWh | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313 | 0.313
| WTP: Thousand USD | 0 | 0 | 0 | 317.2022 | 904.3027 | 1604.9855 | 1928.264 | 2260.3841 | 2437.6406 | 2648.0562 | 2887.1639 | 2887.76 | 2844.1793 | 2807.2328 | 2770.3627 | 2733.575 | 2696.8757 | 2660.2705 | 2623.7653 | 2587.3657 | 2551.0774 | 2514.906 | 2478.8569 | 2442.9356 | 2407.1475 | 2371.4976 | 2335.9913 | 2300.6337 | 2265.4296 | 2230.3839
| Diesel replacement benefit: Thousand USD | 0 | 0 | 0 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884 | 1026.7884
| Benefit (WTP+ avoided diesel costs) | 0 | 0 | 0 | 1343.9906 | 1931.0911 | 2631.7739 | 2955.0524 | 3287.1725 | 3464.429 | 3674.8446 | 3913.9523 | 3914.5484 | 3870.9677 | 3834.0212 | 3797.1511 | 3760.3634 | 3723.6641 | 3687.0589 | 3650.5537 | 3614.1541 | 3577.8658 | 3541.6944 | 3505.6453 | 3469.724 | 3433.9359 | 3398.286 | 3362.7797 | 3327.4221 | 3292.218 | 3257.1723
| D2 - Domestic - Waiting List | 0 | 0 | 0 | 595.9908 | 595.9908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customers connected | 1659 | 1659 | 1659 | 1741.95 | 2454.8378 | 3203.3701 | 3363.5386 | 3531.7155 | 3708.3013 | 3893.7164 | 4088.4022 | 4292.8223 | 4507.4634 | 4732.8366 | 4969.4784 | 5217.9523 | 5478.8499 | 5752.7924 | 6040.432 | 6342.4536 | 6659.5763 | 6992.5551 | 7342.1829 | 7709.292 | 8094.7566 | 8499.4945 | 8924.4692 | 9370.6927 | 9839.2273 | 10331.1887
| Per customer: kWh a year | 1853.28 | 2001.5424 | 2161.6658 | 2334.5991 | 2521.367 | 2723.0763 | 2940.9224 | 3176.1962 | 3430.2919 | 3704.7153 | 4001.0925 | 4321.1799 | 4666.8743 | 5040.2243 | 5443.4422 | 5878.9176 | 6349.231 | 6857.1695 | 7405.743 | 7998.2025 | 8638.0587 | 9329.1033 | 10075.4316 | 10881.4661 | 11751.9834 | 12692.1421 | 13707.5135 | 14804.1146 | 15988.4437 | 17267.5192
| Total Demand (MWh) | 0 | 0 | 0 | 4066.7548 | 6189.5471 | 8723.0213 | 9891.9061 | 11217.4215 | 12720.556 | 14425.1105 | 16358.0753 | 18550.0574 | 21035.7651 | 23854.5577 | 27051.0684 | 30675.9115 | 34786.4837 | 39447.8725 | 44733.8874 | 50728.2283 | 57525.8109 | 65234.2696 | 73975.6617 | 83888.4004 | 95129.446 | 107876.7918 | 122332.2819 | 138724.8077 | 157313.9319 | 178393.9988
| Adjusted demand (MWh) | 0 | 0 | 0 | 3965.086 | 6034.8084 | 8504.9457 | 9644.6085 | 10815.4411 | 11440.3287 | 12182.1127 | 13025.046 | 13027.1474 | 12873.5113 | 12743.2625 | 12613.2833 | 12483.5947 | 12354.2175 | 12225.1722 | 12096.4793 | 11968.1588 | 11840.2306 | 11712.7145 | 11585.6297 | 11458.9953 | 11332.8302 | 11207.1528 | 11081.9815 | 10957.334 | 10833.228 | 10709.6807
| Incremental Demand (MWh) | 0 | 0 | 0 | 1118.242 | 3187.9644 | 5658.1017 | 6797.7645 | 7968.5971 | 8593.4847 | 9335.2687 | 10178.202 | 10180.3034 | 10026.6673 | 9896.4185 | 9766.4393 | 9636.7507 | 9507.3735 | 9378.3282 | 9249.6353 | 9121.3148 | 8993.3866 | 8865.8705 | 8738.7857 | 8612.1513 | 8485.9862 | 8360.3088 | 8235.1375 | 8110.49 | 7986.384 | 7862.8367
| WTP: USD/kWh | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275 | 0.275
| WTP: Thousand USD | 0 | 0 | 0 | 307.5165 | 876.6902 | 1555.978 | 1869.3852 | 2191.3642 | 2363.2083 | 2567.1989 | 2799.0055 | 2799.5834 | 2757.3335 | 2721.5151 | 2685.7708 | 2650.1064 | 2614.5277 | 2579.0403 | 2543.6497 | 2508.3616 | 2473.1813 | 2438.1144 | 2403.1661 | 2368.3416 | 2333.6462 | 2299.0849 | 2264.6628 | 2230.3848 | 2196.2556 | 2162.2801
| Diesel replacement benefit: Thousand USD | 0 | 0 | 0 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987 | 1132.987
| Benefit (WTP+ avoided diesel costs) | 0 | 0 | 0 | 1440.5035 | 2009.6772 | 2688.965 | 3002.3722 | 3324.3512 | 3496.1953 | 3700.1859 | 3931.9925 | 3932.5704 | 3890.3205 | 3854.5021 | 3818.7578 | 3783.0934 | 3747.5147 | 3712.0272 | 3676.6367 | 3641.3485 | 3606.1683 | 3571.1014 | 3536.153 | 3501.3286 | 3466.6332 | 3432.0719 | 3397.6498 | 3363.3717 | 3329.2426 | 3295.2671
| T1 - SME/ large domestic - Waiting List | 0 | 0 | 0 | 359.247 | 359.247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customers connected | 1000 | 1000 | 1000 | 1100 | 1605.1717 | 2160.8606 | 2376.9467 | 2614.6413 | 2876.1055 | 3163.716 | 3480.0876 | 3828.0964 | 4210.906 | 4631.9966 | 5095.1963 | 5604.7159 | 6165.1875 | 6781.7063 | 7459.8769 | 8205.8646 | 9026.451 | 9929.0961 | 10922.0058 | 12014.2063 | 13215.627 | 14537.1897 | 15990.9086 | 17589.9995 | 19348.9994 | 21283.8994
| Per customer: kWh a year | 3061.8 | 3214.89 | 3375.6345 | 3544.4162 | 3721.637 | 3907.7189 | 4103.1048 | 4308.2601 | 4523.6731 | 4749.8567 | 4987.3496 | 5236.717 | 5498.5529 | 5773.4805 | 6062.1546 | 6365.2623 | 6683.5254 | 7017.7017 | 7368.5868 | 7737.0161 | 8123.8669 | 8530.0603 | 8956.5633 | 9404.3914 | 9874.611 | 10368.3416 | 10886.7586 | 11431.0966 | 12002.6514 | 12602.784
| Total Demand (MWh) | 0 | 0 | 0 | 3898.8578 | 5973.8665 | 8444.0358 | 9752.8614 | 11264.5549 | 13010.5609 | 15027.1978 | 17356.4135 | 20046.6576 | 23153.8895 | 26742.7424 | 30887.8675 | 35675.4869 | 41205.1874 | 47591.9915 | 54968.7502 | 63488.9064 | 73329.6869 | 84695.7884 | 97823.6356 | 112986.2991 | 130499.1755 | 150726.5477 | 174089.1626 | 201072.9828 | 232239.2951 | 268236.3858
| Adjusted demand (MWh) | 0 | 0 | 0 | 3801.3864 | 5824.5199 | 8232.9349 | 9509.0398 | 10860.8854 | 11701.1468 | 12690.58 | 13819.9684 | 14078.1647 | 14169.7655 | 14286.1499 | 14402.2934 | 14518.1772 | 14633.7828 | 14749.0918 | 14864.086 | 14978.7473 | 15093.0581 | 15207.0007 | 15320.558 | 15433.7127 | 15546.4481 | 15658.7476 | 15770.5951 | 15881.9744 | 15992.8699 | 16103.2661
| Incremental Demand (MWh) | 0 | 0 | 0 | 885.3864 | 2908.5199 | 5316.9349 | 6593.0398 | 7944.8854 | 8785.1468 | 9774.58 | 10903.9684 | 11162.1647 | 11253.7655 | 11370.1499 | 11486.2934 | 11602.1772 | 11717.7828 | 11833.0918 | 11948.086 | 12062.7473 | 12177.0581 | 12291.0007 | 12404.558 | 12517.7127 | 12630.4481 | 12742.7476 | 12854.5951 | 12965.9744 | 13076.8699 | 13187.2661
| WTP: USD/kWh | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425 | 0.425
| WTP: Thousand USD | 0 | 0 | 0 | 376.2892 | 1236.1209 | 2259.6973 | 2802.0419 | 3376.5763 | 3733.6874 | 4154.1965 | 4634.1866 | 4743.92 | 4782.8503 | 4832.3137 | 4881.6747 | 4930.9253 | 4980.0577 | 5029.064 | 5077.9365 | 5126.6676 | 5175.2497 | 5223.6753 | 5271.9371 | 5320.0279 | 5367.9404 | 5415.6677 | 5463.2029 | 5510.5391 | 5557.6697 | 5604.5881
| Diesel replacement benefit: Thousand USD | 0 | 0 | 0 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097 | 1160.5097
| Benefit (WTP+ avoided diesel costs) | 0 | 0 | 0 | 1536.7989 | 2396.6306 | 3420.207 | 3962.5516 | 4537.086 | 4894.1971 | 5314.7062 | 5794.6962 | 5904.4297 | 5943.36 | 5992.8234 | 6042.1844 | 6091.435 | 6140.5674 | 6189.5737 | 6238.4462 | 6287.1773 | 6335.7594 | 6384.185 | 6432.4468 | 6480.5376 | 6528.4501 | 6576.1774 | 6623.7126 | 6671.0488 | 6718.1794 | 6765.0978
| Large users - Waiting List | 0 | 0 | 0 | 7.5 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customers connected | 11 | 11 | 11 | 12.1 | 21.56 | 31.966 | 35.1626 | 38.6789 | 42.5467 | 46.8014 | 51.4816 | 56.6297 | 62.2927 | 68.522 | 75.3742 | 82.9116 | 91.2027 | 100.323 | 110.3553 | 121.3908 | 133.5299 | 146.8829 | 161.5712 | 177.7283 | 195.5011 | 215.0513 | 236.5564 | 260.212 | 286.2332 | 314.8566
| Per customer: kWh a year | 234574.2 | 246302.91 | 258618.0555 | 271548.9583 | 285126.4062 | 299382.7265 | 314351.8628 | 330069.456 | 346572.9288 | 363901.5752 | 382096.654 | 401201.4867 | 421261.561 | 442324.639 | 464440.871 | 487662.9145 | 512046.0603 | 537648.3633 | 564530.7814 | 592757.3205 | 622395.1865 | 653514.9459 | 686190.6932 | 720500.2278 | 756525.2392 | 794351.5012 | 834069.0762 | 875772.53 | 919561.1566 | 965539.2144
| Total Demand (MWh) | 0 | 0 | 0 | 3285.7424 | 6147.3253 | 9570.0682 | 11053.4288 | 12766.7103 | 14745.5504 | 17031.1107 | 19670.9328 | 22719.9274 | 26241.5162 | 30308.9512 | 35006.8386 | 40432.8986 | 46699.9979 | 53938.4976 | 62298.9647 | 71955.3042 | 83108.3763 | 95990.1747 | 110868.6518 | 128053.2928 | 147901.5532 | 170826.2939 | 197304.3695 | 227886.5467 | 263208.9615 | 304006.3505
| Adjusted demand (MWh) | 0 | 0 | 0 | 3203.5988 | 5993.6422 | 9330.8165 | 10777.0931 | 12309.2105 | 13261.5227 | 14382.8992 | 15662.8943 | 15955.5216 | 16059.3376 | 16191.2422 | 16322.8737 | 16454.2109 | 16585.2328 | 16715.9185 | 16846.2474 | 16976.1991 | 17105.7535 | 17234.8907 | 17363.5911 | 17491.8352 | 17619.6042 | 17746.8791 | 17873.6417 | 17999.8737 | 18125.5574 | 18250.6753
| Incremental Demand (MWh) | 0 | 0 | 0 | 746.1548 | 3536.1982 | 6873.3725 | 8319.6491 | 9851.7665 | 10804.0787 | 11925.4552 | 13205.4503 | 13498.0776 | 13601.8936 | 13733.7982 | 13865.4297 | 13996.7669 | 14127.7888 | 14258.4745 | 14388.8034 | 14518.7551 | 14648.3095 | 14777.4467 | 14906.1471 | 15034.3912 | 15162.1602 | 15289.4351 | 15416.1977 | 15542.4297 | 15668.1134 | 15793.2313
| WTP: USD/kWh | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475 | 0.475
| WTP: Thousand USD | 0 | 0 | 0 | 354.4235 | 1679.6941 | 3264.852 | 3951.8333 | 4679.5891 | 5131.9374 | 5664.5912 | 6272.5889 | 6411.5869 | 6460.8995 | 6523.5541 | 6586.0791 | 6648.4643 | 6710.6997 | 6772.7754 | 6834.6816 | 6896.4087 | 6957.947 | 7019.2872 | 7080.4199 | 7141.3358 | 7202.0261 | 7262.4817 | 7322.6939 | 7382.6541 | 7442.3538 | 7501.7848
| Diesel replacement benefit: Thousand USD | 0 | 0 | 0 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136 | 978.0136
| Benefit (WTP+ avoided diesel costs) | 0 | 0 | 0 | 1332.4371 | 2657.7077 | 4242.8655 | 4929.8469 | 5657.6027 | 6109.951 | 6642.6048 | 7250.6024 | 7389.6004 | 7438.913 | 7501.5677 | 7564.0927 | 7626.4779 | 7688.7132 | 7750.789 | 7812.6952 | 7874.4223 | 7935.9606 | 7997.3008 | 8058.4334 | 8119.3494 | 8180.0396 | 8240.4953 | 8300.7075 | 8360.6677 | 8420.3674 | 8479.7984
| Total WTP adjusted for unserved energy: USD Million | 0 | 0 | 0 | 5.6537 | 8.9951 | 12.9838 | 14.8498 | 16.8062 | 17.9648 | 19.3323 | 20.8912 | 21.1411 | 21.1436 | 21.1829 | 21.2222 | 21.2614 | 21.3005 | 21.3394 | 21.3783 | 21.4171 | 21.4558 | 21.4943 | 21.5327 | 21.5709 | 21.6091 | 21.647 | 21.6848 | 21.7225 | 21.76 | 21.7973
Power Quality Benefits
Value per unit - TSh/kWh
| - Large commercial & industrial | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294
| T1 - SME and large domestic | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294 | 65.6294
| D2 - Domestic | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373 | 15.5373
| D1 - Domestic | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075 | 3.1075
Quality Improvement benefits: Million USD
| - Large commercial & industrial | 0 | 0 | 0 | 0 | 0.30258 | 0.47106 | 0.54407 | 0.62142 | 0.6695 | 0.72611 | 0.79073 | 0.84847 | 0.91388 | 0.98761 | 1.0675 | 1.1529 | 1.2433 | 1.3377 | 1.4349 | 1.5333 | 1.6307 | 1.7244 | 1.8108 | 1.8851 | 1.9416 | 1.9728 | 1.9694 | 1.92 | 1.8103 | 1.6227
| T1 - SME and large domestic | 0 | 0 | 0 | 0 | 0.29405 | 0.41563 | 0.48006 | 0.5483 | 0.59072 | 0.64067 | 0.69769 | 0.74864 | 0.80635 | 0.87141 | 0.94187 | 1.0173 | 1.097 | 1.1803 | 1.266 | 1.3529 | 1.4388 | 1.5215 | 1.5977 | 1.6633 | 1.7131 | 1.7406 | 1.7377 | 1.6941 | 1.5973 | 1.4318
| D2 - Domestic | 0 | 0 | 0 | 0 | 0.072126 | 0.10165 | 0.11527 | 0.12926 | 0.13673 | 0.1456 | 0.15567 | 0.164 | 0.17343 | 0.18402 | 0.19528 | 0.20708 | 0.21925 | 0.23161 | 0.24392 | 0.25591 | 0.26722 | 0.27744 | 0.28603 | 0.29236 | 0.29565 | 0.29493 | 0.28908 | 0.2767 | 0.25614 | 0.22543
| D1 - Domestic | 0 | 0 | 0 | 0 | 0.013073 | 0.018424 | 0.020893 | 0.023429 | 0.024783 | 0.02639 | 0.028216 | 0.029726 | 0.031435 | 0.033354 | 0.035396 | 0.037534 | 0.03974 | 0.041979 | 0.044211 | 0.046384 | 0.048435 | 0.050287 | 0.051845 | 0.052992 | 0.053587 | 0.053458 | 0.052396 | 0.050153 | 0.046427 | 0.040859
| Total Power Quality Benefits: USD Million | 0 | 0 | 0 | 0 | 0.68183 | 1.0068 | 1.1603 | 1.3224 | 1.4217 | 1.5388 | 1.6723 | 1.7908 | 1.9251 | 2.0764 | 2.24 | 2.4148 | 2.5993 | 2.7915 | 2.989 | 3.1884 | 3.3852 | 3.5737 | 3.7464 | 3.8938 | 4.0039 | 4.0618 | 4.0486 | 3.9409 | 3.7101 | 3.3207
Induced Economic Benefits: Million USD
| Hotels and Tourism | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fishing industry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Infrastructure services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Agricultural products | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Manufacturers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3x multiplier applied to business WTP | 0 | 0 | 0 | 2.1921 | 8.7474 | 16.5736 | 20.2616 | 24.1685 | 26.5969 | 29.4564 | 32.7203 | 33.4665 | 33.7312 | 34.0676 | 34.4033 | 34.7382 | 35.0723 | 35.4055 | 35.7379 | 36.0692 | 36.3996 | 36.7289 | 37.0571 | 37.3841 | 37.7099 | 38.0344 | 38.3577 | 38.6796 | 39.0001 | 39.3191
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Social & Environmental Benefits: Million USD
| Customer numbers | 6970 | 6970 | 6970 | 7369.05 | 10444.3199 | 13699.0848 | 14493.6804 | 15338.9698 | 16238.5843 | 17196.4462 | 18216.7943 | 19304.2125 | 20463.6594 | 21700.5024 | 23020.5534 | 24430.1096 | 25935.9965 | 27545.6158 | 29266.998 | 31108.8595 | 33080.6653 | 35192.6976 | 37456.1314 | 39883.1169 | 42486.8694 | 45281.7693 | 48283.4698 | 51509.0166 | 54976.978 | 58707.5885
| Additional customers |  | 0 | 0 | 399.05 | 3474.3199 | 6729.0848 | 7523.6804 | 8368.9698 | 9268.5843 | 10226.4462 | 11246.7943 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125 | 12334.2125
23.2896 | Education | 0 | 0 | 0 | 0.0092937 | 0.080915 | 0.15672 | 0.17522 | 0.19491 | 0.21586 | 0.23817 | 0.26193 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726 | 0.28726
67.1815 | Health | 0 | 0 | 0 | 0.026809 | 0.23341 | 0.45207 | 0.50545 | 0.56224 | 0.62268 | 0.68703 | 0.75558 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863 | 0.82863
4.4788 | Communication and entertainment | 0 | 0 | 0 | 0.0017873 | 0.015561 | 0.030138 | 0.033697 | 0.037483 | 0.041512 | 0.045802 | 0.050372 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242 | 0.055242
0 | Productivity improvement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Environmental | 0 | 0 | 0 | 0.0019953 | 0.017372 | 0.033645 | 0.037618 | 0.041845 | 0.046343 | 0.051132 | 0.056234 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671 | 0.061671
Carbon benefits
| Emission factor: t CO2/MWh | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176 | 0.81176
| Value of carbon: $/t CO2 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
| Carbon benefits: Million USD | 0 | 0 | 0 | 0.19684 | 0.31522 | 0.45734 | 0.52456 | 0.59502 | 0.63671 | 0.68592 | 0.74201 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093 | 0.75093
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Beginning regional GDP (2005) | 2009: 323.6577
| Population | 1935880.8747 | 1982342.0157 | 2029918.224 | 2078636.2614 | 2128523.5317 | 2179608.0965 | 2231918.6908 | 2285484.7394 | 2340336.3731 | 2396504.4461 | 2454020.5528 | 2512917.046 | 2573227.0551 | 2634984.5045 | 2698224.1326 | 2762981.5117 | 2829293.068 | 2897196.1017 | 2966728.8081 | 3037930.2995 | 3110840.6267 | 3185500.8017 | 3261952.821 | 3340239.6887 | 3420405.4412 | 3502495.1718 | 3586555.0559 | 3672632.3772 | 3760775.5543 | 3851034.1676
| Regional GDP with Project: USD Million | 366.4116 | 389.8619 | 414.8131 | 441.494 | 472.1077 | 505.7858 | 541.0238 | 578.2966 | 617.3522 | 658.5503 | 701.7663 | 746.7967 | 794.5651 | 845.4173 | 899.524 | 957.0936 | 1018.3475 | 1083.5218 | 1152.8672 | 1226.6507 | 1305.1563 | 1388.6863 | 1477.5623 | 1572.1262 | 1672.7423 | 1779.7978 | 1893.7049 | 2014.902 | 2143.8557 | 2281.0625
| Incremental increase in GDP resulting from project: USD Million | 0 | 0 | 0 | 0.1329 | 2.358 | 3.4632 | 2.8678 | 2.6472 | 2.0446 | 1.6876 | 1.0688 | 0.11733 | -0.026569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regional GDP without Project: USD Million | 366.4116 | 389.8619 | 414.8131 | 441.3611 | 469.6082 | 499.6632 | 531.6416 | 565.6667 | 601.8693 | 640.389 | 681.3739 | 724.9818 | 771.3806 | 820.749 | 873.2769 | 929.1666 | 988.6333 | 1051.9058 | 1119.2278 | 1190.8584 | 1267.0733 | 1348.166 | 1434.4486 | 1526.2534 | 1623.9336 | 1727.8653 | 1838.4487 | 1956.1094 | 2081.3004 | 2214.5036
| Regional per capita GDP with Project: USD | 189.2738 | 196.6673 | 204.3497 | 212.396 | 221.8005 | 232.0535 | 242.403 | 253.0302 | 263.7878 | 274.7962 | 285.966 | 297.1832 | 308.7816 | 320.8434 | 333.3763 | 346.3988 | 359.93 | 373.9898 | 388.5988 | 403.7784 | 419.551 | 435.9397 | 452.9686 | 470.6627 | 489.048 | 508.1514 | 528.0011 | 548.6261 | 570.0568 | 592.3247
| Incremental increase in per capita GDP resulting from project: USD | 0 | 0 | 0 | 0.063938 | 1.1743 | 2.809 | 4.2037 | 5.5261 | 6.6156 | 7.5783 | 8.3098 | 8.6811 | 9.0099 | 9.3618 | 9.7275 | 10.1075 | 10.5024 | 10.9126 | 11.3389 | 11.7818 | 12.242 | 12.7202 | 13.2171 | 13.7334 | 14.2699 | 14.8273 | 15.4065 | 16.0083 | 16.6336 | 17.2834
| Regional per capita GDP without Project: USD | 189.2738 | 196.6673 | 204.3497 | 212.3321 | 220.6263 | 229.2445 | 238.1994 | 247.504 | 257.1721 | 267.2179 | 277.6561 | 288.5021 | 299.7717 | 311.4815 | 323.6488 | 336.2913 | 349.4277 | 363.0772 | 377.2599 | 391.9966 | 407.309 | 423.2195 | 439.7515 | 456.9293 | 474.7781 | 493.3241 | 512.5946 | 532.6178 | 553.4232 | 575.0413
| Regional GDP growth rate with Project | 6.4% | 6.4% | 6.4% | 6.432% | 6.934% | 7.134% | 6.967% | 6.889% | 6.754% | 6.673% | 6.562% | 6.417% | 6.396% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4%
| Incremental increase in GDP growth rate resulting from project | 0% | 0% | 0% | 0.03204% | 0.5341% | 0.7336% | 0.567% | 0.4893% | 0.3536% | 0.2734% | 0.1623% | 0.01672% | -0.003558% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| As % of counterfactual regional GDP growth rate | 0% | 0% | 0% | 0.5006% | 8.345% | 11.46% | 8.859% | 7.645% | 5.524% | 4.271% | 2.536% | 0.2612% | -0.05559% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Regional GDP growth rate without Project | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4%
| Regional per capita GDP growth rate with Project | 3.906% | 3.906% | 3.906% | 3.938% | 4.428% | 4.623% | 4.46% | 4.384% | 4.252% | 4.173% | 4.065% | 3.923% | 3.903% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906%
| Incremental increase in per capita GDP growth rate resulting from project | 0% | 0% | 0% | 0.03129% | 0.5216% | 0.7164% | 0.5537% | 0.4778% | 0.3453% | 0.267% | 0.1585% | 0.01633% | -0.003474% | 0% | 0% | -2.29e-14% | 0% | 0% | 0% | 4.996e-14% | -3.539e-14% | 0% | 0% | 0% | -1.665e-14% | 0% | 0% | 0% | -2.29e-14% | 1.804e-14%
| As % of counterfactual regional per capita GDP growth rate | 0% | 0% | 0% | 0.801% | 13.35% | 18.34% | 14.17% | 12.23% | 8.839% | 6.834% | 4.057% | 0.418% | -0.08894% | 0% | 0% | -5.862e-13% | 0% | 0% | 0% | 1.279e-12% | -9.059e-13% | 0% | 0% | 0% | -4.263e-13% | 0% | 0% | 0% | -5.862e-13% | 4.619e-13%
| Regional per capita GDP growth rate without Project | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906% | 3.906%
| Increased investment and economic activity: USD Million | 0 | 0 | 0 | 0.1329 | 2.4994 | 6.1226 | 9.3822 | 12.6299 | 15.4828 | 18.1614 | 20.3925 | 21.8149 | 23.1845 | 24.6683 | 26.2471 | 27.9269 | 29.7142 | 31.6159 | 33.6394 | 35.7923 | 38.083 | 40.5203 | 43.1136 | 45.8729 | 48.8087 | 51.9325 | 55.2562 | 58.7926 | 62.5553 | 66.5588
| As % of counterfactual GDP |  |  |  | 0.03011% | 0.5322% | 1.225% | 1.765% | 2.233% | 2.572% | 2.836% | 2.993% | 3.009% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006% | 3.006%
| Income generation USD/kWh provided |  |  |  |  | 0.10717 | 0.18127 | 0.24262 | 0.28844 | 0.33103 | 0.36109 | 0.37547 | 0.3976 | 0.42331 | 0.4504 | 0.47923 | 0.5099 | 0.54253 | 0.57726 | 0.6142 | 0.65351 | 0.69533 | 0.73983 | 0.78718 | 0.83756 | 0.89117 | 0.9482 | 1.0089 | 1.0735 | 1.1422 | 1.2153
| Total Benefits | 0 | 0 | 0 | 134900.1277 | 3198621.167 | 7163028.9259 | 10580158.8138 | 13994182.0741 | 16950906.8219 | 19751277.1896 | 22121020.7906 | 23667449.7855 | 25171285.6423 | 26806392.2853 | 28548798.0694 | 30403393.0104 | 32375188.3872 | 34469158.3185 | 36690083.2106 | 39042377.4554 | 41529888.9391 | 44155659.6325 | 46921636.5734 | 49828321.6492 | 52874347.0375 | 56055961.0772 | 59366406.7307 | 62795171.6364 | 66327084.9733 | 69941231.8681
| Net Benefits | -10223470.2128 | -9344031.9149 | -11432697.8723 | -13075598.068 | -3655762.4057 | 3975486.9529 | 9068052.6838 | 12437724.1026 | 15347482.0132 | 18098100.0582 | 20415122.862 | 21905666.0757 | 24466735.6423 | 26101842.2853 | 27844248.0694 | 29698843.0104 | 31670638.3872 | 33764608.3185 | 35985533.2106 | 38337827.4554 | 40825338.9391 | 43451109.6325 | 46217086.5734 | 49123771.6492 | 52169797.0375 | 55351411.0772 | 58661856.7307 | 62090621.6364 | 65622534.9733 | 69236681.8681
Scenario 1: Benefits -10% | bar: 2008 to 14322.1947 2028
| Total benefits………...………………………………………………………………………………. | 0 | 0 | 0 | 121410.1149 | 2878759.0503 | 6446726.0333 | 9522142.9324 | 12594763.8667 | 15255816.1397 | 17776149.4707 | 19908918.7115 | 21300704.807 | 22654157.0781 | 24125753.0568 | 25693918.2625 | 27363053.7094 | 29137669.5485 | 31022242.4866 | 33021074.8895 | 35138139.7099
| Net benefits…………………………………………………………………………….. | -10223470.2128 | -9344031.9149 | -11432697.8723 | -13089088.0808 | -3975624.5224 | 3259184.0603 | 8010036.8024 | 11038305.8952 | 13652391.331 | 16122972.3392 | 18203020.7829 | 19538921.0972 | 21949607.0781 | 23421203.0568 | 24989368.2625 | 26658503.7094 | 28433119.5485 | 30317692.4866 | 32316524.8895 | 34433589.7099
Scenario 2: Costs +20% | bar: 2008 to 14322.1947 2028
| Total costs………………….................................................................... | 12268164.2553 | 11212838.2979 | 13719237.4468 | 15852597.8349 | 8225260.2872 | 3825050.3676 | 1814527.356 | 1867749.5658 | 1924109.7704 | 1983812.5577 | 2047077.5144 | 2114140.4517 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460
| Total benefits………...………………………………………………………………………………. | 0 | 0 | 0 | 134900.1277 | 3198621.167 | 7163028.9259 | 10580158.8138 | 13994182.0741 | 16950906.8219 | 19751277.1896 | 22121020.7906 | 23667449.7855 | 25171285.6423 | 26806392.2853 | 28548798.0694 | 30403393.0104 | 32375188.3872 | 34469158.3185 | 36690083.2106 | 39042377.4554
| Net benefits…………………………………………………………………………….. | -12268164.2553 | -11212838.2979 | -13719237.4468 | -15717697.7072 | -5026639.1202 | 3337978.5582 | 8765631.4578 | 12126432.5083 | 15026797.0515 | 17767464.6319 | 20073943.2762 | 21553309.3338 | 24325825.6423 | 25960932.2853 | 27703338.0694 | 29557933.0104 | 31529728.3872 | 33623698.3185 | 35844623.2106 | 38196917.4554
Scenario 3: Delay 1 year | bar: 2008 to 14322.1947 2028
| Total benefits………...………………………………………………………………………………. | 0 | 0 | 0 | 0 | 134900.1277 | 3198621.167 | 7163028.9259 | 10580158.8138 | 13994182.0741 | 16950906.8219 | 19751277.1896 | 22121020.7906 | 23667449.7855 | 25171285.6423 | 26806392.2853 | 28548798.0694 | 30403393.0104 | 32375188.3872 | 34469158.3185 | 36690083.2106
| Net benefits…………………………………………………………………………….. | -10223470.2128 | -9344031.9149 | -11432697.8723 | -13210498.1957 | -6719483.445 | 11079.194 | 5650922.7959 | 9023700.8423 | 12390757.2655 | 15297729.6904 | 18045379.261 | 20359237.0808 | 22962899.7855 | 24466735.6423 | 26101842.2853 | 27844248.0694 | 29698843.0104 | 31670638.3872 | 33764608.3185 | 35985533.2106
Scenario 4: Benefits +10% | bar: 2008 to 14322.1947 2028
| Total benefits………...………………………………………………………… | 0 | 0 | 0 | 148390.1405 | 3518483.2837 | 7879331.8185 | 11638174.6952 | 15393600.2816 | 18645997.504 | 21726404.9086 | 24333122.8697 | 26034194.7641 | 27688414.2066 | 29487031.5138 | 31403677.8764 | 33443732.3114 | 35612707.226 | 37916074.1503 | 40359091.5317 | 42946615.201
| Net benefits……………………………………………………………………………….. | -10223470.2128 | -9344031.9149 | -11432697.8723 | -13062108.0553 | -3335900.289 | 4691789.8454 | 10126068.5652 | 13837142.31 | 17042572.6954 | 20073227.7772 | 22627224.941 | 24272411.0543 | 26983864.2066 | 28782481.5138 | 30699127.8764 | 32739182.3114 | 34908157.226 | 37211524.1503 | 39654541.5317 | 42242065.201
Scenario 5: Costs -20% | bar: 2008 to 14322.1947 2028
| Total costs………………….................................................................. | 8178776.1702 | 7475225.5319 | 9146158.2979 | 10568398.5566 | 5483506.8582 | 2550033.5784 | 1209684.904 | 1245166.3772 | 1282739.8469 | 1322541.7052 | 1364718.3429 | 1409426.9678 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640
| Total benefits………...………………………………………………………… | 0 | 0 | 0 | 134900.1277 | 3198621.167 | 7163028.9259 | 10580158.8138 | 13994182.0741 | 16950906.8219 | 19751277.1896 | 22121020.7906 | 23667449.7855 | 25171285.6423 | 26806392.2853 | 28548798.0694 | 30403393.0104 | 32375188.3872 | 34469158.3185 | 36690083.2106 | 39042377.4554
| Net benefits……………………………………………………………………………….. | -8178776.1702 | -7475225.5319 | -9146158.2979 | -10433498.4289 | -2284885.6912 | 4612995.3475 | 9370473.9098 | 12749015.6969 | 15668166.975 | 18428735.4845 | 20756302.4477 | 22258022.8177 | 24607645.6423 | 26242752.2853 | 27985158.0694 | 29839753.0104 | 31811548.3872 | 33905518.3185 | 36126443.2106 | 38478737.4554
Scenario 6: Best Case | bar: 2008 to 14322.1947 2028
| Total costs………………….................................................................. | 8178776.1702 | 7475225.5319 | 9146158.2979 | 10568398.5566 | 5483506.8582 | 2550033.5784 | 1209684.904 | 1245166.3772 | 1282739.8469 | 1322541.7052 | 1364718.3429 | 1409426.9678 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640 | 563640
| Total benefits………...………………………………………………………… | 0 | 0 | 0 | 148390.1405 | 3518483.2837 | 7879331.8185 | 11638174.6952 | 15393600.2816 | 18645997.504 | 21726404.9086 | 24333122.8697 | 26034194.7641 | 27688414.2066 | 29487031.5138 | 31403677.8764 | 33443732.3114 | 35612707.226 | 37916074.1503 | 40359091.5317 | 42946615.201
| Net benefits……………………………………………………………………………….. | -8178776.1702 | -7475225.5319 | -9146158.2979 | -10420008.4161 | -1965023.5745 | 5329298.2401 | 10428489.7912 | 14148433.9044 | 17363257.6571 | 20403863.2035 | 22968404.5267 | 24624767.7963 | 27124774.2066 | 28923391.5138 | 30840037.8764 | 32880092.3114 | 35049067.226 | 37352434.1503 | 39795451.5317 | 42382975.201
Scenario 7: Worst Case | bar: 2008 to 14322.1947 2028
| Total costs…………………..................................................................... | 12268164.2553 | 11212838.2979 | 13719237.4468 | 15852597.8349 | 8225260.2872 | 3825050.3676 | 1814527.356 | 1867749.5658 | 1924109.7704 | 1983812.5577 | 2047077.5144 | 2114140.4517 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460 | 845460
| Total benefits………...……………………………………………………….. | 0 | 0 | 0 | 0 | 121410.1149 | 2878759.0503 | 6446726.0333 | 9522142.9324 | 12594763.8667 | 15255816.1397 | 17776149.4707 | 19908918.7115 | 21300704.807 | 22654157.0781 | 24125753.0568 | 25693918.2625 | 27363053.7094 | 29137669.5485 | 31022242.4866 | 33021074.8895
| Net benefits……………………………………………………………………. | -12268164.2553 | -11212838.2979 | -13719237.4468 | -15852597.8349 | -8103850.1723 | -946291.3173 | 4632198.6773 | 7654393.3666 | 10670654.0964 | 13272003.5819 | 15729071.9563 | 17794778.2598 | 20455244.807 | 21808697.0781 | 23280293.0568 | 24848458.2625 | 26517593.7094 | 28292209.5485 | 30176782.4866 | 32175614.8895
| EIRR | 2008: 22.17%
| With exogenous benefits (induced production and scoal/environmental C&B) excluded | 2012: excluded
Demand growth
|  | 22.17% | 3% | 5% | 8% | 9.82%
| WTP values: USD/kWh | 2008: 0.2125; 2009: 22.13%; 2010: 22.17%; 2011: #NUM!; 2012: #NUM!
|  | 0.2975 | 22.13% | 22.17% | #NUM! | #NUM!
|  | 0.425 | 22.13% | 22.17% | #NUM! | #NUM!
|  | 0.55 | 22.13% | 22.17% | #NUM! | #NUM!
% time hydro plant unavailable
| Annual HPP capacity factor | 2008: 22.17%; 2009: 2.5%; 2010: 5%; 2011: 10%; 2012: 20%
|  | 88% | 22.17% | 22.2% | 22.21% | 19.29%
| annual hydro power plant capacity | 2008: 78%; 2009: 19.15%; 2010: 19.16%; 2011: 19.26%; 2012: 16%
|  | 68% | 15.83% | 15.7% | 15.66% | 11.86%
|  | 50% | 9.965% | 9.608% | 8.862% | 3.203%
With exogenous benefits (induced production and scoal/environmental C&B) included
Demand growth
|  | 42.89% | 3% | 5% | 8% | 9.82%
| WTP values: USD/kWh | 2008: 0.2125; 2009: 28.92%; 2010: 30.8%; 2011: 33%; 2012: 35.7%
|  | 0.2975 | 33.74% | 36.11% | 38.98% | 43%
|  | 0.425 | 39.87% | 42.89% | 46.61% | 50.4%
|  | 0.55 | 45.04% | 48.6% | 53.03% | 58%
% time hydro plant unavailable
| Annual HPP capacity factor | 2008: 42.89%; 2009: 2.5%; 2010: 5%; 2011: 10%; 2012: 20%
|  | 88% | 42.89% | 42.14% | 40.59% | 37.01%
|  | 78% | 42.29% | 41.6% | 40.14% | 36.5%
|  | 68% | 41.1% | 40.56% | 39.29% | 35.55%
|  | 50% | 36.05% | 35.76% | 35.13% | 31.21%
Note on B201: Benefit per customer in US$ a year
Note on B202: Benefit per customer in US$ a year
Note on B203: Benefit per customer in US$ a year
Note on B204: Benefit per customer in US$ a year
Note on B205: Benefit per customer in US$ a year
Note on C100: based on MW rating and annual capacity factor
Note on C109: Total energy demanded minus unserved energy
Note on C110: Due to low water or breakdown
Note on C112: unserved peak energy plus energy unserved through down time
Note on C133: Applied to existing demand level only
Note on C144: Applied to existing demand level only
Note on C155: Applied to existing demand level only
Note on C166: Applied to existing demand level only
Note on C215: MCC: Source: NBS Statistical Abstract, 2002, GoT. http://www.nbs.go.tz/abstract2002/pdf/population.pdf
Note on D77: Total only adds if switch is set to "include" on input sheet
Note on D104: We assumed load factor rises slowly over time
Note on D131: change T1 WTP if data tables are to work
Note on D133: Assumes diesel plant fuel rate is 0.335 litres a kWh, and non-fuel variable cost is 10% of fuel cost.
Note on D142: change T1 WTP if data tables are to work
Note on D144: Assumes diesel plant fuel rate is 0.335 litres a kWh, and non-fuel variable cost is 10% of fuel cost.
Note on D155: Assumes diesel plant fuel rate is 0.335 litres a kWh, and non-fuel variable cost is 10% of fuel cost.
Note on D164: change T1 WTP if data tables are to work
Note on D166: Assumes diesel plant fuel rate is 0.335 litres a kWh, and non-fuel variable cost is 10% of fuel cost.
Note on D189: Set to zero as instead using multiplier applied to WTP
Note on D190: Set to zero as instead using multiplier applied to WTP
Note on D191: Set to zero as instead using multiplier applied to WTP
Note on D192: Set to zero as instead using multiplier applied to WTP
Note on D193: Set to zero as instead using multiplier applied to WTP
Note on D195: Total is summed only is switch is set to include on inputs sheet
Note on D208: On basis of modern diesels
Note on D211: Total is summed only is switch is set to include on inputs sheet
Note on D213: Value taken from the bottom end of the range of a study on the economic growth impacts of electricity supply in Sri Lanka by Morimoto & Hope, 2002
Note on E34: MCC: source:Econ - page 10
Note on E92: Adjust differential and T1 growth rate
Note on E94: Adjust differential and T1 growth rate
Note on E213: MCC: Tanzanian National Accounts Data 2005, updated, goto: http://www.nbs.go.tz/nationalaccount/index.htm, and look for Kigoma region, deflate by exchange rate
Note on H69: MCC: have deducted half of connection costs for 6230 customers that is included in capex
Note on I69: MCC: have deducted half of connection costs for 6230 customers that is included in capex
Note on I107: Estimated using a log relation between area under curve at a given cut-off point
Note on R109: MCC: should this be scaled energy? q25-q30

## Assumptions
0
| ASSUMPTIONS |  | Exogenous benefits | 1=include, 0=exclude
|  |  | Induced production | 0 | excluded
|  |  | Social & environmental costs & benefits | 0 | excluded
| Financials |  | Investment Costs
| Exchange Rate (TSh/US$)……………… | 1300 |  | TSh | USD m
| Discount rate………………………… | 12% | Total Investment Costs | 61061 | 46.97
| GDP growth rate: pa……………. | 6.4% | including capital costs, design and supervision, technical assistance, and unallocated contingencies
| Elasticity of growth wrt power…………… | 0.013
|  |  | Capex Phasing | %
|  |  | 2008 | 21.77%
|  |  | 2009 | 19.89%
|  |  | 2010 | 24.34%
|  |  | 2011 | 25.74%
|  |  | 2012 | 8.191%
|  |  | Asset Life for Depreciation (years) | 35
Other Inputs
|  |  | Plant Net Capacity (MW)……………………………………….. | 8
|  |  | Operations Start………………………………………………….. | 2011
|  |  | Opex Factor (percentage of capex)………………………………. | 1.5%
|  |  | Diesel price: USD/liter…………………………………………… | 1.08
|  |  | TSh/liter……………………………………………………………. | 1404
|  |  | Local content…………………………………………………….. | 5%
|  |  | Impact with multiplier of 1.5……………………………………… | 3.5227
Note on B11: MCC: From Calderon and Serven, "The Effects of Infrastructure Development on Growth and Income Distribution," World Bank, WPS 3400, Table 3, columns [5] and [6], effect of "Infrastructure Stocks".

## Tariffs
0
TARIFFS |  | 2007 Tanesco Tariff Inputs
Tariff
Tariff Category: | 2007 Tariff: TSh/kWh |  | ADMD (kW) | Div Fact | LF | Annual Energy (kWh) | Calculated ADMD fom kWh given | Category | Fixed (TSh/month) | Variable (TSh/kVA/month) | Variable (TSh/kWh) | Average (TSh/kWh)
|  | D1 - Domestic Low |  |  |  | 600 |  | D1
D1 - Domestic Low | 40 | D2 - Domestic High |  |  |  | 900 |  | D2
D2 - Domestic High | 70 | Rural Domestic | 0.5 | 0.8 | 0.3 | 1051.2 |  | T1 | 1892 |  | 106 | 127.5982
T1 - Rural domestic | 127.5982 | Uran Domestic | 1 | 0.8 | 0.6 | 4204.8 |  | T1 | 1892 |  | 106 | 111.3995
T1 - SME/ Urban domestic | 111.3995 | Commercial | 1.4269 | 0.8 | 0.8 | 10000 | 1.4269 | T2 | 7012 | 7680 | 70 | 93.8858
T2 - Large users | 93.8858
|  |  |  | Note: T1 has first 50 kWh Charged at | 40 | TSh/kWh
|  |  |  | Commercial power factor assumed | 0.85
Note on C2: MCC: source: proposed tariff letter 6 Dec 2006

## WTP
0
Willingness to pay calculations |  | Based on analysis by DECON-SWECO
Household Sector
Data Basis - Households
| Item | Units | Kerosene | Candles | Car Batteries | Small Batteries | PV Solar | Diesel Ge-neration
| Can be replaced by electricity? |  | yes | yes | yes | yes | yes | yes
Non-electrified Households
| - Monthly expenditures | Tshs | 9036 | 2977 | 25616 | 3432 | 3752 | 88438
| - Energy used in households | % | 97.1% | 4.9% | 24.8% | 79.8% | 8.2% | 3%
| - Average consumption per household | Tshs | 8773.956 | 145.873 | 6352.768 | 2738.736 | 307.664 | 2653.14
| - Energy cost per month | Tshs | 20972.137
Electrified Households
| - Monthly expenditures | Tshs | 3170 | 1193 | 9402 | 1646 | 1146 | 28867
| - Energy usage | % | 78.4% | 5% | 4.1% | 45.4% | 2% | 0%
| - Average consumption / household | Tshs | 2485.28 | 59.65 | 385.482 | 747.284 | 22.92 | 0
| - Energy costs per month | Tshs | 3700.616
| Cost Reduction per Household | Tshs | 6288.676 | 86.223 | 5967.286 | 1991.452 | 284.744 | 2653.14
| Total Reduction in Energy Costs | Tshs | 17271.521
Estimation of Average Electricity Consumption
| Residential Customers | Annual Consumption | Monthly Consumption | Households | Connection Rate | Client Base | Client Structure | Weighted Consumption | Share in consumption | Energy cost saving per unit
|  | kWh | kWh | % | % | % | % | kWh | % | $/kWh
| - Consumer group 1 "low income" | 175.2 | 14.6 | 80.64% | 15% | 12.1% | 59.28% | 8.6549 | 15.33% | 0.90999
| - Consumer group 2 "medium income" | 832.2 | 69.35 | 14.36% | 30% | 4.309% | 21.12% | 14.6443 | 25.94% | 0.19158
| - Consumer group 3 "high income" | 2029.4 | 169.1167 | 5% | 80% | 4% | 19.6% | 33.1531 | 58.73% | 0.07856
[6 empty] | 20.4% | 100% | 56.4522 | 100%
| Average Electricity Consumption | kWh/month | 56.4522
| Energy cost saving per kWh electricity | Tshs/kWh | 305.9493
|  | USD/kWh | 0.23535
[5 empty] | 1300 | Exchange rate
Differentiation by service model for low-income customers
|  |  |  | SM 1 | SM 2 | SM 3
| - Monthly consumption by service model | kWh/month |  | 14.6 | 7.2 | 5.4
| - Cost for Kerosene, candles, etc. | TShs/month |  | 9559.8082
| - % of energy cost savings | % |  | 85% | 80% | 75%
| - Value of energy replaced by electricity | TShs/month |  | 8125.837 | 7647.8466 | 7169.8561
| - Value per kWh consumed | TShs/kWh |  | 556.5642 | 1062.2009 | 1327.7511
|  | USD/kWh |  | 0.42813 | 0.81708 | 1.0213
Large electricity consumers
no. | Manufacturer and Type | Unit | VIEP-183TDE / DIESEL | VIEP-243TDE / Diesel | Caterpillar | Caterpillar
|  |  | Kubota D - 1105 3 cyl | Kubota V - 1505 3 cyl | GEP 50 | GEP 83
1 | Power | kW | 15.2 | 19.2 | 36 | 60
2 | Speed | 1/min | 3000 | 3000 | 1500 | 1500
3 | Consumption (manufacturer-data) | ltr/h | 3.8 | 5 | 13.4 | 18.6 |  | Average cost and standby premium versus load factor
4 | Consumption per kWh | g/kWh | 300 | 290 | 280 | 270 |  |  | 0.41759 | 0.04784 | sum
5 | Invest Costs for gen-set | US$ | 10000 | 12500 | 15000 | 26000 |  | 2% | 1.3957 | 0.95681 | 2.3525
6 | Total Invest-costs | US$ | 12000 | 15000 | 18000 | 31200 |  | 5% | 0.77794 | 0.38272 | 1.1607
7 | Annual load factor | % | 40% | 40% | 40% | 40% |  | 10% | 0.57203 | 0.19136 | 0.76339
8 | Annual Electricity Generation | kWh/a | 53260.8 | 67276.8 | 126144 | 210240 |  | 20% | 0.46907 | 0.095681 | 0.56475
9 | Annual Fuel Consumption | ltr/a | 18797.9294 | 22953.2612 | 41553.3176 | 66782.1176 |  | 30% | 0.43475 | 0.063787 | 0.49854
10 | Annual Fuel Costs | US$ | 20245.37 | 24720.6623 | 44752.9231 | 71924.3407 |  | 40% | 0.41759 | 0.04784 | 0.46543
11 | Non-fuel variable costs | US$ | 266.304 | 336.384 | 630.72 | 1051.2 |  | 50% | 0.40729 | 0.038272 | 0.44557
12 | Annual overheads | US$ | 760 | 960 | 1800 | 3000 |  | 60% | 0.40043 | 0.031894 | 0.43232
13 | Annual Capital Costs | US$ | 2415.6341 | 3019.5426 | 3623.4511 | 6280.6487
14 | Total Costs | US$ | 23687.3081 | 29036.5889 | 50807.0943 | 82256.1894
15 | Specific Generation Costs | US$/kWh | 0.44474 | 0.4316 | 0.40277 | 0.39125
16 | Average value | US$/kWh | 0.41759
| Cost of extra standby | US$/kWh | 0.04784
| Fuel density | 0.85 | kg/ltr |  | Fuel costs: | 87%
| Fuel | 1.077 | US$/ltr
|  | 1400.1 | TSh/ltr
| Capital recovery factor | 0.2013 | 8 | years | 12% | interest
Willingness to pay calculation
|  | Low load (5%) | Tariff | Typical load (50%) | Average for diesel generation | Weight for diesel | Weight for others | Other energies | Average WTP
| T2 - Large customers | 0.77794 | 0.07222 | 0.46543 | 0.43853 | 100% | 0% | 0.23535 | 0.43853
| T1 - SME & large domestic | 0.77794 | 0.085692 | 0.46543 | 0.44302 | 95% | 5% | 0.23535 | 0.43264
| D2 - Medium domestic | 0.77794 | 0.053846 | 0.46543 | 0.4324 | 30% | 70% | 0.23535 | 0.29446
| D1 - Small domestic | 0.77794 | 0.030769 | 0.46543 | 0.42471 | 2.5% | 97.5% | 0.30985 | 0.31272
Note on E78: capex and overhead only

## Quality improvement
0
QUALITY IMPROVEMENTS
Costs of buying and running APC equipment
|  | 800 watts | 1.4kW | 2.5kW
| Inverter cost: '000 TSh | 350 | 450 | 980
| Batteries: '000 TSh | 250 | 500 | 1000
| Total capex: '000 TSh | 600 | 950 | 1980
| rating: kW at 90% PF | 0.72 | 1.26 | 2.25
| hrs | 4000 | 4000 | 4000
| annual energy | 2880 | 5040 | 9000
| Years | 5 | 5 | 5
| discount rate | 15% | 15% | 15%
| Annual cap | 178.9893 | 283.3998 | 590.6648
| Tsh/kWh | 62.1491 | 56.2301 | 65.6294
| without batteries | 36.2536 | 26.6353 | 32.4832
Sample load connected
| Fan | 3 | 8 | 16
| 4 foot tubelight | 6 | 8 | 20
| TV | 1 | 1 | 1
Source: www.Lehmanns.tz.com (March 07)
Percentage of customers having protection equipment
| Large commercial/industrial/institutional (T3) | 100%
| Commerical (T2) | 100%
| Domestic users (T1) excl. Lifeline | 25%
| Lifeline domestic | 5%
Weighted value of power quality improvement: TSh/kWh
| Large commercial/industrial/institutional (T3) | 65.6294
| Commerical (T2) | 65.6294
| Domestic users (T1) excl. Lifeline | 15.5373
| Lifeline domestic | 3.1075

## Social & environmental
0
Indirect (exogenous) benefits (US$)
Beneficiaries (Number of households connected)
Benefits per household:
Education (five years after project completion) 26US$ per month per HH |  | 26
Productivity (increase in income) 21 US$ per month per HH |  | 21
Communic and entertainment 5US$ per month per HH |  | 5
Human health (three years after project completion) 75 US$ per month per HH |  | 75
Subtotal benefits per household: |  | 127
Annual Indirect benefits for all beneficiaries (before environment): |  | 1524
Environment benefits (per year in a locality)
Total Indirect benefits before scaling
Scaling factor (= a ratio of per capita GDP for rural Tanzania to per capita income in rural Brazil 61/110) = 0.07 | 0.055455
USD/ month
Benefits per household: | Brazil | Tanzania | USD/yr
Education (five years after project completion) | 26 | 1.9408 | 23.2896
Communications and entertainment | 5 | 0.37323 | 4.4788
Human health (three years after project completion) | 75 | 5.5985 | 67.1815
Scalar based on ratio of per capita GDPs from Human Development Report, 2005 |  | 0.074646 | 94.9498
Income generated from electricity supply SLKR/MWh |  | 88000 | 137000
R Morimoto and C Hope, impact of electricity supply on economic growth in Sri Lanka | SLKR/US$ | 92 | 92
2002 - University of Cambridge | US$/MWh | 956.5217 | 1489.1304
| US$m | 213000000
| MWh | 684000
| US$/MWh | 311.4035
| US$/kWh | 0.3114

## Summary
Results | 2007-05-30
0
Results of WTP based EIRR calculations | [5 empty] | Results of alternative Induced income EIRR
With exogenous benefits (induced production and scoal/environmental C&B) excluded | [5 empty] | EIRR | 46%
Demand growth
|  | 3% | 5% | 8% | 9.82% | NPV of benefits: USD million | 100.3861
WTP values: USD/kWh | 0.2125 | 16.51% | 17.47% | 18.19% | 17.94%
| 0.2975 | 19.64% | 20.84% | 21.99% | 22.75%
| 0.425 | 23.71% | 25.26% | 26.96% | 28.79%
| 0.55 | 27.18% | 29.06% | 31.24% | 33.88%
% time hydro plant unavailable
Annual HPP capacity factor |  | 2.5% | 5% | 10% | 20%
| 88% | 25.26% | 24.89% | 24.14% | 21.84%
| 78% | 24.68% | 24.37% | 23.69% | 21.26%
| 68% | 23.76% | 23.53% | 22.98% | 20.37%
| 50% | 20.64% | 20.52% | 20.26% | 17.38%
With exogenous benefits (induced production and scoal/environmental C&B) included
Demand growth
| 42.89% | 3% | 5% | 8% | 9.82%
WTP values: USD/kWh | 0.2125 | 28.92% | 30.8% | 33% | 35.7%
| 0.2975 | 33.74% | 36.11% | 38.98% | 43%
| 0.425 | 39.87% | 42.89% | 46.61% | 50.4%
| 0.55 | 45.04% | 48.6% | 53.03% | 58%
% time hydro plant unavailable
Annual HPP capacity factor | 42.89% | 2.5% | 5% | 10% | 20%
| 88% | 42.89% | 42.14% | 40.59% | 37.01%
| 78% | 42.29% | 41.6% | 40.14% | 36.5%
| 68% | 41.1% | 40.56% | 39.29% | 35.55%
| 50% | 36.05% | 35.76% | 35.13% | 31.21%