## Slide 1
April 21st, 2022
For discussion purposes only
Advisory Council Presentation: Sierra Leone

## Slide 2
Agenda
  Opening Comments
  Country Context
  Timeline to IMC
  MCC alignment
  Power Sector Context
  Utility (EDSA) Private Sector Participation Discussion
  Open Discussion
  Closing Comments

## Slide 3: Sierra Leone country context
  9th poorest country in the world: GDP $3.78 billion, GDP/cap $490, Ranks 181/189 on UNDP’s HDI
  Ambitious plan to become a middle-income country by 2039
  More than a decade of civil war 1991-2002, followed by Ebola 2014-2016, and now COVID-19
  Completed Threshold Program in March 2021: Power and Water Sectors
  Young Population: 8 million (2020) with 41% under age 15 & 57% in rural areas
Low access to energy: 26% nationally; 5% in rural areas​

## Slide 4: Timeline to signing Oct 2023
June 2021
December 2021
Nov 2022
June 2023
Sept 2023
October 2023
  CA IMC
  OM IMC
  PPAM IMC
  IMC
  Board
  Signing

## Slide 5: Proposed MCC priority areas
  Climate
  With USTDA and other donors, utilize GIS data to support climate-resilient investments in on-grid and off-grid renewable generation, and in transmission and distribution
  Inclusion and Gender
  Explore opportunities for women- and youth-led MSMEs to access finance and complementary investment to enhance productive use of electricity
  Increased women’s participation in EDSA
  Blended Finance
  With WB, FCDO, EU, Power Africa, Embassy Freetown, possible MCC support to GoSL’s initiative to introduce private sector participation to improve EDSA performance (distribution utility)
  Across generation and distribution, support policy and institutional reform (PIR) to strengthen the enabling environment for private sector investment in and around MCC compact activities

## Slide 6: Sector: Building on the Threshold Program – continued Sector Roadmap Implementation
Key Drivers
Compact Opportunities
Strategic Approach
The Electricity Sector Reform Roadmap (2017-2030) identified sector priorities in the short, medium, and long-term needed to further mature electricity service and access
Key themes:
  Lack of centralized long-term planning created a difficult investment environment
  Needed stronger coordination among utilities, regulator, and Ministry of Energy
  Tariff structure was reinforcing financial losses and perpetuating poor quality service
A cross-agency Steering Committee was formed to execute the Roadmap Action Plan
  Bolster strategic sector planning
  Improved performance of distribution utility, EDSA: possible private sector participation
  Expanding transmission system and strengthening operations and interoperability
  Financial sustainability and increased investment
    Collections account and cash waterfall payment arrangements
    Tariff reform
    Secure additional, lower cost supply
  Strengthen sector regulator, EWRC

## Slide 7: Sector: Insufficient availability of affordable and reliable electricity to satisfy demand among households, businesses, and institutions
Key Drivers
Compact Opportunities
  Insufficient and unreliable power supply
  High cost of supply
  Poor utility performance
  Low access
  Weaknesses in governance and regulation (need to implement THP reforms)
Strategic Approach
  Climate-resilient infrastructure investments
  Strengthen institutional governance and capacity
  Support increased supply of lower cost, renewable energy and increased private investment
  Promote productive use of electricity
  Support Private Sector Participation in the transition of the Dx utility (EDSA)
  Grid infrastructure to reduce technical losses, carry increased supply, and increase access
  Supply: possible IPP support (solar/storage), hydro rehabilitation
  Productive use (e.g. for off-farm food value chain activities)
  Coordination with other donors “in and around” EDSA (TA, possible support for private sector participation)
  Targeted technical capacity building
  Strengthening the institutional/policy framework: continued tariff reform, sector roadmap implementation

## Slide 8: PSP: Improving EDSA’s performance and financial losses is critical to achieving broader sector objectives
  Electricity Distribution and Supply Authority (EDSA)
  EDSA’s average energy supply costs are high, reaching ~ 0.17c/kWh
  EDSA suffers high losses totaling 60%
  technical (15%)
    commercial (33%)
    financial (12%)
  EDSA’s collected revenues are limited due to low tariffs (14c/kWh)
  EDSA requires unsustainable, on-going subsidies
  EDSA is unable to meet obligations to fund grid maintenance & expansion
  EGTC and IPPs are not paid fully or on time, leading to under investment
Private Sector Participation in EDSA is being explored to better manage the utility and ‘turn around’ it’s finances, but parallel government efforts are required
Note: all analysis from Dalberg Advisors

## Slide 9: PSP: As MCC monitors progress three areas could be critical for compact (and PSP) success
Responsibilities: How can any PSP model enable the necessary parallel
capital investment in both distribution network upgrades and expansion?
Performance: How is performance measured and incentivized and what role would the regulator need to play in that process?
Economic Viability: How much subsidy will EDSA require across a range of potential scenarios? How are sector subsidies by MCC (gov’t) minimized to create a sustainable EDSA and EGTC?

## Slide 10: PSP: The government is looking to bring PSP in EDSA, specifically through an O&M “concession”
In November 2021, the Government of Sierra Leone published initial findings from an assessment exploring
the potential private sector participation (PSP) options for EDSA. Their options and evaluations are as follows:

## Slide 11: PSP: FIT commissioned Dalberg to help our thinking in supporting the GoSL timeline through best practices
Several success factors should be kept in mind and the GoSL timeline proposed might be subject to pitfalls if GoSL moves too quickly

## Slide 12: PSP: As PSP evolves there are several areas we are working to resolve for an O&M concession to be successful
The country team is proactively working with the compact development unit to express MCC concerns and strengthen the process for all parties

## Slide 13: PSP: Decreasing generation costs and increasing tariffs are essential to reduce EDSA’s reliance on subsidies

## Slide 14: PSP: There are a range of distribution investment needs moving forward and it is unclear who will be responsible
If left unresolved lack of clarity w/r/t responsibility for investing in each component of distribution leads to investment challenges and potentially disputes
Concessionaire
Donor
all
?
?
?
none
Meters only
“Modern systems”
Meters only?
Distribution
infrastructure

## Slide 15: PSP: Potential risks and coordination to consider during program design
  Political: elections in June 2023, geographical wealth distribution
  Transparency: GoSL haste on Private Sector Participation in EDSA
  Institutional: Resistance of EDSA or other sector institutions to reform
  Coordination: Donor coordination

## Slide 16: In summary, moving forward MCC will continue to monitor several ongoing issues
Responsibilities: The PSP option report does not yet fully detail the contractual responsibilities for the concession. This is especially important to ensure there is clarity on who will invest in different aspects of the network.
Performance: The framework for concession performance is yet to be defined including what objectives will be set, what the baseline is and who will measure performance which is needed to co-invest in distribution.
Adjacent government turnaround plans: Whatever the PSP option selected there will remain a lot of exogenous issues that only the government can act on MCC will need to see continued commitment to negotiate lower generation costs, collaborate on loss reduction and re assess tariffs.
Procurement Process: PSP process is moving fast and comes with a range of pitfalls. Should uncertainty be carried into the concession period then it could fail MCC could be put in a position like Ghana where a key enabler for sector transformation falls through.
1
2
3
4

## Slide 17: Questions for the Advisory Council
What will be the most important factors and risks investors will consider when reviewing EDSA as an investment opportunity?
What opportunities do you see for blended finance instruments to promote increased investment into the energy sector while simultaneously increasing access to energy in Sierra Leone?
What role could impact investors play in rural electricity access?
What needs to be included in an effective intervention in the productive use of electricity?
What models in private sector participation for distribution have been successful in the Sierra Leonean context?

## Slide 18
Open Discussion

## Slide 19
Closing Comments